master plan for the integrated development

of the gambia,

Kayanga-Geba and Koliba-Corubal river basins

Phase 2 - Sectoral Plans - 4/6

Drinking water supply - Sanitation - Health - Education

Final Version - April 2022

Master Plan for the Integrated Development of the Gambia, Kayanga-Geba and Koliba-Corubal River Basins

Phase 2 - Sectoral Plan - Drinking Water Supply - Sanitation - Health - Education

1	Introduction	1

1.1	Background and objective of the study	1

1.2	The Phase 2 Report - Purpose and Content of the Sector Plans	3

1.3	Development methodology	4

2	Drinking water supply, sanitation and health in the OMVG area	10

2.1	Current state of the sector	10

2.1.1	Key figures for drinking water supply and sanitation	10

2.1.2	Key figures for Health	14

2.1.2.1	Women's situation	15

2.1.2.2	Situations of some diseases under surveillance	16

2.1.3	Situation of COVID-19 in the OMVG member countries:	16

2.1.4	Summary - SWOT matrices	19

2.2	Evolution of the sector	21

2.2.1	Key issues	21

2.2.2	Scenarios for change in the water and sanitation sector	21

2.2.2.1	Scenarios for the evolution of the population served by the drinking water supply	22

2.2.2.2	Drinking water infrastructure needs	28

2.2.2.3	Scenarios for the evolution of the population served by sanitation	31

2.2.2.4	Sanitation and hygiene infrastructure needs	35

2.2.2.5	Scenarios of change in Health	38

2.2.3	Evolution of water needs in the sector	40

3	Vision and strategic directions	44

3.1	Vision to 2040	44

3.2	Proposed strategic AXES	44

4	Intervention strategy - expected results and actions to be undertaken	46

4.1	Logical framework for sector intervention up to 2040	46

4.2	Strategic Axis 1 - Ensure equitable, sustainable and affordable access to safe drinking water for all	49

4.2.1	Provision 1.1 - Access to an adequate supply of drinking water in urban areas, in quantity, at home or nearby, for the urban and rural population of the three OMVG basins	49

4.2.2	Provision 1.2 - Establishment of a geographic information system for drinking water supply infrastructures in the OMVG area	53

4.2.3	Provision 1.3 - Sector governance in the context of existing and emerging challenges	54

4.2.4	Provision 1.4 - Access to a sustainable drinking water service of good quality	55

4.2.5	Means for implementing the actions and measures for the strategic axis 1	57

4.3	Strategic Axis 2 - Ensure equitable and sustainable access to adequate sanitation and hygiene services for all and end open defecation	57

4.3.1	Provision 2.1 - Access to adequate sanitation and hygiene services for the urban and rural population in the OMVG area	57

4.3.2	Provision 2.2 - End OD and raise community awareness of good sanitation and hygiene practices	61

4.3.3	Provision 2.3 - Sector governance in the context of existing and emerging challenges	62

4.3.4	Provision 2.4 - Access to sustainable and good quality sanitation and hygiene services in the OMVG area	63

4.3.5	Means for implementation of the actions and measures for the strategic axis 2	64

4.4	Strategic Axis 3 - Ensure equitable access to quality health care and services for all and strengthen the prevention and management of communicable and non-communicable diseases	65

4.4.1	Provision 3.1 - Ensure the availability of functional health structures with well-trained staff and sufficient quantity and quality of medicines for the effective treatment of all parts of the population	65

4.4.2	Provision 3.2 - Ensure adequate financing of the health sector by mobilising endogenous and external resources	68

4.4.3	Provision 3.3 - Ensure the establishment of an efficient information system with a dynamic collection of reliable health information	70

4.4.4	Provision 3.4 - Ensure access to health information, disease prevention and effective care	71

4.4.5	Provision 3.5 - Ensure an effective epidemiological surveillance system for early detection of epidemiological threats and a rapid and adequate response	74

4.4.6	Provision 3.6 - Ensure the establishment of equipped health structures responsible for emergency health operations at the decentralised level	75

5	Programme of measures	77

5.1	Summary of the sectoral plan and results framework	77

5.2	Timeline of measurements	81

5.3	Cost of the measures	84

5.4	Ownership of the measures	93

5.5	Implementation framework	95

6	Assessment of the social and environmental impacts of the Sector Plan	103

7	Conclusions and recommendations	106

Annexes	109

Annexe 1.	The Gambia - Data provided to the Consultant by NAWEC	110

Annexe 2.	Senegal - Data provided to PDDI by SONES	114

Table of illustrations

List of figures

Figure 1-1 Timeline for Phase 2	2

Figure 1-2 Articulation of scales and economic sectors in the development of the PDDI	4

Figure 1-3 Stakeholder consultation steps in Phase 2	5

Figure 2-1 Access rates to unimproved water sources (left) and access rates to improved sources for collection times ≥ 30 min (right).	11

Figure 2-2 Use of unimproved toilets and open defecation in areas within the OMVG basins	12

Figure 2-3 Under-five mortality trends in Senegal, Guinea Bissau, The Gambia and Guinea	15

Figure 2-4: Population trends in the basins and countries of the OMVG area by 2025, 2030 and 2040	25

Figure 2-5 Illustration of the typical flush toilet and washbasin solution	35

Figure 2-6 Illustration of the typical toilet and double sludge pit solution proposed for rural areas	36

Figure 2-7: Evolution of the needs of the total urban and rural population in the river basins of the OMVG area by 2025, 2030 and 2040	41

Figure 2-8 Needs of the urban and rural population in the countries of the OMVG area in 2040	42

List of tables

Table 1-1- Projects identified for the drinking water supply, sanitation and health sectors	8

Table 2-1 Household access to drinking water by level of service (%)	10

Table 2-2- Rate of access to unimproved sources or limited services in OMVG basins in the year 2020	11

Table 2-3 Rate of household access to basic, limited and unimproved sanitation services and open defecation	12

Table 2-4 Rate of access of the household population to drinking water and sanitation services in the countries of the OMVG area	13

Table 2-5 Rate of access of the household population to drinking water and sanitation services in the OMVG basins	13

Table 2-6 Gaps in skilled health personnel	14

Table 2-7 Situation of the child	14

Table 2-8: Some indicators on the situation of women	15

Table 2-9: Malaria, AIDS, TB and Trachoma Indicators	16

Table 2-10 Situation COVID-19	16

Table 2-11 Comparative analysis of selected programme indicators	17

Table 2-12: Situation Waterborne diseases	18

Table 2-13 SWOT matrix for water supply in the river basins OMVG	19

Table 2-14 SWOT matrix for sanitation and hygiene in the OMVG river basins	19

Table 2-15 SWOT matrix for health in the LVMO river basins	20

Table 2-16: Situation in the year 2020: Total population, urban and rural, served and unserved, and access rates to basic drinking water services in the OMVG countries and basins	26

Table 2-17: Situation in 2025: Total urban and rural population served and to be served and projected access rates to basic drinking water services in the OMVG countries and basins	26

Table 2-18: Situation in 2030: Total urban and rural population served and to be served and projected access rates to basic drinking water services in the OMVG countries and basins	27

Table 2-19: Situation in 2040: Total urban and rural population served and to be served and projected access rates to basic drinking water services in the OMVG countries and basins	27

Table 2-20: Infrastructure needs for drinking water supply by 2040 in the OMVG countries and basins	30

Table 2-21: Unit costs of construction/rehabilitation/strengthening of water supply infrastructure in urban centres and villages	31

Table 2-22: Situation in the year 2020: Total population, urban and rural, served and unserved, and access rates to basic sanitation in OMVG countries and basins	33

Table 2-23: Situation in the year 2025: Total urban and rural population served and to be served and access rates to basic sanitation in the OMVG countries and basins	33

Table 2-24: Situation in the year 2030: Total urban and rural population served and to be served and access rates to basic sanitation in the OMVG countries and basins	34

Table 2-25: Situation in the year 2040: Total urban and rural population served and to be served and access rates to basic sanitation in the OMVG countries and basins	34

Table 2-26: Sanitation and hygiene infrastructure needs by 2040 in the OMVG countries and basins	37

Table 2-27: Unit costs of construction/rehabilitation of sanitation and hygiene infrastructure in urban centres and rural areas	37

Table 2-28 Baseline and intermediate targets	38

Table 2-29: Health workforce gaps and intermediate targets to 2040	40

Table 2-30: Designation and location of cities managed by SONES, demographic and consumption projections in the OMVG basins (Source: SONES)	40

Table 2-31: Unit consumption of towns managed by SONES and other towns and villages in the OMVG basins	41

Table 2-32: Situation in 2025: Water needs of the urban and rural population, served and unserved in the OMVG countries and basins	42

Table 2-33: Situation in the year 2030: Water needs of the urban and rural population, served and unserved in the OMVG countries and basins	43

Table 2-34: Situation in the year 2040: Water needs of the urban and rural population, served and unserved in the OMVG countries and basins	43

Table 4-1 Logical framework for intervention in the drinking water supply, sanitation and health sector up to 2040	46

ABBREVIATIONS

| Acronym | Meaning |
| --- | --- |
| ADB | African Development Bank |
| AFD | French Development Agency |
| AIDS | Acquired immunodeficiency syndrome |
| ANSD | National Agency for Statistics and Demography |
| BHPP | Borehole with Human Powered Pump |
| CAD | Development Assistance Committee |
| CIMA | Inter-ministerial Water Council (Guinea Bissau) |
| CLTS | Community Led Total Sanitation |
| CNA | National Water Council (Guinea Bissau) |
| DGPRE | Directorate for Water Resources Management and Protection |
| DGRH | Directorate General of Water Resources (Guinea Bissau) |
| DGSP | Directorate General of Public Health (Guinea Bissau) |
| DH | Directorate of Hydraulics (Senegal) |
| DHIS2 | District Health Information Software version 2 |
| DOOR | Gambia Water Resources Department |
| DTP | Diphtheria, Tetanus and Poliomyelitis (combined vaccine) |
| DWSN | Drinking Water Supply Network |
| EAGB | Public Water and Electricity Company of Guinea Bissau |
| ECOWAS | Economic Community of West African States |
| EDS | Demographic and health surveys (ANSD) |
| EIB | European Investment Bank |
| EU | European Union |
| GBoS | The Gambia Bureau of Statistics |
| GDP | Gross Domestic Product |
| GIE | economic interest groups |
| Hbts | Residents |
| HDI | Human Development Index |
| HPP | Human Powered Pumps |
| IDB | Islamic Development Bank |
| INAS | National Water and Sanitation Agency of Guinea Bissau |
| INE | National Institute of Statistics of Guinea Bissau |
| INS | National Institute of Statistics of Guinea |
| IWRM | Integrated water resources management |
| LGA | Local Government Area (LGA) |
| MEHH | Ministry of Energy and Hydraulics |
| MHA | Ministry of Water and Sanitation |
| MWP | Moder Water Points |
| NAWEC | Gambia National Water & Electric Company |
| NGO | Non-Governmental Organisation |
| NHIS | National Health Information System |
| NTD | Neglected tropical diseases |
| OD | Open Defecation |
| OECD | Organisation for Economic Co-operation and Development |
| OFOR | Office des Forages Ruraux du Sénégal |
| OMVG | Organisation for the Development of the Gambia River |
| ONAS | Office National de l'Assainissement du Sénégal |
| PAGIRE | Action Plan for Integrated Water Resources Management |
| PC | Private connection |
| PDDI | Master Plan for Integrated Development |
| PGIRE | Integrated Water Resources Management and Multipurpose Use Development Programme in the Senegal River Basin |
| PMI | President’s Malaria Initiative |
| PNA | Senegal's National Adaptation Plan |
| PNDES | National Economic and Social Development Plan |
| PPP | Public-Private Partnership |
| PRES | Economic and Social Resilience Programme (Senegal) |
| PSE | Emerging Senegal Plan |
| PURA | Public Service Regulatory Authority of The Gambia |
| R&D | Research & Development |
| RGPHAE | General Census of Population and Housing, Agriculture and Livestock (Senegal) |
| SDC | Swiss Agency for Development and Cooperation |
| SDG | Sustainable Development Goals |
| SEG | Société des Eaux de Guinée |
| SNAPE | Water point development service (Guinea) |
| SNDD | Senegal's National Strategy for Sustainable Development |
| SONES | Société Nationale des Eaux du Sénégal |
| SP | Standpipes |
| SWOT | Strengths, Weaknesses, Opportunities, Threats (matrix) |
| TB | Tuberculosis |
| ToR | Terms of reference |
| UGP | Management and Planning Units |
| UNCDF | United Nations Capital Development Fund |
| UNDP | United Nations Development Programme |
| UNFCCC | Conference of the Parties to the United Nations Framework Convention on Climate Change |
| UNICEF | United Nations Children's Fund |
| USAID | United States Agency for International Development |
| WAEMU | West African Economic and Monetary Union |
| WASH | Water, Sanitation and Hygiene |
| WHO | World Health Organization |

# Introduction

## Background and objective of the study

The Organisation pour la Mise en Valeur du fleuve Gambie (OMVG) was created in 1978, and its member states are The Gambia, Guinea, Guinea-Bissau and Senegal. Its main mission is the rational and harmonious exploitation of the common resources of the Gambia, Kayanga-Géba and Koliba-Corubal river basins. To this end, the OMVG aims to achieve energy and food self-sufficiency, promote transport channels, reduce the vulnerability of the economies of the Member States to climate risks and preserve the balance of ecosystems in the sub-region, particularly in the river basins of the three rivers.

BRL Ingénierie, in association with COBA and IDEV, has been selected to carry out the Integrated Development Master Plan (IDMP) for the Gambia, Kayanga-Géba and Koliba-Corubal rivers. This project is financed by the United Nations Capital Development Fund (UNCDF) and is part of the Blue Peace initiative, which aims to promote peaceful cooperation in the sharing of water resources.

UNCDF is an agency that puts public and private finance at the service of the poor. It does this by offering innovative financing models that unlock public and private resources - particularly at the national level - with the central goal of reducing poverty and supporting local economic development.

UNCDF has partnered with the Swiss Agency for Development and Cooperation (SDC) to launch the Blue Peace Financing programme (also called Blue Peace). The programme aims to foster peaceful cooperation in the sharing of transboundary water resources. To this end, Blue Peace encourages "the development of common institutional and legal frameworks that bring countries together in their commitment to peacefully resolve disputes over water resources and to use their water as a basis for broader economic and diplomatic collaboration". (FENU, 2020). The aim is thus to transform competition over limited freshwater resources into transboundary collaboration.

The OMVG covers an area in which member states share common objectives and interests in water resources management. The objectives of the OMVG are to

The creation of economic development opportunities that enable people to achieve viable and sustainable livelihoods in their communities;

The construction of infrastructure that promotes development and is aligned with the infrastructure projects identified by ECOWAS and the African Union;

Integrated resource and ecosystem management based on a sustainable development approach;

The promotion of large-scale agricultural and rural development programmes to significantly improve the income and food security of the population.

Currently, OMVG draws its financial resources for its projects mainly from the individual contributions of its four member states. Indeed, there is no financial instrument capable of channelling funding directly to the supranational entity that is OMVG. This funding mechanism is slow and gives rise to a complex web of contracts and conditionalities making it inefficient. The Blue Peace funding mechanism therefore seeks to innovate and create an enabling framework for funding and technical assistance to promote transboundary water cooperation. This includes the development of joint cross-border and multi-sectoral investment plans that promote cross-border water cooperation.

To implement such joint investment plans, it is first necessary to develop and rely on a basin-wide Integrated Development Master Plan (PDDI) approved by the member countries. This PDDI should enable the OMVG to achieve the objectives listed above. It is in this context that UNCDF is supporting the development of the OMVG PDDI. The PDDI will produce an investment plan of bankable projects.

The PDDI preparation mission is led by the BRLi-COBA-IDEV Group, from May 2021 to August 2022.

The study is divided into three phases:

Phase 1: Diagnostic study, to assess the baseline situation in the three OMVG basins and pre-identify the issues, threats and opportunities that will be used to develop the sectoral plans.

Phase 2: Development of sector plans. Six sector plans will be developed:

Agro-sylvo-pastoral and fisheries development plan;

Energy, industry and mining development plan;

Transport and Communication Development plan;

Environmental and ecosystem protection and management plan;

Drinking water supply, sanitation, health and education development plan;

Institutional development plan.

Phase 3: Preparation of the OMVG basins Integrated Development Master Plan

An inception report for the study was validated on 15 September 2021 at the Regional Validation Workshop held remotely and a final version of the inception report, incorporating the workshop recommendations, was submitted to OMVG and UNCDF on 30 September 2021.

A diagnostic report (Phase 1) was validated on 20 November 2021 at the Regional Validation Workshop held in Dakar and a final version of this deliverable, incorporating the workshop recommendations, was submitted to OMVG and UNCDF on 15 December 2021. This report was the subject of a broad consultation process. It was thus fed by the work carried out in national workshops in each of the four States, from 26 to 29 October 2021, as well as by the contributions of stakeholders from the three basins. In addition to the diagnostic analysis, this report includes an atlas of maps on all the themes covered in the diagnostic study.

A report containing six sectoral plans (Phase 2) was submitted to the OMVG on 9 February 2022, in a provisional version. This version of the report was the basis for consolidation work carried out in National Workshops and then in Regional Workshops, respectively in February and March 2022 (see next section).

Phase 2 of the study is now complete.

Figure 1-1 Timeline for Phase 2

## The Phase 2 Report - Purpose and Content of the Sector Plans

The sectoral plans are the main deliverable of Phase 2 of the study. They aim to summarise the major problems and issues identified in Phase 1, define the vision of the sector in 2040, structure the intervention strategy, define the necessary measures and develop the tools for implementing the action plans (timetable, budget, monitoring and evaluation, risks, social and environmental impacts).

The Phase 2 report thus consists of six volumes, structuring the intervention at the level of the three OMVG basins around the main groups of measures:

Cross-sectoral measures to improve water resources management:

Plan for the development of knowledge, management and governance of water resources ;

Environmental and ecosystem protection and management plan;

Measures to strengthen basic services:

Transport and Communication Development plan;

Water, sanitation, health and education development plan;

Sectoral socio-economic development measures:

Agro-sylvo-pastoral and fisheries development plan;

Energy, industry and mining development plan.

Each of the six plans is structured in a similar way, around the elements required by the Terms of Reference:

Chapters 1 and 2 are introductory chapters that present the context for the drafting of the PDDI and of the sector in the OMVG area, and summarize the diagnosis and assessing the evolution of the sector including the estimated needs of the sector in 2040;

Chapters 3 and 4 are the core of the intervention strategy for each sector. These chapters cover elaboration of the vision of the sector for 2040, which is then broken down into strategic axes (Chapter 3). They also include a proposal of an intervention strategy with expected results and detailed measures to be undertaken following a logical framework (Chapter 4);

Chapter 5 prepares the implementation of the sector plan. An action plan proposes a programme of measures up to 2040, an analysis of the assumptions, risks and conditions necessary for the implementation of the action plan, and the definition of monitoring indicators;

Chapter 6 is dedicated to an assessment of social and environmental impacts and proposals for compensation, mitigation or avoidance measures;

Chapter 7 proposes a projection towards the preparation of the PDDI, identifying synergies between sectors and potential impacts that the PDDI will need to address.

This deliverable has been produced in 2 versions:

A provisional version, a working document dated 9 February 2022, supporting the consolidation work carried out in the National Workshops held in February 2022, then at the Regional Validation Workshop held in Dakar on 16 and 17 March 2022, sanctioning the end of Phase 2 of the study;

A final version, integrating the elements produced during the National Workshops and the recommendations of the Regional Workshop.

- This document is the final version of the development plan for drinking water supply, sanitation, education and health.

## Development methodology

- Each of the six sectoral plans presents the proposed intervention strategy for each sector, as well as the associated implementation tools. These strategies are an aggregation of national and regional visions, policies and programmes, as well as the recommendations of the consortium.

The elaboration of the development plan for drinking water supply, sanitation, education and health is based on the following actions:

Taking into account the conclusions and recommendations of the Phase 1 diagnostic report in terms of strengthening legal, regulatory and institutional frameworks, improving water resources monitoring, development and management of basins and watersheds, and strengthening the capacities of stakeholders in the OMVG area on a transboundary scale;

Collection and analysis of national sectoral policy and planning documents, as well as regional programming documents;

The compilation and analysis of existing projects in the three river basins;

Analysis of existing master plans for the Kayanga-Géba and Gambia rivers (in particular unimplemented actions).

On this basis, the identified actions have been selected and consolidated around priority objectives, in order to form a coherent programming of actions at the scale of the OMVG area. The proposed actions are located (including by country and by sub-basin) and presented/mapped according to a common format harmonised between the different sectors.

Figure 1-2 Articulation of scales and economic sectors in the development of the PDDI

- Nota bene: The development of a Master Plan such as the PDDI aims at proposing integrated and transversal solutions to the technical, legal and institutional issues and challenges related to IWRM at the basin level. The level of analysis and planning is therefore the transboundary basins of the OMVG area. This is why the sectoral plans have been drafted on a regional scale.

- The necessary technical, legal and institutional interventions at national level were identified and analysed through the intervention of national experts in each of the 4 countries. The sectoral plans integrate these elements.

Stakeholder consultation

- The elaboration of the sectoral plans is largely based on the very broad data collection process carried out by the National Consultants mobilised by UNCDF and OMVG, then during the consultation missions, the national workshops and the regional workshop of Phase 1. In particular, the regional workshop was an opportunity to carry out group work aimed at formulating the need and actions to be planned within the framework of each of the six sectoral plans. The stakeholders of the river basins proposed a series of actions, listed in the Annex.

The development of the plans was also informed by the consultation stages planned in Phase 2 (see figure below). In addition to the national consultations in the four member states, field investigations and consultations were conducted in the rural areas of the national portions of the three basins. These took place in November 2021 for The Gambia and in February-March 2022 for Guinea, Guinea-Bissau and Senegal. National Workshops were organised remotely in February 2022 for each of the four member states, to finalise the collection of envisaged actions and to collect suggestions from stakeholders at national level. The process ended with a Regional Workshop, organised face-to-face, to harmonise the sectoral plans, validate their content and prepare the preparation of the Integrated Development Master Plan.

Figure 1-3 Stakeholder consultation steps in Phase 2

Access to safe water, sanitation and health

As part of the 2030 Agenda for Sustainable Development, SDG 6 calls for universal and equitable access to affordable drinking water by 2030 through target 6.1; and universal and equitable access to adequate sanitation and hygiene and an end to open defecation (OD) by 2030 through target 6.2, with particular attention to the needs of women and girls and people in vulnerable situations.

The Phase 1 diagnostic study framed the current situation of the drinking water supply and sanitation sub-sector in the regions of the OMVG basin member states. The diagnosis identified the main challenges to be addressed, particularly with regard to the population in rural areas, as they are the most disadvantaged in terms of access to an improved water source at or near the site and to adequate sanitation and hygiene.

In the OMVG basins, one quarter of the total population is urban and three quarters of the total population is rural. It is therefore essential to ensure that the entire rural population has access to improved water sources and adequate sanitation and hygiene services.

For the provision of universal, equitable and affordable drinking water, the global objectives that should contribute to their achievement are the following:

- Ensure sustainable and affordable access, especially for the rural population, to safe drinking water on site or close to households, accessible in 30 minutes or less (round trip);

- Ensuring the quality of drinking water on an ongoing basis, either through treatment (water chlorination, removal of iron and other chemicals) or removal of environmental contamination;

- To ensure a high quality and sustainable drinking water service through the development of professionalized service delivery models and systems for monitoring, controlling and evaluating the technical and financial performance of the service.

The actions to be taken to achieve the specific targets will vary from country to country, depending on the current capacities and service levels of each country. Countries with high rates of access to water from unimproved sources will strive to make progress in this direction by moving large percentages of their population from the "unimproved source" category to the "basic service" category, which corresponds to drinking water from an improved source with a collection time of 30 minutes or less for the round trip, including queuing.

Countries with the best levels of water services will seek to ensure near-universal access to a safely managed water supply that is drinking water from an improved, locally available source, free from contamination by faecal matter and priority chemicals.

In the case of sanitation in the OMVG basins, it is found that in all regions there are high to very high percentages of access to unimproved toilets or practice of open defecation.

For equitable and sustainable access to adequate sanitation and hygiene services the overall objectives are:

- Ensure the elimination of open defecation;

- Ensure equitable access to sanitation and hygiene services for all, with particular attention to the needs of women and girls and people in vulnerable situations;

- Ensure that all households have access to handwashing facilities with soap and water;

- Ensure a quality and sustainable sanitation and hygiene service through the development of professionalized service delivery models and systems for monitoring, control and technical and financial evaluation of the service.

All Member States should continue their efforts to provide improved sanitation solutions, adapted to the urban characteristics of the localities, to guarantee access to sanitation for all, ensuring the sustainability of the infrastructure and the service to be able to achieve the results of the 2030 Agenda.

Health

The 2030 Agenda and its 17 Sustainable Development Goals provide a cross-cutting vision highlighting the importance of addressing the determinants of people's health. SDG 3 promotes a global approach to health and aims to "enable all people to live in good health and promote well-being for all at all ages". It mainly concerns mothers and children, the fight against epidemics, road safety and access to care.

The efforts made in recent years in the field of health in the OMVG Member States have resulted in an overall improvement in health indicators. Morbidity and mortality from AIDS, tuberculosis, malaria and neglected tropical diseases have fallen significantly over the past 10 years.

This decline is contrasted by abnormally high rates of mortality and morbidity indicators that are still far above the targets set by the World Health Organisation. Infant and child mortality is twice the target and maternal mortality is five times (405/100,000) the 2030 target (70/100,000). It remains clear that further efforts are needed to achieve the expected targets, and major challenges have been identified to have a resilient health system and health indicators in line with the expected results by 2040.

The health systems of the countries of the OMVG face a number of challenges, including the elimination of malaria, AIDS and tuberculosis; the control of maternal, neonatal and child mortality; the reduction of malnutrition; and the existence of a sufficiently strengthened, dynamic and resilient national health system in the face of external shocks.

Obstacles relating to the provision of care and the optimal use of this care, such as the quality of the technical facilities, or the availability of qualified personnel, equipment and quality medicines, mean that one of the major challenges in the OMVG basins is the quality of the services provided, which remains insufficient at all levels of the care pyramid. The rate of financing of the health sector is very low, less than 10% of national budgets, and constitutes an additional bottleneck for the sector.

The gaps in health care coverage are obvious in terms of human resources, with only 6 qualified health workers (nurses, midwives and doctors) per 10,000 inhabitants, compared with the norm of 23 per 10,000 inhabitants. Geographical and financial access to health services also needs to be improved, as the distances between health structures and the population's places of residence often exceed 30 km for health centres and more than 10 km for health posts. This will require the construction of new health structures, but also their equipment and provision of qualified personnel.

The health information system, despite the implementation of DHIS2 (District Health Information Software version 2), needs to be strengthened and staffed with well-trained staff so that reliable information can be produced that can help in decision-making.

Climate change and the context of COVID-19 have significant impacts on the health sector, and these two parameters must be taken into account in the planning of health policies and programmes. A resurgence of certain water-borne diseases such as cholera can be expected with the return of abundant rainfall, especially in certain areas of the urban peripheries. The decline in the performance of certain health programmes (tuberculosis, AIDS, immunisation, etc.) observed during the first three waves of COVID-19 still raises challenges to be met so that the results obtained in recent years do not fall into disrepair.

It is therefore important to identify priorities on the basis of the diagnostic analysis made in Phase 1 in order to achieve the sustainable development objectives.

To enable all people to live in good health and to promote the well-being of all people at all ages, the following overall objectives are proposed:

- Ensure universal access to quality health care and services by 2040 in all regions covered by the OMVG basins;

- Ensure resilience of the health system to threats and disasters;

- Ensure a good health information system in all regions of the OMVG basins, which can assist in rapid decision making adapted to the context.

It is clear that the priorities and actions to be undertaken to achieve these objectives will vary from country to country, and should be chosen on the basis of their feasibility, acceptability and impact on improving the health conditions of the people living in these regions.

List of national documents used (projects / national policies / programmes)

Table 1-1- Projects identified for the drinking water supply, sanitation and health sectors

| Country | Studies and Projects |
| --- | --- |
| Gambia | MICS (Multiple Indicator Cluster Survey), 2018 |
|  | Population and Housing Census, Establishment Register, 2013 |
|  | Population and Housing Census, Dwelling and Household Characteristics, 2013 |
|  | Country Water Sector Profile - The Gambia, Water Security Overview, Nov 2020 |
|  | Rural Water Supply and Sanitation Programme Project Number: P-GM-E00-003 |
|  | Study on water supply and sanitation in The Gambia. Master Plan, 2005 |
|  | National Water Resources Assessment and Management Strategy, March 2015. |
|  | Gambia national strategy for sanitation and Hygiene 2011-2016 |
|  | The Gambia national Health strategic plan 2014-2020 |
|  | Assessment of the health system in the Gambia, USAID 2019 |
|  | Country consultant report |
|  | Additional data collection mission report |
|  | Official websites of WHO, UNICEF and the World Bank |
| Guinea | MICS (Multiple Indicator Cluster Survey), 2016 and 2018 |
|  | Statistical Yearbook, 2018 |
|  | Consolidation of the 8th EDF Solar Water Supply Management in Upper Guinea and Forest Guinea, 2011 |
|  | National Strategy for the Development of Public Water Services in Rural and Semi-urban Areas, 2012 |
|  | National Rural Water Supply and Sanitation Programme Development Project, 2009 |
|  | SNAPE, Annual Report, Year in Review 2019 |
|  | SNAPE, Annual Report, Review of Activities for the year 2017 |
|  | National Health Development Policy 2015-2024 |
|  | Report of the complementary data collection mission |
|  | Official websites of WHO, UNICEF and the World Bank |
|  | Country consultant's report |
|  | National Reproductive, Maternal, Newborn, Child and Adolescent Health and Nutrition Plan (SRMNIA-N) 2019 |
|  | National Community Health Policy 2017 |
| Guinea Bissau | MICS (Multiple Indicator Cluster Survey), 2018/2019 |
|  | Master Plan for the Water and Sanitation Sector, 1998 |
|  | MDG-WSSD Action Plan for Drinking Water Supply and Sanitation (WSS), 2010 |
|  | National Water Policy for Drinking Water Supply and Sanitation (NWSS), 2011 |
|  | Official websites of WHO, UNICEF and the World Bank |
|  | Guinee Bissau service delivery indicators. Report Health. June 2019 |
|  | Report on additional data collection mission in Guinea Bissau |
|  | Country Consultant Report |
|  | Unicef Guinea Bissau Report on COVID. Report N°24 December 2020 |
| Senegal | SES 2017-2018. Chapter VIII: Water and Sanitation |
|  | SES 2017-2018. Chapter I: State and Structure of the Population |
|  | SES 2017-2018, Regional (Tambacounda, Kaffrine, Kaolack, Kédougou and Kolda) |
|  | Sectoral Development Policy Letter, 2016-2025 |
|  | Action Plan for the Implementation of the National Rural Sanitation Strategy, 2016 |
|  | Feasibility study, Identification of potentially favourable areas |
|  | Rural Water Project Manual, 2016 |
|  | DHS continues Demographic and Health Survey 2018 and 2019 |
|  | Country Consultant Report |
|  | Report on the WAEMU Sustainable Development Goals. 2020 |
|  | Continuous Healthcare Provision Survey (CHPS) 2015 |
|  | Annual report on the monitoring of the health map of Senegal. 2019 |
|  | Population of Senegal 2020 (ANSD) |
|  | National Review on the Sustainable Development Goals. Forum 2018 |
|  | Global reference list of 100 core health indicators. WHO 2015 |
|  | Study of user preference on strategies for developing universal health coverage. (2016) |
|  | Economic and social situation of Senegal in 2016. ANSD |
|  | National Health and Social Development Plan (2019-2028) |
|  | Strategic Plan for Malaria Control in Senegal (PSN) 2021-2025 |
|  | Official websites of WHO, UNICEF and the World Bank |

# Drinking water supply, sanitation and health in the OMVG area

This chapter aims to summarise the diagnosis of the drinking water supply, sanitation and health sectors, carried out during Phase 1 of the study, in order to prioritise the cross-border issues that will be the target of the sector plan.

## Current state of the sector

### Key figures for drinking water supply and sanitation

drinking water supply

The diagnosis of the existing situation in terms of drinking water supply was based on the key indicators obtained from the MICS (Gambia, Guinea Bissau and Guinea) and ANSD reports from Senegal, and shows that a great effort has already been made by the Member States to set up drinking water infrastructures in the regions of the OMVG river basins. However, in order to achieve the Sustainable Development Goals by 2030, Member States will need to continue their efforts to develop drinking water infrastructure as shown in the table below.

This table summarises the access rates to drinking water in the OMVG regions according to water accessibility service levels. The effort required to improve water supply infrastructure to enable universal coverage at a basic service level by 2030 increases from the right to the left of the table, from 6% in Kaffrine to 77% in Kolda.

Table 2-1 Household access to drinking water by level of service (%)

| Household access to drinking water (%) | Service Level | Regions in basins shared by OMVG member states |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Kolda | Tombali | Bafatá | Gabu | Labé | Quinara | Tamba | Boké | Kuntaur | Janjanbureh | Kerewan | Kédougou | Low | Mansakonko | Kaolack | Kaffrine |
|  | Basic service | 23 | 20 | 52 | 52 | 55 | 62 | 60 | 63 | 66 | 69 | 72 | 74 | 84 | 88 | 89 | 94 |
|  | Limited Service | - | 1 | 16 | 9 | 18 | 1 | - | 14 | 16 | 9 | 16 | - | 11 | 8 | - | - |
|  | Unimproved service | 77 | 61 | 32 | 39 | 27 | 39 | 40 | 23 | 18 | 22 | 12 | 26 | 5 | 5 | 11 | 6 |
|  | Limited+ unimproved | 77 | 62 | 48 | 48 | 45 | 40 | 40 | 37 | 34 | 31 | 28 | 26 | 16 | 13 | 11 | 6 |

The figure below illustrates for the regions of the member states that are part of the OMVG basins the weaknesses in access to drinking water: unimproved or limited service (with a collection time of more than 30 minutes). It highlights the need for households to have access to improved water sources and access to improved water sources on site or nearby (basic service).

Figure 2-1 Access rates to unimproved water sources (left) and access rates to improved sources for collection times ≥ 30 min (right).

Drinking water supply, a challenge especially in rural areas

The main issues in the OMVG basins are related to rural water supply, as shown in the summary table below.

In the OMVG basins a quarter of the total population is urban and three quarters of the total population is rural.

Table 2-2- Rate of access to unimproved sources or limited services in OMVG basins in the year 2020

| Country | Urban population | Rural population | Total population BV OMVG | Urban population served | Rural population served | Urban population unserved | Rural population unserved | Access rate not improved/limited |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  | Urban | Rural |
| Gambia | 178 291 | 566 799 | 745 090 | 143 012 | 429 935 | 35 279 | 136 864 | 4,7% | 18,4% |
| Guinea | 89 232 | 995 134 | 1 084 366 | 68 277 | 559 228 | 20 955 | 435 906 | 1,9% | 40,2% |
| Guinea Bissau | 144 803 | 380 304 | 525 107 | 102 977 | 169 058 | 41 826 | 211 246 | 8,0% | 40,2% |
| Senegal | 444 626 | 1 306 311 | 1 750 937 | 316 023 | 738 359 | 128 603 | 567 952 | 7,3% | 32,4% |
| Total | 856 952 | 3 248 548 | 4 105 500 | 630 290 | 1 896 579 | 226 663 | 1 351 968 | 5,5% | 31,9% |

Given that 32% of the population in rural areas is supplied by unimproved water sources, compared to 5.5% of the urban population, it is essential to intervene in the supply of drinking water to rural areas.

Sanitation

Sanitation in the OMVG basin regions lags behind water supply. Comparison of key indicators shows that much greater efforts are needed for sanitation to achieve the Sustainable Development Goals by 2030.

The table below shows the effort needed to improve sanitation infrastructure and the elimination of open defecation, which increases for the regions indicated from right to left in the table, from 41% in Kaolack to 93% in Gabú. In the regions concerned, the percentages of open defecation are high in Senegal (with the exception of Kaolack) and Guinea; they are in an intermediate situation in Guinea-Bissau and are already very low in The Gambia.

Table 2-3 Rate of household access to basic, limited and unimproved sanitation services and open defecation

| Rate of access of households to sanitation (%) | Service Level | Regions in basins shared by OMVG member states |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Gabu | Quinara | Tombali | Bafatá | Kédougou | Kolda | Kaffrine | Kuntaur | Tamba | Janjanbureh | Kerewan | Labé | Boké | Mansakonko | Low | Kaolack |
|  | Basic Service | 5 | 6 | 7 | 9 | 18 | 19 | 20 | 13 | 24 | 26 | 25 | 31 | 35 | 41 | 50 | 59 |
|  | Limited service | 2 | 2 | 2 | 1 | - | - | - | 9 | - | 5 | 15 | 9 | 14 | 8 | 7 | - |
|  | Unimproved service | 87 | 82 | 73 | 86 | 59 | 65 | 54 | 76 | 59 | 67 | 59 | 20 | 32 | 49 | 43 | 27 |
|  | OD | 6 | 11 | 19 | 4 | 23 | 16 | 27 | 3 | 17 | 2 | 2 | 40 | 19 | 2 | 1 | 14 |
|  | unimproved + OD | 93 | 93 | 92 | 90 | 82 | 81 | 81 | 79 | 76 | 69 | 61 | 60 | 51 | 51 | 44 | 41 |

The figure below illustrates the rates of access to an unimproved service and using open defecation.

The efforts to be developed in household sanitation in all countries of the OMVG basins in the decade 2020 to 2030 are about 4 times higher than those needed in the decade 2030 to 2040. Scenarios that will therefore be considered will allow Member States to make a gradual investment effort during the development period of this master plan.

Figure 2-2 Use of unimproved toilets and open defecation in areas within the OMVG basins

Summary tables for drinking water supply and sanitation

The following summary tables provide an overview of the current water supply and sanitation situation in the OMVG basins.

The table below shows the household access rates for the different levels of water supply and sanitation services in the four Member States. The analysis of the table highlights the situation of the water supply and sanitation sector in each country and provides an overview of the acceleration needed to achieve the sustainable development goals of targets 6.1 and 6.2 by 2030.

Table 2-4 Rate of access of the household population to drinking water and sanitation services in the countries of the OMVG area

| Service Level | Gambia |  | Guinea |  | Guinea-Bissau |  | Senegal |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Drinking water | Sanitation | Drinking water | Sanitation | Drinking water | Sanitation | Drinking water | Sanitation |
| Basic Service | 77% | 35% | 58% | 32% | 52% | 7% | 60% | 29% |
|  |  |  |  |  |  |  | U(18) |  |
|  |  |  |  |  |  |  | R(42) |  |
|  | 12% | 8% | 16% | 12% | 12% | 2% | - | - |
| Limited Service |  |  |  |  |  |  |  |  |
|  | 11% | 56% | 26% | 25% | 36% | 85% | 40% | 52% |
| Unimproved Service |  |  |  |  |  |  | U(7,3) |  |
|  |  |  |  |  |  |  | R(32,4) |  |
| OD | - | 2% | - | 31% | - | 6% | - | 19% |
| Limited + unimproved + OD | 23% | 65% | 42% | 68% | 48% | 93% | 40% | 71% |

The table below highlights the situation of the water supply and sanitation sector in the OMVG river basins.

Table 2-5 Rate of access of the household population to drinking water and sanitation services in the OMVG basins

| OMVG basins | Sub-sector | Total pop. 2020 | Density (inhabitants / km2) | Population in 2020 (inhab) |  |  |  | Access rate |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Basic | Limited | Unimproved | OD | Basic | Limited | Unimproved | OD |
| Gambia | Drinking water | 2 655 602 | 34 | 1 810 593 | 162 193 | 682 816 | - | 68% | 6% | 26% | - |  |
|  | Sanitation |  |  | 819 836 | 104 652 | 1 293 497 | 437 618 | 31% | 4% | 49% | 16% |  |
| Kayanga-Geba | Drinking water | 667 439 | 44 | 268 266 | 49 553 | 349 620 | - | 40% | 7% | 52% | - |  |
|  | Sanitation |  |  | 80 824 | 6 869 | 512 420 | 67 327 | 12% | 1% | 77% | 10% |  |
| Koliba-Corubal | Drinking water | 782 459 | 33 | 448 009 | 113 461 | 220 989 | - | 57% | 15% | 28% | - |  |
|  | Sanitation |  |  | 211 159 | 81 596 | 294 533 | 195 172 | 27% | 10% | 38% | 25% |  |
| Total | Drinking water | 4 105 500 | 35 | 2 526 869 | 325 208 | 1 253 424 | - | 62% | 8% | 31% | - |  |
|  | Sanitation |  |  | 1 111 818 | 193 116 | 2 100 449 | 700 117 | 27% | 5% | 51% | 17% |  |

The results for drinking water supply show that the percentage of the total population served by at least one basic water service is 62% in the 3 OMVG basins; 68% in the Gambia basin, 40% in the Kayanga-Geba basin and 57% in the Koliba-Corubal basin.

The results for sanitation show that the percentage of the total population served by a basic and limited sanitation service is 32% in the 3 OMVG basins; 35% in the Gambia basin, 13% in the Kayanga-Geba basin and 37% in the Koliba-Corubal basin.

### Key figures for Health

Qualified health personnel needs:

The situational analysis shows that there is a huge need for qualified health personnel, with an unbalanced deployment between rural and urban areas to the detriment of rural areas. It remains imperative to restore territorial equity in terms of the availability and quality of health personnel in the regions of the basin.

Table 2-6 Gaps in skilled health personnel

| Country | Health professionals* per 10000 inhabitants | Population | Standards per 10,000 inhabitants | Difference |
| --- | --- | --- | --- | --- |
| Senegal | 5 | 1 750 937 | 23 | 3151 |
| Guinea | 6 | 1084 366 | 23 | 2385 |
| Guinea Bissau | 6 | 525108 | 23 | 892 |
| Gambia | 1 | 745 090 | 23 | 1266 |

*Nurses/Midwives/Doctors

Table 2-7 Situation of the child

| Indicators | Senegal | Gambia | Guinea | Guinea Bissau | Targets 0DD3 |
| --- | --- | --- | --- | --- | --- |
| DTP vaccination coverage (12-23 months) % | 93 | 95 | 93,5 | 87 | 100 |
| Child mortality rate per 1000 live births | 56 | 57 | 111 | 78,5 | 25 |
| Prevalence rate of malnutrition among <5 years old % | 18 | 19 | 31 | 28,1 | 0 |
| Neonatal mortality rate per 1000 live births | 28 | 31 | 30,4 | 36,6 | 12 |

Mortality trends for children under five have improved over the past 20 years in all countries, with remarkable reductions. Neonatal mortality is still worrying and leads to reflection on the implementation of strategies aimed at improving the conditions of children, such as the management of childhood diseases, immunisation coverage through the expanded plan for immunisation and the fight against malnutrition. Reducing or eliminating malnutrition must be a priority over the next ten years in order to improve early childhood health indicators.

Figure 2-3 Under-five mortality trends in Senegal, Guinea Bissau, The Gambia and Guinea

Sources: Demographic Health Survey 2018 Senegal, Multiple Indicator Cluster Survey 2018

Guinea Bissau, Gambia Multiple Indicator Cluster Survey 2018, Guinea Demographic and Health Survey 2018

#### Women's situation

Table 2-8: Some indicators on the situation of women

| Indicators | Senegal | Gambia | Guinea | Guinea Bissau | SDG3 targets |
| --- | --- | --- | --- | --- | --- |
| Completion rate prenatal consultation %. | 52,2 | 73 | 35,3 | 38 | 100 |
| Rate of assisted deliveries %. | 62,4 | 54 | 87,5 | 37 |  |
| Maternal mortality rate per 100,000 live births | 296 | 440 | 437 | 457 | 70 |
| Fertility rate (Children per woman) | 5,3 | 4,7 | 4,8 | 4,5 |  |

Sources: DHS 2018 - MICS 2018 - WHO 2017

The situation of women in the OMVG basins deserves exceptional measures that can significantly reduce maternal mortality, which is between 4 and 6 times higher than the target set by the SDGs. Strategies aimed at improving maternal care should also be implemented in order to reduce these trends by half or even two-thirds. This should involve birth control, as the number of children per woman is still very high (4.8 per woman), with completion rates for prenatal consultations hardly exceeding 50% and the percentage of births attended by qualified personnel standing at 60%, with a minimum of 37% for Guinea Bissau.

#### Situations of some diseases under surveillance

Table 2-9: Malaria, AIDS, TB and Trachoma Indicators

| Indicators | Senegal | Gambia | Guinea | Guinea Bissau | SDG3 TARGETS |
| --- | --- | --- | --- | --- | --- |
| Malaria incidence rate per 1000 hbts | 21,9 | 25,3 | 21,9 | 123,3 | Elimination |
| Tuberculosis incidence rate per 100,000 hbts | 122 | 174 | 176 | 361 | Elimination |
| AIDS prevalence rate %. | 0,5 | 1,7 | 1,8 | 5 | Elimination |
| Trachoma prevalence rate %. | 5* | 0 | 3 | 19,5 | Elimination |

*Endemic districts

Diseases such as malaria, AIDS and tuberculosis have declined significantly in all countries of the OMVG basins. However, their elimination, one of the goals of SDG 3, is still a long way off. The gains made in the fight against these three diseases must be maintained and strengthened, particularly in prevention, management and the use of innovative strategies through operational research. The cross-border fight against these diseases must be a reality so that the border health districts adapt the same strategies for a better efficiency of the actions undertaken.

### Situation of COVID-19 in the OMVG member countries:

The first cases were diagnosed from March 2020, with a higher incidence in large urban areas and a low rate of vaccination.

Table 2-10 Situation COVID-19

| Country | Number of COVID-19 cases diagnosed | Number of deaths COVID-19 | Case fatality rate | Deaths per million inhabitants | Number of tests performed | Percentage of people vaccinated |
| --- | --- | --- | --- | --- | --- | --- |
| Senegal | 73 987 | 1885 | 2,5% | 109 | 873 259 | 5,51% |
| Guinea | 30 770 | 387 | 1,25% | 28 | 569 940 | 6,88% |
| Guinea Bissau | 6 440 | 148 | 2,29% | 73 | 106 886 | 22,2% |
| Gambia | 9 989 | 342 | 3,42% | 136 | 121 854 | 9,22% |

Countries have signed up to the COVAX initiative to access the first vaccines and have set themselves the goal of vaccinating their entire population. To date, this rate seems utopian and considerable efforts must be made in the area of mass and local communication to reverse the trend towards vaccine hesitancy observed in all the OMVG countries.

COVID-19 has also led to a decline in the performance of national health programmes in Senegal, and this trend could also occur in other countries. It therefore remains relevant to provide contingency plans to minimise the collateral damage of COVID-19 on the health system in general, and on the functioning and functionality of national health programmes in particular.

Effects of covid-19 on the performance of health programmes in Senegal

Table 2-11 Comparative analysis of selected programme indicators

| Indicators | Achievements |  |  |  | Targets | Deviations |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | 2019 | 2020 | 2020 | Perfor-mance 2020 | 2020 | Realization | Realization |
|  |  | (Numerator) | (Denominator) |  |  | (2020-2019) | (2020-Target 2020) |
| Contraceptive prevalence rate | 16,2 % | 158045 | 1 020 863 | 15,40% | 58% (EDS data) | -0.8 | -42,6 |
| Proportion of malnourished children cured | 68 % | 914 | 1763 | 51,8 | 59,2 % | -16 ,2 % | -0,074 |
| Hepatitis B coverage rate < 24 h | 77 % | 93663 | 111552 | 84% | 90% | 7% | -6% |
| Percentage of Persons Living with HIV with undetectable viral load | 42 % | 3505 | 8098 | 43,28% | 90% | 1,28% | -46,72% |
| Tuberculosis detection rate for all forms | 68,49% | 4584 | 8442 | 54,29% | 70% | -14,2 | -15,71% |
| Malaria mortality rate | 1,12% | 71 | 5470 | 1,29% |  | 0,17 |  |
| Average breakage time for medicines and tracers | 13 | 3000 | 150 | 20 | 10 | 7 | 10 |
| Number of people aged 60 and over who benefited from the Sesame Plan | 49 080 | - | - | 25522 | 209875 | -23558 | -184353 |

Source: 2020 Joint Annual Review of the Response to COVID-19

Table 2-12: Situation Waterborne diseases

| Waterborne diseases | Senegal | Guinea | Guinea Bissau | Gambia |
| --- | --- | --- | --- | --- |
| Cholera | 472 cases in 2012 | 678 cases in 2012 | 16 cases in 2012 | 41 cases in 2012 |
| Gastroenteritis | Very prevalent but precise statistics are not available. | Very prevalent but precise statistics are not available | Very prevalent but precise statistics are not available | Very prevalent but precise statistics are not available |
| Arsenicosis | No statistics available | No statistics available | No statistics available | No statistics available |
| Shigellosis | No statistics available | No statistics available | No statistics available | No statistics available |
| Schistosomiasis | Present throughout the country with prevalence levels between 10 and 50%. Favoured by lack of water. Annual mass distribution campaigns with the national NTD programme | Endemic 50% prevalence | Endemic in the country, especially in the Cacheu valleys and the Geba rivers | Endemic in the country especially around the Gambia River |
| Lymphatic Filariasis | Prevalence of 14% detected in Kédougou in 2017 with villages up to 50% in the over 29s (Hubert et al, 20115) | 10% prevalence | Endemic with periodic MTN campaigns | No cases reported since 2005 |
| Onchocerciasis | 150,000 are exposed to this disease and live in the Gambia River basin in about 590 villages. | Less than 1 per 1000 prevalence, being eliminated | Endemic with mass treatment implemented by the state | Not available |

Statistics on waterborne diseases show that onchocerciasis persists in 590 villages in Senegal and is endemic in the Gambia. Schistosomiasis is endemic in the OMVG basins, and efforts are needed in the health information system to make data on gastroenteritis and water pollution-related diseases more reliable. Campaigns targeting neglected tropical diseases should be maintained and adjusted as necessary to achieve elimination of these diseases.

Effects of climate change

In the countries of the OMVG, climate change is affecting people's well-being through increased flooding that damages roads and infrastructure.

Increasing heat and drought threaten the health of populations and multiply existing health vulnerabilities. These impacts multiply the stresses associated with high levels of poverty and a fluctuating economy. Although there has been little research in this area, the main concerns are for climate-sensitive diseases, such as malaria, which is endemic and peaks during the rainy season. Climate change is likely to exacerbate the risks and impacts associated with water-borne and vector-borne diseases that are already prevalent in all parts of the OMVG.

### Summary - SWOT matrices

The SWOT analyses highlight the strengths and weaknesses of the water supply, sanitation and health sector and provide a starting point for the strategy to strengthen the sector in the three OMVG basins.

Table 2-13 SWOT matrix for water supply in the river basins OMVG

Table 2-14 SWOT matrix for sanitation and hygiene in the OMVG river basins

Table 2-15 SWOT matrix for health in the LVMO river basins

## Evolution of the sector

### Key issues

The 2030 Agenda provides a reference framework for the development of the water and sanitation sector in the OMVG basins, to achieve universal and equitable access as targeted by the Sustainable Development Goals (SDGs). There are disparities in access rates across the 3 OMVG basins and the SDG6 may be more difficult to achieve in some areas or in some basins where lower access rates are currently observed.

The main challenges for Member States in implementing measures to meet the water and sanitation and hygiene SDGs are:

- Improving governance of the sector in the context of existing and emerging challenges by strengthening institutional frameworks for public services in the sector;

- Sustainable funding for infrastructure investments in the sector for the creation of new infrastructure or the rehabilitation/improvement of existing infrastructure;

- Sustainable funding for operation and maintenance to ensure the sustainability of the sector's infrastructure.

The main challenges identified for the achievement of SDG3 (health) lie in the governance of the health sector, in the provision of health care services but also in social protection:

- Strengthening the steering and coordination of the sector;

- The integration of preventive, curative and promotional care at the level of health centres and the recruitment and training of competent medical staff;

- Decentralisation and deconcentration of health services;

- The optimal functioning of health programmes in a pandemic context such as COVID-19;

- Increasing endogenous health financing and better involvement of the private sector;

- Availability of quality medicines and health products;

- Rationalisation of health services to be present where they are needed;

- Strengthening and sustaining community participation;

- The establishment of a health insurance system based on the principles of solidarity.

### Scenarios for change in the water and sanitation sector

The available water supply and sanitation development plans developed for the countries of the OMVG basins need to be updated as they do not yet take into account the Sustainable Development Goals, especially targets 6.1 and 6.2. These plans include:

- NAWEC, 2005. Master Plan, Water Supply and Sanitation Study of The Gambia;

- SNAPE, 2009. National programme for drinking water supply and sanitation in rural areas in the Republic of Guinea by 2015;

- DGRH, 2010. Update of the Water and Sanitation Master Plan of Guinea-Bissau (2011-2020);

- SONES has a Master Plan from 2010. An update of this is planned for 2022.

The reference framework for the development of this sector study is the 2030 Agenda of the Sustainable Development Goals. This study can be seen as a preliminary study at the scale of the OMVG area that assesses the water and infrastructure needs of the sector and their financing until 2040, already integrating the SDG6 into the planning of the water, sanitation and hygiene sector.

The country consultations provided information on the needs, characteristics, condition and functioning of existing infrastructure and the main challenges, including ongoing projects in the water and sanitation sector. Annexes 1 and 2 present the data provided for the PDDI by NAWEC and SONES.

We have also taken into account the detailed project proposal - Mission 1 - "Maintenance of electromechanical and hydromechanical equipment in Conakry and inland towns", for Koundara, Mali, Gaoual and Lélouma, which are underway or completed. The Société des Eaux de Guinée (SEG) is the contracting authority for these works.

On the basis of the information acquired for this PDDI, scenarios have been established for the evolution of drinking water supply, sanitation and hygiene infrastructures for urban centres and rural areas in the OMVG area, in order to achieve the Sustainable Development Goals by 2040.

The current state of the sector has been considered as a starting point for the development of scenarios for the evolution of the WASH sector. These scenarios are described below and have been used as a basis for assessing the infrastructure needs and investments to be made for the construction, rehabilitation and strengthening of the sector's infrastructure in each of the OMVG Member States and basins up to 2040. The funding required for ancillary works, including studies and tender documents required for the implementation of sector infrastructure was also assessed.

#### Scenarios for the evolution of the population served by the drinking water supply

The scenarios envisaged for the evolution of access to drinking water at the basic service level in order to achieve the SDGs are quite ambitious, and envisage significant annual growth rates and therefore very high investments, especially until 2030.

Gambia

The rate of access to basic drinking water services in the Gambia OMVG area is currently 77%. In order to achieve the goal of universal access by 2030, it is necessary to provide access to a basic service to the currently unserved population and to provide access to a basic service to the future population. In the Gambian area of the OMVG space, the urbanisation rate in 2020 is 24% and will be 34% by 2040.

According to the proposed development scenario, the growth rates of population access to basic/safe drinking water services aim to achieve the objectives of equity and universality of drinking water service by 2030. The assumed growth rates are as follows:

- Growth rate of 4.1%/year between 2021 and 2025 and the population served is 126,400, of which 35,900 are from urban centres and 90,500 from rural areas;

- Growth rate of 4.8%/year between 2025 and 2030 and the population served is 182,800, 77,100 from urban centres and 105,700 from rural areas;

- Growth rate 1.4%/year between 2030 and 2040 and the population served is 136,300, 89,900 from urban centres and 46,400 from rural areas.

It was agreed that ongoing or programmed projects with funding continue to be implemented.

Guinea

The rate of access to basic services in Guinea in the OMVG area is currently 58%. To achieve the goal of universal access in 2030, it is necessary to provide access to a basic service to the currently unserved population and to provide access to a basic service to the future population by 2040. In the OMVG basin area, the urbanisation rate in 2020 is 8% and will be 12% in 2040, leading to a greater dispersion of settlements and therefore infrastructure.

According to the proposed development scenario, the growth rates of population access to basic/safe drinking water services aim to achieve the objectives of equity and universality of drinking water service by 2030. The assumed growth rates are as follows:

Growth rate of 7.9%/year between 2021 and 2025 and the population served is 291,000, i.e. 28,700 from urban centres and 262,300 from rural areas;

Growth rate of 7.6%/year between 2025 and 2030 and the population served is 408,500, i.e. 32,800 from urban centres and 375,700 from rural areas;

Growth rate 1.5%/year between 2030 and 2040 and the population served is 211,500, i.e. 56,200 from urban centres and 155,300 from rural areas.

A number of considerations, and in particular the recognition that Guinea has continued to make continuous efforts to improve the drinking water sector, have led to the adoption of an ambitious scenario for the growth of the population served:

The key indicators for Guinea refer to the year 2016 (MICS, 2016) and therefore do not take into account the achievements in water supply systems in recent years, which are numerous, as evidenced by the 2018 and 2019 activity reports produced by the Service National des Points d'Eau (SNAPE), and one can therefore assume that the current access rate is already higher;

The Société des Eaux de Guinée is currently rehabilitating the drinking water systems of the centres, including solar panels, generators and water treatment stations using HTH (calcium hypochlorite), within the framework of the "Securing the drinking water supply in the 26 SEG centres - Maintenance of electromechanical and hydromechanical equipment in Conakry and the towns in the interior" project. To date, the detailed projects and tender documents, some of which are within the OMVG area - such as for Koundara, Mali and Gaoual - have already been concluded.

- In addition, rural drinking water supply in Guinea is well structured:

- The management of the public water service is communal: the communes identify the target villages, participate in the design of the projects, accept the works and delegate the management of the service to Management Units. These units contract a private operator established at regional level and approved by SNAPE. SNAPE is responsible for the supervision of artisanal repairers of human powered pumps, maintenance and repair of mechanical pumping systems and distribution networks;

- SNAPE has a mission to support and advise the communes on access to drinking water and has a major role in the permanent and dynamic monitoring of the sector in rural areas.

Guinea Bissau

The rate of access to basic services in Guinea Bissau in the OMVG basin area is currently 52%. In the OMVG basin area the urbanisation rate in 2020 is 28% and will be 35% in 2040.

Guinea-Bissau is the country where the population has the least access to a basic drinking water service among the OMVG member states. A high satisfaction scenario is proposed for the population's access to drinking water, with an access rate of 75% by 2030.

According to the proposed development scenario, the growth rates of population access to basic/safe water services aim to achieve the objectives of equity and universality of drinking water service by 2040. The assumed growth rates are as follows:

Growth rate of 4.9%/year between 2021 and 2025 and the population served is 74,000, i.e. 10,600 in urban centres and 63,400 in rural areas;

Growth rate of 6.7%/year between 2025 and 2030 and the population served is 132,300, i.e. 45,900 in urban centres and 86,400 in rural areas;

Growth rate 4.6%/year between 2030 and 2040 and the population served is 274,400, i.e. 104,300 in urban centres and 170,100 in rural areas.

Senegal

The rate of access to basic services in Senegal in the OMVG basin area is currently 61%. In the OMVG basin area the urbanisation rate in 2020 is 28% and will be 39% in 2040.

According to the proposed development scenario, the growth rates of population access to basic/safe drinking water services aim to achieve the objectives of equity and universality of drinking water service by 2030. The assumed growth rates are as follows:

Growth rate of 6.6%/year between 2021 and 2025 and the population served is 394,000, i.e. 202,200 in urban centres and 191,800 in rural areas;

Growth rate of 8.2%/year between 2025 and 2030 and the population served is 700,300, i.e. 114,900 in urban centres and 585,500 in rural areas;

Growth rate 1.7%/year between 2030 and 2040 and the population served is 406,300, 247,200 in urban centres and 159,100 in rural areas.

This highly evolving scenario for improving water supply, with very high annual growth rates, especially over the period 2021-2030, will require significant efforts, but very comparable to projects already carried out in Senegal. This is the case, for example, of the PUDC (Programme d'Urgence de Développement Communautaire) in its third phase (PUDC Phase 3), which aimed to cover the needs of 500,000 inhabitants in rural areas, to bring families closer to water points and to significantly reduce water collection for women and children in rural areas.

This project, launched in April 2017, had a budget of 50,000 MFCFA, was to be completed in 16 months, and included the following components:

Rehabilitation of 70 old boreholes;

Construction of 181 complete drinking water supply systems: boreholes + water towers + network;

Construction of 900 standpipes; and

Construction of 803 km of linear network.

Generally speaking, this project corresponds to a typical multi-village water supply scheme consisting of the construction of boreholes equipped with water towers 20 m high under the invert to supply all the villages within a radius of 6 to 10 km.

Taking into account the above project data, we estimate an average value of 2,700 inhabitants per village system. This project covered 12 regions in Senegal, including the 4 regions of the OMVG area: Kaffrine, Kaolack, Tambacounda and Kolda.

The IDB WAEMU Rural Water and Sanitation Project in the regions of Kédougou, Kolda, Matam and Tambacounda for a total population of 103,613 people, is completed or nearing completion. It started in January 2016 and is scheduled to be completed in July 2021. The project budget is 7,965.31 million FCFA.

The activities were as follows:

- 12 complete multi-village water supply systems in the regions of Kolda, Matam and Tambacounda, including four (04) for each region;

- 21 boreholes equipped with solar systems in the regions of Kédougou, Matam and Tambacounda, including ten (10) for the region of Kédougou, seven (07) for the region of Tambacounda and four (04) for the region of Matam;

- 65 down-the-hole drill boreholes in the regions of Kédougou and Tambacounda, of which 35 in the Kédougou region and 30 in the Tambacounda region.

The key indicators for Senegal refer to the year 2017 (ANSD. DHS, 2017) and therefore did not take into account these particular large projects, which are expected to have served a population of about 200,000 people in the rural areas of the OMVG space. Thus, current access rates may be higher than assumed, and therefore the effort to improve population access rates to drinking water is lower than expected by 2030. However, as we do not have confirmation of the populations covered in the OMVG area by the projects carried out, the rates of access to a basic service provided by the ANSD, 2017, in the analyses below have been maintained.

OMVG AREA

The figures below illustrate the evolution of the population in the basins and countries of the OMVG area by 2025, 2030 and 2040.

It should be noted that in the OMVG area the urban population will double by 2040 and the rural population will increase by about 30% by 2040.

Figure 2-4: Population trends in the basins and countries of the OMVG area by 2025, 2030 and 2040

The following tables present projections of the total urban and rural population served and to be served, and of the access rates to basic drinking water services in the countries and basins of the OMVG for the scenarios described above and for the time horizons 2025, 2030 and 2040.

Table 2-16: Situation in the year 2020: Total population, urban and rural, served and unserved, and access rates to basic drinking water services in the OMVG countries and basins

| Country/ by basin | Population 2020 |  |  |  |  |  |  |  |  | Access rate to basic service |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Urban | Rural | Total | Served Urban | Served Rural | Served Total | Unserved Urban | Unserved Rural | Unserved Total | Urban | Rural | Total |
| Gambia | 178 291 | 566 799 | 745 090 | 143 012 | 429 935 | 572 947 | 35 279 | 136 864 | 172 143 | 19% | 58% | 77% |
| Guinea |  |  |  |  |  |  |  |  |  |  |  |  |
| Gambia | 35 831 | 405 400 | 441 231 | 26 994 | 224 385 | 251 379 | 8 837 | 181 015 | 189 852 | 6% | 51% | 57% |
| Kayanga-Geba | 712 | 3 696 | 4 409 | 577 | 2 200 | 2 778 | 135 | 1 496 | 1 631 | 13% | 50% | 63% |
| Koliba-Corubal | 52 689 | 586 037 | 638 726 | 40 707 | 332 642 | 373 348 | 11 982 | 253 395 | 265 377 | 6% | 52% | 58% |
| Totals | 89 232 | 995 134 | 1 084 366 | 68 277 | 559 228 | 627 505 | 20 955 | 435 906 | 456 861 | 6% | 52% | 58% |
| Guinea Bissau |  |  |  |  |  |  |  |  |  |  |  |  |
| Kayanga-Geba | 103 023 | 278 351 | 381 375 | 73 410 | 123 964 | 197 374 | 29 612 | 154 387 | 184 000 | 19% | 33% | 52% |
| Koliba-Corubal | 41 780 | 101 953 | 143 733 | 29 567 | 45 094 | 74 660 | 12 213 | 56 859 | 69 073 | 21% | 31% | 52% |
| Totals | 144 803 | 380 304 | 525 108 | 102 977 | 169 058 | 272 035 | 41 826 | 211 246 | 253 073 | 20% | 32% | 52% |
| Senegal |  |  |  |  |  |  |  |  |  |  |  |  |
| Gambia/SONES | 250 390 |  | 250 390 | 250 390 |  | 250 390 | 0 |  | 0 | 19% | 48% | 67% |
| Gambia | 103 511 | 1 115380 | 1 218 892 | 26 349 | 709 528 | 735 878 | 77 162 | 405 852 | 483 014 |  |  |  |
| Kayanga/SONES | 44 457 |  | 44 457 | 29 631 |  | 29 631 | 14 826 |  | 14 826 | 14% | 10% | 24% |
| Kayanga-Geba | 46 268 | 190 931 | 237 199 | 9 653 | 28 831 | 38 483 | 36 615 | 162 100 | 198 715 |  |  |  |
| Totals | 444 626 | 1 306311 | 1 750 937 | 316 023 | 738 359 | 1 054 382 | 128 603 | 567 952 | 696 555 | 18% | 42% | 60% |
| Totals | 856 952 | 3 248548 | 4 105 500 | 630 290 | 1 896 579 | 2 526 869 | 226 663 | 1 351 968 | 1 578 632 | 15% | 46% | 62% |

Table 2-17: Situation in 2025: Total urban and rural population served and to be served and projected access rates to basic drinking water services in the OMVG countries and basins

| Country/ by basin | Population 2025 |  |  |  |  |  |  |  |  | Access rate to basic service |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Urban | Rural | Total | Served Urban | Served Rural | Served Total | To be served urban | To be served rural | To be served in full | Urban | Rural | Total |
| Gambia | 215 261 | 597 971 | 813 232 | 178 911 | 520 469 | 699 380 | 35 899 | 90 534 | 126 433 | 22% | 64% | 86% |
| Guinea |  |  |  |  |  |  |  |  |  |  |  |  |
| Gambia | 43 254 | 447 843 | 491 097 | 39 288 | 333 946 | 373 234 | 12 294 | 109 561 | 121 855 | 8% | 68% | 76% |
| Kayanga-Geba | 860 | 4 083 | 4 943 | 860 | 4 083 | 4 943 | 283 | 1 883 | 2 166 | 17% | 83% | 100% |
| Koliba-Corubal | 63 605 | 647 392 | 710 997 | 56 880 | 483 478 | 540 357 | 16 173 | 150 836 | 167 009 | 8% | 68% | 76% |
| Totals | 107 718 | 1 099319 | 1 207037 | 97 027 | 821 507 | 918 535 | 28 750 | 262 279 | 291 030 | 8% | 68% | 76% |
| Guinea Bissau |  |  |  |  |  |  |  |  |  |  |  |  |
| Kayanga-Geba | 121 171 | 300 599 | 421 771 | 80 136 | 168 708 | 248 845 | 6 726 | 44 744 | 51 470 | 19% | 40% | 59% |
| Koliba-Corubal | 49 140 | 110 102 | 159 242 | 33 441 | 63 697 | 97 138 | 3 874 | 18 603 | 22 477 | 21% | 40% | 61% |
| Totals | 170 312 | 410 701 | 581 013 | 113 577 | 232 405 | 345 982 | 10 600 | 63 347 | 73 948 | 18% | 40% | 58% |
| Senegal |  |  |  |  |  |  |  |  |  |  |  |  |
| Gambia/SONES | 301 794 |  | 301 794 | 301 794 |  | 301 794 | 51 404 |  | 51 404 | 26% | 50% | 76% |
| Gambia | 121 745 | 1 209448 | 1 331193 | 121 745 | 816 493 | 938 238 | 95 396 | 106 965 | 202 361 |  |  |  |
| Kayanga/SONES | 52 915 |  | 52 915 | 52 915 |  | 52 915 | 23 284 |  | 23 284 | 30% | 36% | 66% |
| Kayanga-Geba | 55 662 | 207 033 | 262 695 | 41 768 | 113 620 | 155 388 | 32 115 | 84 789 | 116 904 |  |  |  |
| Totals | 532 116 | 1 416481 | 1 948597 | 518 222 | 930 113 | 1 448 335 | 202 199 | 191 754 | 393 953 | 27% | 48% | 74% |
| Totals | 1 025407 | 3 524472 | 4 549879 | 907 738 | 2 504 494 | 3 412 232 | 277 448 | 607 915 | 885 363 | 20% | 55% | 75% |

Table 2-18: Situation in 2030: Total urban and rural population served and to be served and projected access rates to basic drinking water services in the OMVG countries and basins

| Country/ by basin | Population 2030 |  |  |  |  |  |  |  |  | Access rate to basic service |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Urban | Rural | Total | Served Urban | Served Rural | Served Total | To be served urban | To be served rural | To be served in full | Urban | Rural | Total |
| Gambia | 256 050 | 626 178 | 882 227 | 256 050 | 626 178 | 882 227 | 77 139 | 105 709 | 182 848 | 29% | 71% | 100% |
| Guinea |  |  |  |  |  |  |  |  |  |  |  |  |
| Gambia | 52 147 | 487 698 | 539 846 | 52 147 | 487 698 | 539 846 | 12 860 | 153 752 | 166 612 | 10% | 90% | 100% |
| Kayanga-Geba | 1 037 | 4 447 | 5 484 | 1 037 | 4 447 | 5 484 | 177 | 363 | 540 | 19% | 81% | 100% |
| Koliba-Corubal | 76 682 | 705 005 | 781 688 | 76 682 | 705 005 | 781 688 | 19 803 | 221 528 | 241 330 | 10% | 90% | 100% |
| Totals | 129 867 | 1 197 150 | 1 327 017 | 129 867 | 1 197 150 | 1 327 017 | 32 839 | 375 643 | 408 482 | 10% | 90% | 100% |
| Guinea Bissau |  |  |  |  |  |  |  |  |  |  |  |  |
| Kayanga-Geba | 141 308 | 321 383 | 462 690 | 115 673 | 231 345 | 347 018 | 35 536 | 62 637 | 98 173 | 25% | 50% | 75% |
| Koliba-Corubal | 57 306 | 117 714 | 175 021 | 43 755 | 87 510 | 131 265 | 10 314 | 23 813 | 34 128 | 25% | 50% | 75% |
| Totals | 198 614 | 439 097 | 637 711 | 159 428 | 318 855 | 478 283 | 45 850 | 86 450 | 132 301 | 25% | 50% | 75% |
| Senegal |  |  |  |  |  |  |  |  |  |  |  |  |
| Gambia/SONES | 366 049 |  | 366 049 | 366 049 |  | 366 049 | 64 255 |  | 64 255 | 28% | 72% | 100% |
| Gambia | 137 867 | 1 294 067 | 1 431 934 | 137 867 | 1 294 067 | 1 431 934 | 16 122 | 477 573 | 493 695 |  |  |  |
| Kayanga/SONES | 63 488 |  | 63 488 | 63 488 |  | 63 488 | 10 573 |  | 10 573 | 37% | 63% | 100% |
| Kayanga-Geba | 65 694 | 221 519 | 287 213 | 65 694 | 221 519 | 287 213 | 23 926 | 107 899 | 131 825 |  |  |  |
| Totals | 633 098 | 1 515 585 | 2 148 683 | 633 098 | 1 515 585 | 2 148 683 | 114 876 | 585 472 | 700 348 | 29% | 71% | 100% |
| Totals | 1 217 628 | 3 778 010 | 4 995 639 | 1 178 442 | 3 657 769 | 4 836 211 | 270 704 | 1 153 275 | 1 423 979 | 24% | 73% | 97% |

Table 2-19: Situation in 2040: Total urban and rural population served and to be served and projected access rates to basic drinking water services in the OMVG countries and basins

| Country/ by basin | Population 2040 |  |  |  |  |  |  |  |  | Access rate to basic service |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Urban | Rural | Total | Served Urban | Served Rural | Served Total | To be served urban | To be served rural | To be served in full | Urban | Rural | Total |
| Gambia | 345 997 | 672 561 | 1 018 558 | 345 997 | 672 561 | 1 018 558 | 89 948 | 46 384 | 136 331 | 34% | 66% | 100% |
| Guinea |  |  |  |  |  |  |  |  |  |  |  |  |
| Gambia | 74 714 | 550 977 | 625 691 | 74 714 | 550 977 | 625 691 | 22 567 | 63 279 | 85 846 | 12% | 88% | 100% |
| Kayanga-Geba | 1 485 | 5 024 | 6 509 | 1 485 | 5 024 | 6 509 | 449 | 577 | 1 026 | 23% | 77% | 100% |
| Koliba-Corubal | 109 867 | 796 480 | 906 347 | 109 867 | 796 480 | 906 347 | 33 184 | 91 475 | 124 659 | 12% | 88% | 100% |
| Totals | 186 066 | 1 352 481 | 1 538 547 | 186 066 | 1 352 481 | 1 538 547 | 56 199 | 155 331 | 211 530 | 12% | 88% | 100% |
| Guinea Bissau |  |  |  |  |  |  |  |  |  |  |  |  |
| Kayanga-Geba | 187 620 | 357 880 | 545 501 | 187 620 | 357 880 | 545 501 | 71 948 | 126 535 | 198 483 | 34% | 66% | 100% |
| Koliba-Corubal | 76 088 | 131 083 | 207 171 | 76 088 | 131 083 | 207 171 | 32 333 | 43 572 | 75 905 | 37% | 63% | 100% |
| Totals | 263 709 | 488 963 | 752 671 | 263 709 | 488 963 | 752 671 | 104 281 | 170 107 | 274 388 | 35% | 65% | 100% |
| Senegal |  |  |  |  |  |  |  |  |  |  |  |  |
| Gambia/SONES | 508 953 |  | 508 953 | 508 953 |  | 508 953 | 142 904 |  | 142 904 |  |  |  |
| Gambia | 191 690 | 1 429 919 | 1 621 609 | 191 690 | 1 429 919 | 1 621 609 | 53 823 | 135 853 | 189 675 | 33% | 67% | 100% |
| Kayanga/SONES | 88 273 |  | 88 273 | 88 273 |  | 88 273 | 24 785 |  | 24 785 |  |  |  |
| Kayanga-Geba | 91 341 | 244 774 | 336 114 | 91 341 | 244 774 | 336 114 | 25 647 | 23 255 | 48 902 | 42% | 58% | 100% |
| Totals | 880 256 | 1 674 693 | 2 554 949 | 880 256 | 1 674 693 | 2 554 949 | 247 158 | 159 108 | 406 266 | 34% | 66% | 100% |
| Totals | 1 676 028 | 4 188 698 | 5 864 726 | 1 676 028 | 4 188 698 | 5 864 726 | 497 586 | 530 930 | 1 028 516 | 29% | 71% | 100% |

#### Drinking water infrastructure needs

The previous scenarios of population growth with access to drinking water by 2040 correspond to scenarios of increasing production, treatment, transport, storage and distribution capacities through water towers and drinking water networks, and the gradual increase of individual connections in urban centres, but also in the most populated villages.

The drinking water supply development scenarios seek to integrate the measures proposed at country level at the Phase 1 Regional Workshop, including:

Village drinking water supply projects with distribution networks based on groundwater catchment wells and solar pumps;

Monitoring, management, operation and maintenance of boreholes and drinking water distribution networks to make them sustainable.

Taking into account the scenarios described and the medium and long term objectives (2030 - 2040) of universal and sustainable access to drinking water in the OMVG area, the following hypotheses have been accepted to estimate the infrastructure needs in access to drinking water:

- Types of access to drinking water :

Borehole with human powered pump (BHPP);

Drinking water supply network (DWSN), either for private connections (PC) or for standpipes (SP).

The population in urban centres will be supplied by drinking water supply networks. In these centres, the construction of new production, treatment, transport, storage and distribution facilities through water towers and drinking water networks will be planned, as well as the rehabilitation/strengthening of existing facilities. The type of access will be through private connections and standpipes, with a tendency to replace standpipes with private connections to serve the urban population over time;

In the villages, the population will be supplied by boreholes equipped with human-powered pumps (BHPP) and drinking water supply networks:

- For approximately 30% of the village population in 2040, whose current population resides in villages with less than 400 inhabitants and is currently not served by improved water sources or is already served by improved water sources but far from households, it is proposed to construct BHPPs during the period of this plan, by 2040;

- For 70% of the population of the villages in 2040, of which it is estimated that the current population resides in villages of 400 or more, it is proposed to build new facilities or rehabilitate existing ones in order to provide drinking water to the population, at or near households, with a borehole solution, treatment plant, water tower and drinking water supply network with standpipes, considering that in these villages the type of access, which at the beginning will be mainly by standpipes, will undergo a trend towards an increase in individual connections and a reduction in standpipes by 2040.

- The estimate of the percentage of the population in villages with less than 400 inhabitants and 400 or more inhabitants was based on the GoBS, 2013, Directory of Settlement for The Gambia. For the other countries, this data was not available. For villages in The Gambia in the OMVG area, it was found that the population residing in villages with less than 400 inhabitants represents about 30% of the total village population, which approximates the population currently unserved by improved water sources or served by improved water sources distant from households.

- New village water supply infrastructures must favour multi-village supply to allow for a better amortization of investments in deep boreholes and in treatment plants/disinfection stations, and to optimize management, operation and maintenance costs. For areas where the flow rates or quality of water resources do not allow the population's access to drinking water to be met in terms of quantity and quality, water transfer solutions (underground or surface) will have to be envisaged.

- For the treatment of surface water, a conventional treatment process should be considered (coagulation/flocculation; sedimentation, filtration, treated water storage tank and disinfection (by calcium hypochlorite)).

All components of the village water supply, such as the borehole with a solar panel pump or linked to the electricity grid, the treatment plant/disinfection station, the storage tank and the water tower and network, must be sized for the population and water needs in the project horizon (2040). In the medium term, up to 2030, the drinking water supply network will be shorter and will include a few standpipes, e.g. 1 standpipe per 150 inhabitants. The densification of public water points and the construction of private connections will be in line with the demand of the growing population.

Existing drinking water supply networks in towns and villages are rehabilitated/strengthened and integrated into the drinking water supply systems. Strengthening existing systems may involve the construction of a water tower, the construction of new boreholes and pipelines, the installation of a treatment plant/disinfection station, the extension of the network or the increase of the diameter of sections of the network and the construction of standpipes and private connections.

In order to rehabilitate and strengthen existing drinking water supply infrastructures, it is essential that the Member States have an inventory of the existing situation in the supply of drinking water in urban centres and villages, namely: the current and projected population, the flows captured and distributed, the characteristics of the infrastructures, the mapping of the networks, the state of operation and the state of conservation. This should enable the diagnosis, design of solutions and infrastructure, projects and tender documents necessary for the execution of rehabilitation and strengthening.

The Consultant draws attention to the careful determination of population and unit consumption by 2040 for the sizing of drinking water supply systems in towns and villages, as the number of people who will want to have water in their homes in the future should not be underestimated. In this case, the unit consumption of people is higher than with the use of shared standpipes, as is commercial, industrial and public consumption in settlements. It is very important to carefully determine the population and its unit consumption in order to avoid under- or oversizing of drinking water supply systems.

In sizing the costs of the new BHPPs, an average population of 130-135 inhabitants/ borehole has been assumed to ensure closer access to drinking water for households. Existing BHPPs in rural areas will be rehabilitated and integrated into village water supply systems. These boreholes can provide an alternative source of water for livestock and agriculture in the case of villages that will be served by a drinking water supply system.

According to the information available, at present, in all Member States, underground resources are exploited to supply water to the population, with a few exceptions. This is the case for the town of Kédougou, in the basement zone, which benefits from surface water from the Gambia River, with a water intake at Itato. The transition from the use of groundwater resources, which are more limited in quantity and of very variable quality, to the use of surface water resources is envisaged by SONES, which has launched a call for tenders to update the master plan in the 8 urban areas it currently manages. This study, launched in early 2022, could favour surface water to supply the cities managed by SONES over groundwater, as surface water is of better quality and in greater quantity, and easier to mobilise than groundwater.

The table below shows the drinking water supply infrastructure needs by 2040 to ensure universal and equitable access to drinking water in the OMVG countries and basins, for the urban and rural population.

The estimate of the investments to be made was based on the urban and rural population assigned to each type of drinking water infrastructure and the estimated unit cost per capita. These per capita unit costs were obtained from the values of similar projects in Senegal and Guinea, but also from projects developed for other African countries.

SONES manages 5 cities in the OMVG area: Koungheul, Nioro du rip, Tambacounda and Kédougou in the Gambia basin and Vélingara in the Kayanga basin. The cities of Kaffrine, Kaolack and Kolda are outside the OMVG area. SONES has provided estimates of the population served, the type of connection used and the annual consumption for the years 2021, 2030 and 2035. The scenarios established in this sector plan for the evolution of the population served in the cities of the OMVG area and their water needs are consistent with the data provided by SONES. The availability of this data has also enabled an assessment to be made specifically for the water supply systems managed by SONES of the investments to be made during the development period of this PDDI.

Table 2-20: Infrastructure needs for drinking water supply by 2040 in the OMVG countries and basins

| Country/ by basin | Population 2020 |  |  |  |  | Population 2040 |  | Urban population to be served in 2040 |  | Rural population to be served in 2040 |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Urban | Rural | Served Urban | Served Rural | Unserved Rural | Urban | Rural | Urban water systems |  | Rural water supply networks |  | BHPP / Modern water point |  |
|  |  |  |  |  |  |  |  | Construction | Rehabilitation/ Strengthening/ Restore | Construction | Rehabilitation/ Strengthening / Restore | Construction | Rehabilitation |
| Gambia | 178 291 | 566 799 | 143 012 | 429 935 | 136 864 | 345 997 | 672 561 | 202 985 | 143 012 | 406 717 | 128 980 | 136 864 | 300 954 |
| Guinea |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Gambia | 35 831 | 405 400 | 26 994 | 224 385 | 181 015 | 74 714 | 550 977 | 47 720 | 26 993 | 318 369 | 67 316 | 165 293 | 157 070 |
| Kayanga-Geba | 712 | 3 696 | 577 | 2 200 | 1 496 | 1 485 | 5 024 | 908 | 577 | 2 868 | 660 | 1 496 | 1 540 |
| Koliba-Corubal | 52 689 | 586 037 | 40 707 | 332 642 | 253 395 | 109 867 | 796 480 | 69 159 | 40 706 | 457 743 | 99 793 | 238 944 | 232 849 |
| Totals | 89 232 | 995 134 | 68 277 | 559 228 | 435 906 | 186 066 | 1 352 481 | 117 787 | 68 276 | 778 980 | 167 768 | 405 733 | 391 459 |
| Guinea Bissau |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kayanga-Geba | 103 023 | 278 351 | 73 410 | 123 964 | 154 387 | 187 620 | 357 880 | 114 210 | 73 410 | 213 327 | 37 189 | 107 364 | 86 775 |
| Koliba-Corubal | 41 780 | 101 953 | 29 567 | 45 094 | 56 859 | 76 088 | 131 083 | 46 521 | 29 566 | 78 230 | 13 528 | 39 325 | 31 565 |
| Totals | 144 803 | 380 304 | 102 977 | 169 058 | 211 246 | 263 709 | 488 963 | 160 731 | 102 976 | 291 557 | 50 717 | 146 689 | 118 341 |
| Senegal |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Gambia/SONES | 250 390 | 0 | 250 390 | 0 |  | 508 953 |  | 258 563 | 250 390 |  |  |  |  |
| Gambia | 103 511 | 1 115 380 | 26 349 | 709 528 | 405 852 | 191 690 | 1 429 919 | 165 340 | 26 349 | 811 209 | 212 859 | 405 852 | 496 670 |
| Kayanga/SONES | 44 457 | 0 | 29 631 | 0 |  | 88 273 |  | 58 642 | 29 631 |  |  |  |  |
| Kayanga-Geba | 46 268 | 190 931 | 9 653 | 28 831 | 162 100 | 91 341 | 244 774 | 81 688 | 9 653 | 162 693 | 8 649 | 73 432 | 20 181 |
| Totals | 444 626 | 1 306 311 | 316 023 | 738 359 | 567 952 | 880 256 | 1 674 693 | 564 233 | 316 023 | 973 901 | 221 508 | 479 284 | 516 851 |
| Totals | 856 952 | 3 248 548 | 630 290 | 1 896 579 | 1 351968 | 1 676 028 | 4 188 698 | 1 045 738 | 630 289 | 2 451 155 | 568 974 | 1 168 570 | 1 327 605 |

Table 2-21: Unit costs of construction/rehabilitation/strengthening of water supply infrastructure in urban centres and villages

| Construction / rehabilitation of water supply systems in urban centres and rural areas | Unit costs (USD/capita) |
| --- | --- |
| Urban centres |  |
| Construction of water supply systems (includes new water collection, treatment, water towers and storage tanks and networks – disinfection and de-ironing costs: 25 USD /capita (average cost)) | 320 |
| Construction of SONES water supply systems (includes new facilities and surface water transfer – full treatment: 60 USD/capita (average cost)) | 350 |
| Rehabilitation/strengthening of water supply networks (includes water treatment - chlorination and iron removal- 25 USD/capita average cost) | 230 |
| Rural areas |  |
| Construction of water systems (includes treatment: 25 USD/capita average cost) | 275 |
| Rehabilitation/strengthening of water networks (includes treatment: 25 USD/capita average cost) | 170 |
| Construction of BHPPs/ modern water points | 170 |
| Rehabilitation of BHPPs/ modern water points | 50 |

#### Scenarios for the evolution of the population served by sanitation

The scenarios for achieving universal access to basic sanitation by 2030 would imply very high annual growth rates of the population to be served, much higher than those foreseen for drinking water supply, which is not realistic given the past evolution of sanitation in all countries. In the context of the current situation in the countries, it seems that sanitation is not a priority, as shown by the responses of Group 2 “Harmonisation of the diagnosis and formulation of the 2040 vision” at the regional workshop of the PDDI phase 1. Indeed, in the ranking of transboundary problems identified in the OMVG basins, the lowest priority was given to the issue "low level of access to adequate sanitation". The priority of sanitation is strongly devalued compared to the provision of drinking water and energy, as the direct impact on people's lives is perceived to be of lesser importance.

In this PDDI, scenarios are proposed in which universal and equitable access to sanitation occurs in 2040 for all countries. However, by 2030, it is expected that about 70% of the inhabitants of the OMVG basins will have adequate sanitation and hygiene services. By 2030, it is also expected that open defecation in all countries will be eliminated.

Gambia

The rate of access to basic/limited sanitation services in The Gambia in the OMVG area is currently 43%.

Under the proposed development scenario, the growth rates of the population with access to basic sanitation services are as follows:

- Growth rate of 5.8%/year between 2021 and 2025 and the population served is 104,400, i.e. 54,900 in urban centres and 49,500 in rural areas;

- Growth rate of 7.7%/year between 2025 and 2030 and the population served is 190,500, i.e. 77,100 in urban centres and 113,300 in rural areas;

- Growth rate 5.2%/year between 2030 and 2040 and the population served is 405,200, i.e. 89,900 in urban centres and 315,300 in rural areas.

Guinea

The rate of access to basic sanitation services in Guinea in the OMVG area is currently 43%.

Under the proposed development scenario, the growth rates of the population with access to basic sanitation services are as follows:

- Growth rate of 6.5%/year between 2021 and 2025 and the population served is 174,400, i.e. 8,500 in urban centres and 165,900 in rural areas;

- Growth rate of 7.6%/year between 2025 and 2030 and the population served is 284,200, i.e. 32,800 from urban centres and 251,400 from rural areas;

- Growth rate 5.2%/year between 2030 and 2040 and the population served is 611,300, i.e. 56,200 in urban centres and 555,100 in rural areas.

Guinea Bissau

The rate of access to basic sanitation services in Guinea Bissau in the OMVG area is currently 9%.

Under the proposed development scenario, the growth rates of the population with access to basic sanitation services are as follows:

- Growth rate of 14.4%/year between 2021 and 2025 and the population served is 42,700, i.e. 24,700 from urban centres and 18,000 from rural areas;

- Growth rate of 24.4%/year between 2025 and 2030 and the population served is 172,800, i.e. 120,700 from urban centres and 52,100 from rural areas;

- Growth rate 11.2%/year between 2030 and 2040 and the population served is 492,800, i.e. 85,000 from urban centres and 407,800 from rural areas.

Senegal

The rate of access to basic sanitation services in Senegal in the OMVG area is currently 29%.

Under the proposed development scenario, the growth rates of the population with access to basic sanitation services are as follows:

- Growth rate of 10.1%/year between 2021 and 2025 and the population served is 312,300, 249,700 from urban centres and 62,600 from rural areas;

- Growth rate of 12.9%/year between 2025 and 2030 and the population served is 685,000, 155,417 from urban centres and 529,700 from rural areas;

- Growth rate 5.4%/year between 2030 and 2040 and the population served is 1,051,000, 247,200 from urban centres and 803,800 from rural areas.

OMVG Space

The following tables present projections of the total urban and rural population served and to be served, and of the access rates to basic sanitation services in the countries and basins of the OMVG for the scenarios described above and for the time horizons 2020, 2025, 2030 and 2040.

Table 2-22: Situation in the year 2020: Total population, urban and rural, served and unserved, and access rates to basic sanitation in OMVG countries and basins

| Country/ by basin | Population 2020 |  |  |  |  |  |  |  |  |  | Basic/limited access rate |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Urban | Rural | Total | Served Urban | Served Rural | Served Total | Unserved Urban | Unserved Rural | Unserved Total | Urban |  | Rural | Total |
| Gambia | 178 291 | 566 799 | 745 090 | 124 015 | 194 425 | 318 440 | 54 277 | 372 374 | 426 650 | 17% |  | 26% | 43% |
| Guinea |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Gambia | 35 831 | 405 400 | 441 231 | 35 108 | 149 808 | 184 916 | 723 | 255 592 | 256 315 | 8% |  | 34% | 42% |
| Kayanga-Geba | 712 | 3 696 | 4 409 | 712 | 1 435 | 2 147 | 0 | 2 262 | 2 262 | 16% |  | 33% | 49% |
| Koliba-Corubal | 52 689 | 586 037 | 638 726 | 52 689 | 228 833 | 281 522 | 0 | 357 204 | 357 204 | 8% |  | 36% | 44% |
| Totals | 89 232 | 995 134 | 1 084366 | 88 509 | 380 077 | 468 586 | 723 | 615 057 | 615 780 | 8% |  | 35% | 43% |
| Guinea Bissau |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kayanga-Geba | 103 023 | 278 351 | 381 374 | 24 814 | 8 380 | 33 194 | 78 209 | 269 971 | 348 181 | 7% |  | 2% | 9% |
| Koliba-Corubal | 41 780 | 101 953 | 143 733 | 8 607 | 2 625 | 11 232 | 33 173 | 99 328 | 132 501 | 6% |  | 2% | 8% |
| Totals | 144 803 | 380 304 | 525 107 | 33 420 | 11 006 | 44 426 | 111 382 | 369 299 | 480 681 | 6% |  | 2% | 9% |
| Senegal |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Gambia/SONES | 250 390 |  | 250 390 | 162 754 |  | 162 754 | 87 637 |  |  | 14% |  | 15% | 29% |
| Gambia | 103 511 | 1 115 380 | 1 218892 | 30 502 | 248 870 | 279 371 | 73 010 | 866 510 | 1 027 157 |  |  |  |  |
| Kayanga/SONES | 44 457 |  | 44 457 | 22 229 |  | 22 229 | 22 229 |  |  | 9% |  | 9% | 18% |
| Kayanga-Geba | 46 268 | 190 931 | 237 199 | 12 459 | 29 828 | 42 287 | 33 809 | 161 103 | 217 141 |  |  |  |  |
| Totals | 444 626 | 1 306 311 | 1 750 937 | 227 942 | 278 698 | 506 640 | 216 684 | 1 027 614 | 1 244 297 | 13% |  | 16% | 29% |
| Totals | 856 952 | 3 248 548 | 4 105500 | 473 886 | 864 205 | 1 338 091 | 383 066 | 2 384 343 | 2 767 409 | 12% |  | 21% | 33% |

Table 2-23: Situation in the year 2025: Total urban and rural population served and to be served and access rates to basic sanitation in the OMVG countries and basins

| Country/ by basin | Population 2025 |  |  |  |  |  |  |  |  | Basic/limited access rate |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Urban | Rural | Total | Served Urban | Served Rural | Served Total | To be served Urban | To be served Rural | To be served Total | Urban | Rural | Total |
| Gambia | 215 261 | 597 971 | 813 232 | 178 911 | 243 970 | 422 881 | 54 896 | 49 545 | 104 441 | 22% | 30% | 52% |
| Guinea |  |  |  |  |  |  |  |  |  |  |  |  |
| Gambia | 43 254 | 447 843 | 491 097 | 39 288 | 216 083 | 255 371 | 4 180 | 66 274 | 70 454 | 8% | 44% | 52% |
| Kayanga-Geba | 860 | 4 083 | 4 943 | 860 | 4 083 | 4 943 | 148 | 2 649 | 2 796 | 17% | 83% | 100% |
| Koliba-Corubal | 63 605 | 647 392 | 710 997 | 56 880 | 325 825 | 382 705 | 4 191 | 96 992 | 101 182 | 8% | 46% | 54% |
| Totals | 107 718 | 1 099 319 | 1 207 037 | 97 027 | 545 991 | 643 019 | 8 518 | 165 915 | 174 433 | 8% | 45% | 53% |
| Guinea Bissau |  |  |  |  |  |  |  |  |  |  |  |  |
| Kayanga-Geba | 121 171 | 300 599 | 421 771 | 42 177 | 21 089 | 63 266 | 17 364 | 12 708 | 30 072 | 10% | 5% | 15% |
| Koliba-Corubal | 49 140 | 110 102 | 159 242 | 15 924 | 7 962 | 23 886 | 7 317 | 5 337 | 12 654 | 10% | 5% | 15% |
| Totals | 170 312 | 410 701 | 581 013 | 58 101 | 29 051 | 87 152 | 24 681 | 18 045 | 42 726 | 10% | 5% | 15% |
| Senegal |  |  |  |  |  |  |  |  |  |  |  |  |
| Gambia/SONES | 301 794 |  | 301 794 | 301 794 |  | 301 794 | 139 041 |  | 139 041 | 25% | 18% | 43% |
| Gambia | 121 745 | 1 209 448 | 1 331 193 | 106 453 | 293 938 | 400 390 | 75 951 | 45 068 | 121 019 |  |  |  |
| Kayanga/SONES | 52 915 |  | 52 915 | 52 915 |  | 52 915 | 30 687 |  | 30 687 | 22% | 15% | 37% |
| Kayanga-Geba | 55 662 | 207 033 | 262 695 | 16 519 | 47 342 | 63 861 | 4 060 | 17 514 | 21 574 |  |  |  |
| Totals | 532 116 | 1 416 481 | 1 948 597 | 477 681 | 341 279 | 818 960 | 249 739 | 62 582 | 312 320 | 25% | 18% | 42% |
| Totals | 1 025 407 | 3 524 472 | 4 549 879 | 811 721 | 1 160 291 | 1 972 012 | 337 834 | 296 086 | 633 921 | 18% | 26% | 43% |

Table 2-24: Situation in the year 2030: Total urban and rural population served and to be served and access rates to basic sanitation in the OMVG countries and basins

| Country/ by basin | Population 2030 |  |  |  |  |  |  |  |  |  | Basic/limited access rate |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Urban | Rural | Total | Served Urban | Served Rural | Served Total | To be served Urban | To be served Rural | To be served Total | Urban |  | Rural | Total |
| Gambia | 256 050 | 626 178 | 882 227 | 256 050 | 357 302 | 613 352 | 77 139 | 113 332 | 190 471 | 29% |  | 41% | 70% |
| Guinea |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Gambia | 52 147 | 487 698 | 539 846 | 52 147 | 323 907 | 376 055 | 12 860 | 107 825 | 120 684 | 10% |  | 60% | 70% |
| Kayanga-Geba | 1 037 | 4 447 | 5 484 | 1 037 | 4 447 | 5 484 | 177 | 363 | 540 | 19% |  | 81% | 100% |
| Koliba-Corubal | 76 682 | 705 005 | 781 688 | 76 682 | 469 013 | 545 695 | 19 803 | 143 188 | 162 990 | 10% |  | 60% | 70% |
| Totals | 129 867 | 1 197 150 | 1 327 017 | 129 867 | 797 367 | 927 233 | 32 839 | 251 376 | 284 215 | 10% |  | 60% | 70% |
| Guinea Bissau |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kayanga-Geba | 141 308 | 321 383 | 462 690 | 127 177 | 60 150 | 187 326 | 85 000 | 39 061 | 124 061 | 27% |  | 13% | 40% |
| Koliba-Corubal | 57 306 | 117 714 | 175 021 | 51 576 | 21 002 | 72 578 | 35 651 | 13 040 | 48 692 | 29% |  | 12% | 41% |
| Totals | 198 614 | 439 097 | 637 711 | 178 752 | 81 152 | 259 905 | 120 651 | 52 102 | 172 753 | 28% |  | 13% | 41% |
| Senegal |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Gambia/SONES | 366 049 | 0 | 366 049 | 366 049 |  | 366 049 | 64 255 |  | 64 255 | 28% |  | 42% | 70% |
| Gambia | 137 867 | 1 294 067 | 1 431 934 | 137 867 | 755 153 | 893 020 | 31 414 | 461 215 | 492 630 |  |  |  |  |
| Kayanga/SONES | 63 488 | 0 | 63 488 | 63 488 |  | 63 488 | 10 573 |  | 10 573 | 37% |  | 33% | 70% |
| Kayanga-Geba | 65 694 | 221 519 | 287 213 | 65 694 | 115 731 | 181 425 | 49 175 | 68 390 | 117 565 |  |  |  |  |
| Totals | 633 098 | 1 515 585 | 2 148 683 | 633 098 | 870 884 | 1 503 982 | 155 417 | 529 605 | 685 022 | 29% |  | 41% | 70% |
| Totals | 1 217628 | 3 778 010 | 4 995 639 | 1 197 767 | 2 106 705 | 3 304 472 | 386 046 | 946 414 | 1 332 461 | 24% |  | 42% | 66% |

Table 2-25: Situation in the year 2040: Total urban and rural population served and to be served and access rates to basic sanitation in the OMVG countries and basins

| Country/ by basin | Population 2040 |  |  |  |  |  |  |  |  |  | Basic/limited access rate |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Urban | Rural | Total | Served Urban | Served Rural | Served Total | To be served Urban | To be served Rural | To be served Total | Urban |  | Rural | Total |
| Gambia | 345 997 | 672 561 | 1 018 558 | 345 997 | 672 561 | 1 018 558 | 89 948 | 315 259 | 405 207 | 34% |  | 66% | 100% |
| Guinea |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Gambia | 74 714 | 550 977 | 625 691 | 74 714 | 550 977 | 625 691 | 22 567 | 227 070 | 249 637 | 12% |  | 88% | 100% |
| Kayanga-Geba | 1 485 | 5 024 | 6 509 | 1 485 | 5 024 | 6 509 | 449 | 577 | 1 026 | 23% |  | 77% | 100% |
| Koliba-Corubal | 109 867 | 796 480 | 906 347 | 109 867 | 796 480 | 906 347 | 33 184 | 327 467 | 360 651 | 12% |  | 88% | 100% |
| Totals | 186 066 | 1 352 481 | 1 538 547 | 186 066 | 1 352 481 | 1 538 547 | 56 199 | 555 114 | 611 314 | 12% |  | 88% | 100% |
| Guinea Bissau |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kayanga-Geba | 187 620 | 357 880 | 545 501 | 187 620 | 357 880 | 545 501 | 60 444 | 297 731 | 358 174 | 34% |  | 66% | 100% |
| Koliba-Corubal | 76 088 | 131 083 | 207 171 | 76 088 | 131 083 | 207 171 | 24 513 | 110 080 | 134 593 | 37% |  | 63% | 100% |
| Totals | 263 709 | 488 963 | 752 671 | 263 709 | 488 963 | 752 671 | 84 956 | 407 811 | 492 767 | 35% |  | 65% | 100% |
| Senegal |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Gambia/SONES | 508 953 | 0 | 508 953 | 508 953 | 0 | 508 953 | 142 904 |  | 142 904 | 33% |  | 67% | 100% |
| Gambia | 191 690 | 1 429 919 | 1 621 609 | 191 690 | 1 429 919 | 1 621 609 | 53 823 | 674 766 | 728 589 |  |  |  |  |
| Kayanga/SONES | 88 273 | 0 | 88 273 | 88 273 | 0 | 88 273 | 24 785 |  | 24 785 | 42% |  | 58% | 100% |
| Kayanga-Geba | 91 341 | 244 774 | 336 114 | 91 341 | 244 774 | 336 114 | 25 647 | 129 043 | 154 689 |  |  |  |  |
| Totals | 880 256 | 1 674 693 | 2 554 949 | 880 256 | 1 674 693 | 2 554 949 | 247 158 | 803 809 | 1 050 967 | 34% |  | 66% | 100% |
| Totals | 1 676 028 | 4 188 698 | 5 864 726 | 1 676 028 | 4 188 698 | 5 864 726 | 478 261 | 2 081 993 | 2 560 254 | 29% |  | 71% | 100% |

#### Sanitation and hygiene infrastructure needs

Taking into account the described scenarios and the medium and long term objectives, the envisaged solution is in line with inclusive sanitation for the whole urban and rural population of the OMVG area and aims at improving the living conditions of the people.

The availability of water allows for the promotion of handwashing, which is fundamental to improving sanitary conditions. But on the other hand, it gives rise to surface run-off of unsanitary water, which is a major source of disease transmission through direct contact (especially by children) and insect infestation. It is therefore important to collect this wastewater.

The solution for urban centres includes the whole chain of sanitation services, from domestic facilities to final disposal, and aims to improve the health and living conditions of the population in urban centres in the OMVG area.

In urban centres, the different distribution of the population in the urban area must be taken into account. In the city centre, where water is available at home, occupancy is more regular and population density is high, the proposed sanitation solution is the conventional one, i.e. a reticulated network with individual connections to houses or buildings. In the area around the city centre, where occupancy is less regular but also denser, where water is available at home and where the volume of wastewater produced tends to increase, a more simplified network is also proposed, adapted to the irregular distribution of houses.

The wastewater produced in this central area of the city is conveyed by interceptors/pump stations to the treatment plant.

In the larger cities managed by SONES, the distribution of the current and future population by type of connection to the water supply networks shows that by 2035 almost all households (~100%) will have access to a private connection, with an average daily water consumption of 76 L/capita/day. Therefore, for these cities, conventional sewerage networks covering the whole city are needed to serve the whole population. Thus, in and around the city centre the solution envisaged is of the off-site type and includes:

- In the city centre: construction/rehabilitation of a conventional sewerage network and connections to houses or buildings. The population covered by this type of sewerage network in 2040 represents in the cities supplied by SONES 30% of the total urban population and in the other cities 10% of the total urban population;

Figure 2-5 Illustration of the typical flush toilet and washbasin solution

- In the areas around the city centre: construction/rehabilitation of flush toilets with washbasins, at a rate of one toilet per 15 inhabitants (see adjacent figure of the type of toilet) and construction of simplified networks and household connections. The population covered by this type of sanitation network in 2040 represents 70% of the urban population in the cities supplied by SONES, and 40% of the urban population in the other cities;

- Interceptors and pumping stations to convey the drained wastewater from the city centre and surrounding area to one or more treatment plants are planned.

Source: Graph produced by COBA

In peri-urban areas, which are those areas of cities where water supply is from standpipes, where a sewage disposal solution is not feasible because there is too little water, on-site sanitation solutions such as the following are suitable:

- Construction/rehabilitation of small flush toilets with washbasins at the rate of one toilet per 15 inhabitants;

- Construction or rehabilitation of sludge pits and infiltration wells for grey water;

- Construction of a sludge treatment plant and a sludge management system to collect sludge from houses and transport it to the plant. In addition to the sludge treatment plant, this solution also includes sludge transport vehicles (trucks and smaller vehicles) and sludge transfer stations. Sludge from the latrine pits will be collected by operators and transported to the transfer stations by smaller vehicles capable of reaching all households. Sludge from the transfer stations will be collected and transported by trucks to the sludge treatment plant.

The population of peri-urban areas covered by on-site sanitation solutions in 2040 represents 50% of the total population of cities in the OMVG area (cities managed by SONES are not included).

In rural areas, where little water is used, on-site sanitation solutions are suitable. The following solution is proposed for rural sanitation needs (see figure below):

- Construction/rehabilitation of low-flush or user-pour toilets (2 to 3 litres), with washbasin, at the rate of one toilet per 15 inhabitants;

- Construction of double sludge pits and infiltration wells for washbasin water.

This solution is most suitable when water is available from standpipes near households. A dual pit system is used, with only one pit being used at a time. When one pit is full, the toilet is connected to the other pit, while the previously used pit remains idle. While the pit is resting, the excrement dries and eventually the pit can be safely emptied manually. The dry matter can then be used for agriculture as fertiliser. It is recommended to wait at least one year before emptying the pit. It is the toilet users themselves who clean the sludge pits.

For villages where drinking water is supplied to households or is planned to be supplied to households through individual connections, the sanitation solution that was considered for urban centres needs to be adapted in these villages.

Figure 2-6 Illustration of the typical toilet and double sludge pit solution proposed for rural areas

Source: Graph produced by COBA

In order to end OD and to raise awareness of good hygiene practices and sanitation infrastructure, information and awareness campaigns are planned for the population.

Table 2-26: Sanitation and hygiene infrastructure needs by 2040 in the OMVG countries and basins

| Country/ by basin | Population 2020 |  | Population 2040 |  | Population in and around the city centre Construction / rehabilitation |  |  |  |  | Peri-urban population Construction / rehabilitation |  |  | Rural population Construction / rehabilitation |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ServedUrban | ServedRural | Urban | Rural | Conventional network |  | Interceptor/ pump stations | Wastewater treatment plant | Toilet | Infiltration pits and wells | Wastewater treatment /sludge management | Toilet | Double pit/ infiltration well | Toilet |
|  |  |  |  |  | Classic | Simplified |  |  |  |  |  |  |  |  |
| Gambia | 124 015 | 194 425 | 345 997 | 672 561 | 34 600 | 138399 | 172 999 | 172 999 | 138399 | 172 999 | 172 999 | 172 999 | 672 561 | 672 561 |
| Guinea |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Gambia | 35 108 | 149 808 | 74 714 | 550 977 | 7 471 | 29 886 | 37 357 | 37 357 | 29 886 | 37 357 | 37 357 | 37 357 | 550 977 | 550 977 |
| Kayanga-Geba | 712 | 1 435 | 1 485 | 5 024 | 0 | 0 | 0 | 0 | 0 | 1 485 | 1 485 | 1 485 | 5 024 | 5 024 |
| Koliba-Corubal | 52 689 | 228 833 | 109 867 | 796 480 | 10 987 | 43 947 | 54 933 | 54 933 | 43 947 | 54 933 | 54 933 | 54 933 | 796 480 | 796 480 |
| Totals | 88 509 | 380 077 | 186 066 | 1 352 481 | 18 458 | 73 832 | 92 290 | 92 290 | 73 832 | 93 776 | 93 776 | 93 776 | 1 352 481 | 1 352481 |
| Guinea Bissau |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kayanga-Geba | 24 814 | 8 380 | 187 620 | 357 880 | 18 762 | 75 048 | 93 810 | 93 810 | 75 048 | 93 810 | 93 810 | 93 810 | 357 880 | 357 880 |
| Koliba-Corubal | 8 607 | 2 625 | 76 088 | 131 083 | 7 609 | 30 435 | 38 044 | 38 044 | 30 435 | 38 044 | 38 044 | 38 044 | 131 083 | 131 083 |
| Totals | 33 420 | 11 006 | 263 709 | 488 963 | 26 371 | 105483 | 131 854 | 131 854 | 105483 | 131 854 | 131 854 | 131 854 | 488 963 | 488 963 |
| Senegal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Gambia/SONES | 162 754 | 0 | 508 953 | 0 | 152 686 | 356267 | 508 953 | 508 953 | 356267 |  |  |  |  |  |
| Gambia | 30 502 | 248 870 | 191 690 | 1 429 919 | 19 169 | 76 676 | 95 845 | 95 845 | 76 676 | 95 845 | 95 845 | 95 845 | 1 429 919 | 1 429919 |
| Kayanga/SONES | 22 229 | 0 | 88 273 | 0 | 26 482 | 61 791 | 88 273 | 88 273 | 61 791 |  |  |  |  |  |
| Kayanga-Geba | 12 459 | 29 828 | 91 341 | 244 774 | 9 134 | 36 536 | 45 670 | 45 670 | 36 536 | 45 670 | 45 670 | 45 670 | 244 774 | 244 774 |
| Totals | 227 942 | 278 698 | 880 256 | 1 674 693 | 207 471 | 531270 | 738 741 | 738 741 | 531270 | 141 515 | 141 515 | 141 515 | 1 674 693 | 1 674693 |
| Totals | 473 886 | 864 205 | 1 676028 | 4 188 698 | 286 899 | 848985 | 1 135 884 | 1 135 884 | 848985 | 540 144 | 540 144 | 540 144 | 4 188 698 | 4 188698 |

Table 2-27: Unit costs of construction/rehabilitation of sanitation and hygiene infrastructure in urban centres and rural areas

| Construction / rehabilitation of infrastructure in urban centres and rural areas | Unit costs (USD/capita) |
| --- | --- |
| Central zone |  |
| Conventional network (includes connections) | 350 |
| Simplified network | 70 |
| Interceptors and pumping stations | 40 |
| Wastewater treatment plant | 180 |
| Household sanitation facilities (*) | 46 |
| Peri-urban area |  |
| Plant and sludge management systems | 5 |
| Infiltration pits and wells | 10 |
| Flush toilet facilities with washbasin (1 per 15 inhabitants) (*) | 46 |
| Rural areas |  |
| Double pit and infiltration well | 17 |
| Flush toilet facilities with washbasin (1 per 15 inhabitants) (*) | 46 |

(*) Materials provided, and construction/rehabilitation carried out by the families.

#### Scenarios of change in Health

The scenarios to be envisaged for an improvement in the health situation in the OMVG regions must take into account the reference situation described above, the economic and political context of the various countries, but also their capacity to carry out reforms to maintain the positive achievements observed, such as the reduction in mortality and the control of the progression of AIDS, tuberculosis and malaria. The achievement of the SDGs requires the setting of intermediate targets to be reached with a dynamic monitoring system to measure the progress made. These intermediate targets must take into account the evolution of the population with a natural growth rate of 4%. The projections made for 2040 allow the definition of the targets set out in the table below:

Table 2-28 Baseline and intermediate targets

| Indicators | Senegal | The Gambia | Guinea | Guinea Bissau | Target 2025 | Target 2030 | Target 2040 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| DTP vaccination coverage (12-23 months) %. | 93 | 95 | 93,5 | 87 | 100% (Gambia) 98% (Senegal) 98% (Guinea) 95% (Guinea Bissau) | 100% (All countries) | 100% (All countries) |
| Child mortality rate per 1000 live births | 56 | 57 | 111 | 78,5 | 45 (Gambia) 45 (Senegal) 60 (Guinea) 45 (Guinea Bissau) | 30 (Gambia) 30 (Senegal) 50 (Guinea) 40 (Guinea Bissau) | 25 (Gambia) 25 (Senegal) 40 (Guinea) 30 (Guinea Bissau) |
| Prevalence rate of malnutrition among <5 years old %. | 18 | 19 | 31 | 28,1 | 15% (Gambia) 15% (Senegal) 25% (Guinea) 20% (Guinea Bissau) | 10% (Gambia) 10% (Senegal) 20% (Guinea) 15% (Guinea Bissau) | 0 (Gambia) 0 (Senegal) <5% (Guinea) 0 (Guinea Bissau) |
| Neonatal mortality rate per 1000 live births | 28 | 31 | 30,4 | 36,6 | 25 (Gambia) 20 (Senegal) 25 (Guinea) 25 (Guinea Bissau) | 20 (Gambia) 15 (Senegal) 20 (Guinea) 20 (Guinea Bissau) | 15 (Gambia) 10 (Senegal) 15 (Guinea) 15 (Guinea Bissau) |
| Completion rate prenatal consultation %. | 52,2 | 73 | 35,3 | 38 | 80% (Gambia) 65% (Senegal) 50% (Guinea) 50% (Guinea Bissau) | 90% (Gambia) 75% (Senegal) 70% (Guinea) 70% (Guinea Bissau) | 100% (Gambia) >90% (Senegal) >90% (Guinea) >90% (Guinea Bissau) |
| Rate of assisted deliveries %. | 62,4 | 54 | 87,5 | 37 | 80% (Gambia) 65% (Senegal) 50% (Guinea) 50% (Guinea Bissau) | 80% (Gambia) 65% (Senegal) 50% (Guinea) 50% (Guinea Bissau) | 80% (Gambia) 65% (Senegal) 50% (Guinea) 50% (Guinea Bissau) |
| Maternal mortality rate per 100,000 live births | 296 | 440 | 437 | 457 | 300 (Gambia) 200 (Senegal) 300 (Guinea) 300 (Guinea Bissau) | 200 (Gambia) 140 (Senegal) 200 (Guinea) 200 (Guinea Bissau) | 140 (Gambia) 90 (Senegal) 140 (Guinea) 140 (Guinea Bissau) |
| Fertility rate (Children per woman) | 5,3 | 4,7 | 4,8 | 4,5 | 3 (Gambia) 4 (Senegal) 3.5 (Guinea) 3 (Guinea Bissau) | 2.5 (Gambia) 3 (Senegal) 3 (Guinea) 2.5 (Guinea Bissau) | 2.5 (Gambia) 2.5(Senegal) 2.5 (Guinea) 2.5 (Guinea Bissau) |
| Malaria incidence rate per 1000 hbts | 21,9 | 25,3 | 21,9 | 123,3 | 20 (Gambia) 10 (Senegal) 15 (Guinea) 60 (Guinea Bissau) | 10 (Gambia) 5 (Senegal) 7.5 (Guinea) 30 (Guinea Bissau) | Elimination |
| Tuberculosis incidence rate per 100,000 hbts | 122 | 174 | 176 | 361 | 140 (Gambia) 80 (Senegal) 150 (Guinea) 160 (Guinea Bissau) | 70 (Gambia) 40 (Senegal) 75 (Guinea) 80 (Guinea Bissau) | 30 Gambia <5 Senegal 30 Guinea 40 Guinea Bissau |
| AIDS prevalence rate %. | 0,5 | 1,7 | 1,8 | 5 | <1 (Gambia) <0.2 (Senegal) <1 (Guinea) 2.5 (Guinea Bissau) | <5 (Gambia) <0.2 (Senegal) <1 (Guinea) 2 (Guinea Bissau) | Elimination |
| Trachoma prevalence rate %. | 5* | 0 | 3 | 19,5 | 0 (Gambia) 2.5 (Senegal) 1.5 (Guinea) 10 (Guinea Bissau) | Elimination | Elimination |

Achieving these targets will require addressing the challenges identified above, through the recruitment of qualified health workers, the construction of health structures at the peripheral level, the deconcentration of health services and greater involvement of the community level. The revitalisation and strengthening of the health information system will facilitate the monitoring of the performance of the health system and help in timely decision making. Certain aspects of governance also need to be updated, in particular decentralisation and deconcentration policies to reach the "last mile" and meet the needs of populations in the most remote areas.

The identified health workforce needs are set out in the table below, which will help to fill the health workforce gaps for adequate health care for the population based on WHO standards. It is clear that not everything can be done at once, but governments will need to plan for this in their future health development plans or integrate it, if possible, into existing plans at the mid-term performance review.

The recruitment of staff is also accompanied by the construction of new health structures (health posts) and the transformation of some posts into health centres.

With the increase in chronic diseases (diabetes, arterial hypertension, cancer, etc.) and the decrease in certain communicable diseases (malaria, AIDS), it will be necessary to anticipate the structure of morbidity by 2040 and create optimal conditions for the correct management of chronic diseases at the level of health posts. This will require the recruitment of doctors at health posts transformed into health centres and the setting up of functional laboratories capable of making a correct diagnosis of these diseases.

The lessons learnt from COVID-19 lead to better preparation of the medical regions in the face of such a threat, which is still latent. The establishment of health emergency operations centres at the decentralised level is an important issue in order to better train health personnel and to develop contingency plans for identified health risks specific to each region of the OMVG area.

Table 2-29: Health workforce gaps and intermediate targets to 2040

| Country | Health professionals per 10000 hbts (2020 population) | Population 2020 | Standards for 10,000 hbts | Gap | Target for 2025 | Targets for 2030 | Target for 2040 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Senegal | 5 | 1 750 937 | 23 | 3151 | 1000 | 1500 | 651 |
| Guinea | 6 | 1 084 366 | 23 | 2385 | 1000 | 1000 | 385 |
| Guinea Bissau | 6 | 525108 | 23 | 892 | 500 | 392 | N/A |
| The Gambia | 1 | 745 090 | 23 | 1266 | 500 | 500 | 266 |

### Evolution of water needs in the sector

SONES has provided population and consumption projections for the period 2021 to 2035 for the towns it manages, including those in the Gambia and Kayanga-Geba basins (see table below).

The water needs of the population of the cities managed by SONES were estimated for 2025, 2030 and 2040 based on the average values of the allocations resulting from the quotient between consumption and the total population of the cities in the Gambia River basin and the value of the allocation obtained for the city of Vélingara.

Table 2-30: Designation and location of cities managed by SONES, demographic and consumption projections in the OMVG basins (Source: SONES)

| Territorial Directorate | Region | Centres of the SONES leased perimeter | Population |  |  | Growth rate | Consumption [Mm3 /year] |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 2021 | 2030 | 2035 | Average (2021-2035) | 2021(*) | 2030(**) | 2035(**) |
| Gambia | Kaffrine | Koungheul | 28 026 | 38 897 | 46666 | 3,7% | 520 | 1340 | 1598 |
|  | Kaolack | Nioro du rip | 27 738 | 38 897 | 45964 | 3,7% | 501 | 1217 | 1449 |
|  | Tambacounda | Tambacounda | 150 227 | 219 378 | 270 741 | 4,3% | 2240 | 5934 | 7298 |
|  | Kédougou | Kédougou | 44 399 | 68 877 | 87 907 | 5,0% | 404 | 1652 | 2090 |
| Kayanga-Geba | Kolda | Vélingara | 44 457 | 63 488 | 77 386 | 4,0% | 335 | 1118 | 1438 |

(*) Invoice; (**) Estimate.

- The water needs of the urban and rural served population and the unserved population were estimated from the average unit allocations in the table below.

- For the cities managed by SONES, the unit consumptions provided by SONES were adopted. For the other cities, it was considered that in 2040, 50% of the population would have private connections with a unit consumption of 76 L/capita/day (as in the cities managed by SONES) and that the rest of the population (50%) would use standpipes with a unit consumption of 44 L/capita/day, i.e. an average unit consumption of 60 L/capita/day.

- For the population of the most populated villages, it was considered that 70% of the population would be served in 2040 by drinking water networks and standpipes close to households, with an average consumption of 44 L/capita/day; and that the rest of the population of the villages (30%) would be served by human-powered pumps with a unit consumption of 30 L/capita/day, i.e. an average consumption of 40 L/capita/day.

- Physical losses in water treatment, transport and distribution processes, which have been estimated at 15% of the volume of water abstracted, should be added to the water requirements shown in the table below, assuming the same percentage by 2040.

Table 2-31: Unit consumption of towns managed by SONES and other towns and villages in the OMVG basins

| Basin | Average unit supplies (L/day) |  |  |
| --- | --- | --- | --- |
|  | 2025 | 2030 | 2040 |
| Gambia (*) | 58 | 76 | 76 |
| Kayanga-Geba (*) | 45 | 50 | 60 |
| Served Urban | 45 | 50 | 60 |
| Served rural | 30 | 35 | 40 |
| Unserved | 20 | 20 | 20 |
| (*) Allocations for the population of the cities managed for SONES |  |  |  |

- Based on the data provided by SONES, GIS mapping was also prepared for the annual volumes of water abstracted and treated, and the installed capacity per borehole and per city for the year 2020, including shapefiles resulting from the conversion of CAD data from the networks for each of the 5 cities.

- The estimated drinking water needs in the OMVG area by 2025, 2030 and 2040 are shown below:

- Total drinking water requirements: 60 Mm3 , 85 Mm3 and 119 Mm3 , for 2025, 2030 and 2040 respectively;

- Total rural drinking water needs: 39.7 Mm3 , 54.8 Mm3  and 71.9 Mm3 , for 2025, 2030 and 2040 respectively;

- Total drinking water needs of urban centres: 20.1 Mm3, 29.7 Mm3 and 46.7 Mm3, for 2025, 2030 and 2040 respectively.

The figures below illustrate the evolution of the needs of the total, urban and rural population in the river basins and countries of the OMVG area by 2025, 2030 and 2040.

Figure 2-7: Evolution of the needs of the total urban and rural population in the river basins of the OMVG area by 2025, 2030 and 2040

Looking at the figures in the figure above, it can be seen that in 2040 the drinking water needs of the rural population are still higher than the needs of the urban population in the Gambia River basin (1.4 times higher) and the Koliba-Corubal River basin (3.3 times higher), while the needs are similar in the Kayanga-Geba basin. In the Koliba-Corubal basin, the importance of meeting the needs of the rural population is quite clear.

The figure below shows the distribution of drinking water needs for the urban and rural population in 2040 in each country. The relation between the drinking water needs of the rural and urban population are 1.30 for The Gambia, 4.85 for Guinea, 1.24 for Guinea Bissau and 1.10 for Senegal.

Figure 2-8 Needs of the urban and rural population in the countries of the OMVG area in 2040

Total rural:

72.0 Mm3

Total urban:

46.7 Mm3

The following tables present the projections of the total, urban and rural, urban served, rural and total unserved population and the respective drinking water needs in the 3 basins and countries of the OMVG area for the scenarios described above and for the horizons 2025, 2030 and 2040.

Table 2-32: Situation in 2025: Water needs of the urban and rural population, served and unserved in the OMVG countries and basins

| Country/ by basin | Population 2025 |  |  |  |  |  |  | Needs 2025 Mm3 /year |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Urban | Rural | Total | Served Urban | Served Rural | Served Total | Unserved Total | Urban utility unit allocation (L/day) | Served Rural unit allocation (L/day) | Served Total | Unserved Unit allocation (L/day) | Totals |
|  |  |  |  |  |  |  |  | 45 | 30 |  | 20 |  |
| Gambia | 215 261 | 597 971 | 813 232 | 178 911 | 520 469 | 699 380 | 113 853 | 3,46 | 6,70 | 10,16 | 0,83 | 11,0 |
| Guinea |  |  |  |  |  |  |  |  |  |  |  |  |
| Gambia | 43 254 | 447 843 | 491 097 | 39 288 | 333 946 | 373 234 | 117 863 | 0,76 | 4,30 | 5,06 | 0,86 | 5,92 |
| Kayanga-Geba | 860 | 4 083 | 4 943 | 860 | 4 083 | 4 943 |  | 0,02 | 0,05 | 0,07 | 0,00 | 0,07 |
| Koliba-Corubal | 63 605 | 647 392 | 710 997 | 56 880 | 483 478 | 540 357 | 170 639 | 1,10 | 6,23 | 7,33 | 1,25 | 8,57 |
| Totals | 107 718 | 1 099 319 | 1 207 037 | 97 027 | 821 507 | 918 535 | 288 502 | 1,87 | 10,6 | 12,5 | 2,11 | 14,6 |
| Guinea Bissau |  |  |  |  |  |  |  |  |  |  |  |  |
| Kayanga-Geba | 121 171 | 300 599 | 421 771 | 80 136 | 168 708 | 248 845 | 172 926 | 1,55 | 2,17 | 3,72 | 1,26 | 4,98 |
| Koliba-Corubal | 49 140 | 110 102 | 159 242 | 33 441 | 63 697 | 97 138 | 62 104 | 0,65 | 0,82 | 1,47 | 0,45 | 1,92 |
| Totals | 170 312 | 410 701 | 581 013 | 113 577 | 232 405 | 345 982 | 235 030 | 2,19 | 2,99 | 5,19 | 1,72 | 6,90 |
| Senegal |  |  |  |  |  |  |  | 58 |  |  |  |  |
| Gambia/SONES | 301 794 |  | 301 794 | 301 794 |  | 301 794 |  | 7,52 |  | 7,52 |  | 7,52 |
| Gambia | 121 745 | 1 209 448 | 1 331 193 | 121 745 | 816 493 | 938 238 | 392 954 | 2,35 | 10,5 | 12,9 | 2,87 | 15,7 |
| Kayanga/SONES | 52 915 |  | 52 915 | 52 915 |  | 52 915 |  | 1,02 |  | 1,0 |  | 1,0 |
| Kayanga-Geba | 55 662 | 207 033 | 262 695 | 41 768 | 113 620 | 155 388 | 107 308 | 0,81 | 1,46 | 2,3 | 0,78 | 3,05 |
| Totals | 532 116 | 1 416 481 | 1 948 597 | 518 222 | 930 113 | 1 448 335 | 500 262 | 11,70 | 11,98 | 23,68 | 3,65 | 27,3 |
| Totals | 1 025 407 | 3 524 472 | 4 549 879 | 897 137 | 2 504 494 | 3 412 232 | 1 137 647 | 19,2 | 32,3 | 51,5 | 8,30 | 59,8 |

Table 2-33: Situation in the year 2030: Water needs of the urban and rural population, served and unserved in the OMVG countries and basins

| Country/ by basin | Population 2030 |  |  |  |  |  |  | Needs 2030 Mm3 /year |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Urban | Rural | Total | Served Urban | Served Rural | Served Total | Unserved Total | Served Urban unit allocation (L/day) | Served Rural unit allocation (L/day) | Served Total | Unserved Unit allocation (L/day) | Total |
|  |  |  |  |  |  |  |  | 50 | 35 |  | 20 |  |
| Gambia | 256 050 | 626 178 | 882 227 | 256 050 | 626 178 | 882 227 | 0 | 5,50 | 9,41 | 14,9 | 0 | 14,9 |
| Guinea |  |  |  |  |  |  |  |  |  |  |  |  |
| Gambia | 52 147 | 487 698 | 539 846 | 52 147 | 487 698 | 539 846 | 0 | 1,12 | 7,33 | 8,45 | 0 | 8,45 |
| Kayanga-Geba | 1 037 | 4 447 | 5 484 | 1 037 | 4 447 | 5 484 | 0 | 0,02 | 0,07 | 0,09 | 0 | 0,09 |
| Koliba-Corubal | 76 682 | 705 005 | 781 688 | 76 682 | 705 005 | 781 688 | 0 | 1,65 | 10,60 | 12,24 | 0 | 12,24 |
| Totals | 129 867 | 1 197 150 | 1 327 017 | 129 867 | 1 197 150 | 1 327 017 | 0 | 2,79 | 18,0 | 20,8 | 0 | 20,8 |
| Guinea Bissau |  |  |  |  |  |  |  |  |  |  |  |  |
| Kayanga-Geba | 141 308 | 321 383 | 462 690 | 115 673 | 231 345 | 347 018 | 115 673 | 2,48 | 3,48 | 5,96 | 0,84 | 6,80 |
| Koliba-Corubal | 57 306 | 117 714 | 175 021 | 43 755 | 87 510 | 131 265 | 43 755 | 0,94 | 0,35 | 1,29 | 0,32 | 1,61 |
| Totals | 198 614 | 439 097 | 637 711 | 159 428 | 318 855 | 478 283 | 159 428 | 3,42 | 3,83 | 7,25 | 1,16 | 8,42 |
| Senegal |  |  |  |  |  |  |  | 76 |  |  |  |  |
| Gambia/SONES | 366 049 |  | 366 049 | 366 049 |  | 366 049 | 0 | 11,9 |  | 11,9 | 0 | 11,95 |
| Gambia | 137 867 | 1 294 067 | 1 431 934 | 137 867 | 1 294 067 | 1 431 934 | 0 | 3,0 | 19,4 | 22,4 | 0 | 22,41 |
| Kayanga/SONES | 63 488 |  | 63 488 | 63 488 |  | 63 488 | 0 | 1,4 |  | 1,4 | 0 | 1,36 |
| Kayanga-Geba | 65 694 | 221 519 | 287 213 | 65 694 | 221 519 | 287 213 | 0 | 1,41 | 3,33 | 4,7 | 0 | 4,74 |
| Totals | 633 098 | 1 515 585 | 2 148 683 | 633 098 | 1 515 585 | 2 148 683 | 0 | 17,7 | 22,8 | 40,5 | 0 | 40,5 |
| Total | 1 217 628 | 3 778 010 | 4 995 639 | 1 178 442 | 3 657 769 | 4 836 211 | 159 428 | 29,4 | 54,0 | 83,4 | 1,2 | 84,6 |

Table 2-34: Situation in the year 2040: Water needs of the urban and rural population, served and unserved in the OMVG countries and basins

| Country/ by basin | Population 2040 |  |  |  |  |  |  | Needs 2040 Mm3 /year |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Urban | Rural | Total | Served Urban | Served Rural | Served Total | Unserved Total | Served Urban unit allocation (L/day) | Served Rural unit allocation (L/day) | Served Total | Unserved Unit allocation (L/day) | Totals |
|  |  |  |  |  |  |  |  | 60 | 40 |  | 20 |  |
| Gambia | 345 997 | 672 561 | 1 018 558 | 345 997 | 672 561 | 1 018 558 | 0 | 8,91 | 11,55 | 20,47 | 0 | 20,5 |
| Guinea |  |  |  |  |  |  |  |  |  |  |  |  |
| Gambia | 74 714 | 550 977 | 625 691 | 74 714 | 550 977 | 625 691 | 0 | 1,92 | 9,46 | 11,4 | 0 | 11,39 |
| Kayanga-Geba | 1 485 | 5 024 | 6 509 | 1 485 | 5 024 | 6 509 | 0 | 0,04 | 0,09 | 0,12 | 0 | 0,12 |
| Koliba-Corubal | 109 867 | 796 480 | 906 347 | 109 867 | 796 480 | 906 347 | 0 | 2,83 | 13,68 | 16,5 | 0 | 16,51 |
| Totals | 186 066 | 1 352 481 | 1 538 547 | 186 066 | 1 352 481 | 1 538 547 | 0 | 4,79 | 23,2 | 28,0 | 0 | 28,0 |
| Guinea Bissau |  |  |  |  |  |  |  |  |  |  |  |  |
| Kayanga-Geba | 187 620 | 357 880 | 545 501 | 187 620 | 357 880 | 545 501 | 0 | 4,83 | 6,15 | 11,0 | 0 | 10,98 |
| Koliba-Corubal | 76 088 | 131 083 | 207 171 | 76 088 | 131 083 | 207 171 | 0 | 1,96 | 2,25 | 4,21 | 0 | 4,21 |
| Totals | 263 709 | 488 963 | 752 671 | 263 709 | 488 963 | 752 671 | 0 | 6,79 | 8,40 | 15,2 | 0 | 15,2 |
| Senegal |  |  |  |  |  |  |  | 76 |  |  |  |  |
| Gambia/SONES | 508 953 |  | 508 953 | 508 953 |  | 508 953 |  | 16,6 |  | 16,6 | 0 | 16,6 |
| Gambia | 191 690 | 1 429 919 | 1 621 609 | 191 690 | 1 429 919 | 1 621 609 | 0 | 4,9 | 24,6 | 29,5 | 0 | 29,5 |
| Kayanga/SONES | 88 273 |  | 88 273 | 88 273 |  | 88 273 |  | 2,3 |  | 2,3 | 0 | 2,3 |
| Kayanga-Geba | 91 341 | 244 774 | 336 114 | 91 341 | 244 774 | 336 114 | 0 | 2,35 | 4,20 | 6,56 | 0 | 6,6 |
| Totals | 880 256 | 1 674 693 | 2 554 949 | 880 256 | 1 674 693 | 2 554 949 | 0 | 26,2 | 28,8 | 54,9 | 0 | 54,9 |
| Totals | 1 676 028 | 4 188 698 | 5 864 726 | 1 676 028 | 4 188 698 | 5 864 726 | 0 | 46,7 | 71,9 | 118,6 | 0 | 118,6 |

# Vision and strategic directions

## Vision to 2040

The 4 OMVG Member States are among the 193 countries of the United Nations General Assembly that, in 25 September 2015, adopted the 2030 Agenda for Sustainable Development. The specific goals for the drinking water supply, sanitation and health sector are SDG3 - Empower people to live healthy lives and promote well-being at all ages, and SDG6 - Ensure access to water and sanitation for all and ensure sustainable management of water resources.

The Member States are well aware of the importance of social, economic and environmental development to improve the living conditions of the populations in the OMVG basins.

Thus, the proposed Vision for the sector is as follows:

A sustainable supply of drinking water and improved sanitation services for all inhabitants of the three basins by 2040.

Equal access for all to quality health care and services in a resilient health system by 2040 in the OMVG area.

## Proposed strategic AXES

The strategic objectives are closely linked to the main issues of the sector and are developed in the light of the proposed vision.

Strategic Axis 1: Ensure equitable and sustainable access to affordable drinking water for all:

- Ensure access to safe water, in quantity, at home or near households and at an affordable cost for all urban and rural populations in the 3 OMVG basins;

- Ensure water quality by treating it in accordance with the microbiological and physico-chemical quality limits of the countries' legislation and WHO guidelines/recommendations;

- Ensure the establishment of a database for drinking water supply infrastructures in the OMVG area;

- Ensuring governance of the sector in the context of existing and emerging challenges;

- Ensure high quality and sustainable drinking water services with management, operation and maintenance by qualified professionals, and a monitoring system by the delegating entities for the technical and financial evaluation of their performance.

Strategic Axis 2: Ensure equitable and sustainable access to adequate sanitation and hygiene services for all and end open defecation:

- Ensure the elimination of open defecation;

- Ensure equitable access to sanitation and hygiene services for all, with particular attention to the needs of women and girls and people in vulnerable situations;

- Ensure that all households have access to handwashing facilities with soap and water;

- Ensure governance of the sector in the context of existing and emerging challenges;

- Ensure quality and sustainability of sanitation and hygiene services with management, operation and maintenance by qualified professionals, and a monitoring system by the delegating entities for technical and financial evaluation of their performance.

Strategic Axis 3: Ensure equitable access to quality health care and services for all and strengthen the prevention and management of communicable and non-communicable diseases:

- Ensure territorial equity in access to quality health care and services;

- Ensure the strengthening of prevention and management of communicable and non-communicable diseases;

- Ensure adequate health system preparedness for potential health threats.

# Intervention strategy - expected results and actions to be undertaken

## Logical framework for sector intervention up to 2040

To achieve the strategic objectives of the sub-sector, interventions will be implemented through three strategic axes. The following table recaps the strategic axes and provisions of Chapter 3, and lists the measures that will be detailed in the following sections.

Table 4-1 Logical framework for intervention in the drinking water supply, sanitation and health sector up to 2040

| Strategic areas | Provisions | Measures |
| --- | --- | --- |
| 1. Ensure equitable and sustainable access to affordable drinking water for all | 1.1 Ensure access to adequate drinking water services in urban areas, in quantity, at home or nearby, for the urban and rural population of the three OMVG basins | 1.1.1 Construction / rehabilitation / strengthening and monitoring of catchment, supply, treatment and storage works and drinking water networks and connections for urban centres |
|  |  | 1.1.2 Construction / rehabilitation / strengthening and monitoring of the execution of drinking water infrastructure (borehole, solar pump/electrical network, chlorination and iron removal station, water tower, networks and individual connections and standpipes), for 70% of the village population |
|  |  | 1.1.3 Construction/rehabilitation and monitoring of BHPP implementation works for 30% of the village population. Existing boreholes are rehabilitated and strengthen drinking water points or can provide an alternative water source for livestock and agriculture. |
|  |  | 1.1.4 Conduct studies, projects and tender documents for the planning, design and detailing of solutions for the implementation of drinking water supply infrastructure in urban centres. |
|  |  | 1.1.5 Conduct studies, projects and tender documents for the planning, design and detailing of solutions for the implementation of drinking water supply infrastructure in the villages. |
|  | 1.2 Ensure the implementation of a geographic information system for drinking water supply infrastructures in the OMVG area | 1.2.1 Development of a database of drinking water supply infrastructures in each of the OMVG river basins in liaison with the water resources agencies and the supervisory ministries of the four Member States |
|  | 1.3 Ensure sector governance in the context of existing and emerging challenges | 1.3.1 Capacity building of institutions responsible for the drinking water sub-sector in each of the Member States and in the OMVG |
|  |  | 1.3.2 Training of managers of institutions responsible for the drinking water sub-sector in each of the Member States and in the OMVG |
|  | 1.4 Ensure access to a sustainable, quality drinking water service | 1.4.1 Training of the private sector in each country for the management, operation and maintenance of drinking water systems and BHPP |
|  |  | 1.4.2 Establishment/strengthening of systems for monitoring, control and technical and financial evaluation of management performance, operation and maintenance of drinking water networks and BHPP in rural areas |
| 2. Ensure equitable and sustainable access to adequate sanitation and hygiene for all and end open defecation | 2.1 Ensure access to adequate sanitation and hygiene services for the urban and rural population in the OMVG area | 2.1.1 Construction/rehabilitation and monitoring of sanitation and hygiene infrastructure implementation, off-site in and around the city centre, and on-site in the peri-urban areas of cities for the population of urban centres |
|  |  | 2.1.2 Construction/rehabilitation and monitoring of on-site sanitation and hygiene infrastructure for the rural population |
|  |  | 2.1.3 Conduct studies, projects and tender documents for the planning, design and detailing of solutions for the implementation of sanitation and hygiene infrastructure in urban centres |
|  |  | 2.1.4 Conduct studies, projects and tender documents for the planning, design and detailing of solutions for the implementation of sanitation and hygiene infrastructure in rural areas |
|  | 2.2 End OD and raise awareness of good sanitation and hygiene practices in communities | 2.2.1 Mobilise and raise awareness of the population to end OD |
|  | 2.3 Ensure sector governance in the context of existing and emerging challenges | 2.3.1 Capacity building of institutions responsible for the sanitation and hygiene sub-sector in each of the Member States and in the OMVG |
|  |  | 2.3.2 Training of managers of institutions responsible for the sanitation and hygiene sub-sector in each of the Member States and in the OMVG |
|  | 2.4 Ensure access to sustainable and good quality sanitation and hygiene services in the OMVG area | 2.4.1 Training of the private sector in each country for the management, maintenance and operation of sanitation infrastructure in urban centres |
|  |  | 2.4.2 Establishment/strengthening of a system for monitoring, control and technical and financial evaluation of the management, operation and maintenance performance of the sanitation service in urban centres |
| 3. Ensure equitable access for all to quality health care and services and strengthen the prevention and management of communicable and non-communicable diseases | 3.1 Ensure the availability of functional health structures with well-trained staff and sufficient quantity and quality of medicines for the effective care of all parts of the population | 3.1.1 Construction and equipment of 30 new health posts, 10 health centres and 3 referral hospitals |
|  |  | 3.1.2 Annual recruitment of adequate health personnel (doctors, midwives, nurses, laboratory assistants, pharmacists) |
|  |  | 3.1.3 Establish a system for the supply of quality medicines and avoiding shortages of essential medicines in all health facilities |
|  |  | 3.1.4 Strengthen community-based health initiatives |
|  | 3. 2 Ensure adequate financing of the health sector with the mobilisation of endogenous and external resources | 3.2.1 Increase health expenditure to 15% of the national budget in line with the commitments made by the States |
|  |  | 3.2.2 Stimulate national initiatives for the mobilisation of endogenous resources (corporate social responsibility) |
|  |  | 3.2.3 Advocacy for greater mobilisation of international financial resources |
|  | 3.3 Ensure the establishment of an efficient information system with dynamic collection of reliable health information | 3.3.1 Strengthen the quality of health data with a DHIS2-based monitoring system |
|  |  | 3.3.2 Develop the skills of health workers through training in the collection, storage and maintenance of reliable and relevant health databases |
|  | 3.4 Ensure access to health information, disease prevention and effective care | 3.4.1 Update and popularise guidelines for the management of diseases under surveillance |
|  |  | 3.4.2 Improve access to treatment for good patient care |
|  |  | 3.4.3 Improve access to means of prevention against communicable diseases (pandemics) |
|  |  | 3.4.4 Maternal and child health promotion |
|  | 3.5 Ensure an effective epidemiological surveillance system for early detection of epidemiological threats and a rapid and adequate response | 3.5.1 Update and ensure implementation of disease surveillance guidelines |
|  |  | 3.5.2 Strengthen sentinel sites for epidemiological surveillance in the OMVG area |
|  | 3.6 Ensure the establishment of equipped health structures responsible for emergency health operations at the decentralised level | 3.6.1 Establishment of health emergency operations centres in peripheral regions for better disaster and pandemic preparedness |
|  |  | 3.6.2 Establish cross-border surveillance of epidemics |

## Strategic Axis 1 - Ensure equitable, sustainable and affordable access to safe drinking water for all

### Provision 1.1 - Access to an adequate supply of drinking water in urban areas, in quantity, at home or nearby, for the urban and rural population of the three OMVG basins

General principle

A drinking water service in quantity, accessible to the entire urban and rural population, implies that the capacities of production, transport, treatment, storage (water towers) and of the drinking water networks in the urban centres and in the more populated villages are strongly increased. To this end, it is planned to build new drinking water distribution systems and to rehabilitate and strengthen existing drinking water systems/networks.

The less populated villages are served by boreholes with human powered pumps (HPP). The new HPP/MWPs will serve the currently unserved population of small villages and the existing rehabilitated HPP/MWPs will be integrated into the village water supply.

Expected results

To considerably improve the situation regarding the supply of drinking water to the population of the OMVG area. The objective is therefore to improve access, quantity and quality of water consumed compared to the current situation, by setting up new infrastructures and rehabilitating and strengthening existing ones.

The results of the diagnosis for the supply of drinking water in the 3 OMVG basins showed that the percentage of the total population served by a basic service is 62% in all 3 OMVG basins; 68% in the Gambia basin, 40% in the Kayanga-Geba basin and 57% in the Koliba-Corubal basin.

Area of intervention

Interventions are carried out in urban centres and villages, on tracks for the implementation of water conveyances and transfers, and on selected sites for the construction of water intakes, treatment plants, reservoirs and water towers and pumping stations.

Measure 1.1.1 - Construction / rehabilitation / strengthening and monitoring of the implementation works of the water supply, treatment, storage and drinking water networks and connections in the urban centres

| Measure 1.1.1 | Construction / rehabilitation / strengthening and monitoring of the execution of water supply systems, treatment, storage and drinking water networks and connections in urban centres |
| --- | --- |
| Origin (institution / project / programme) | Target 6.1 of the 2030 Agenda's SDG6 is the reference for the development of this measure |
| Objective | To improve the drinking water service for urban centres in the OMVG area through the construction of new drinking water infrastructures and the rehabilitation / strengthening of existing infrastructures |
| Location | Urban centres in the OMVG area |
| Description of the action | - Construction/rehabilitation/strengthening and monitoring of localized works: water catchment, treatment plants, pumping stations and reservoirs and water towers - Construction/rehabilitation and monitoring of linear works: water transfers, conveyances and drinking water networks, including individual connections and standpipes |
| Ownership and implementation arrangements | Gambia: NAWEC; Guinea: SEG; Guinea Bissau: DGRH; Senegal: SONES |
| Duration | 18 years (2023 to 2040) |
| Costs | Total estimated cost of USD 513.6 million - Gambia: USD 102.7 million - Guinea: USD 56.1 million - Guinea Bissau: USD 78.9 million - Senegal: USD 275.9 million - Cities managed by SONES: USD 184.2 million - Other cities: USD 91.7 million. |
| Financing | To be identified |
| Risks envisaged | Adequate funding for the implementation of the measure |
| Expected results | Considerable improvement in the availability of and access to drinking water supply services for the entire population of urban centres in the OMVG area compared to the current situation. |

Measure 1.1.2 - Construction / rehabilitation / strengthening and monitoring of the execution of drinking water infrastructures for 70% of the village population

| Measure 1.1.2 | Construction / rehabilitation / strengthening and monitoring of the execution of drinking water infrastructure (borehole, solar pump / electrical network, chlorination station, water tower, network and standpipe connections), for 70% of the village population |
| --- | --- |
| Origin (institution / project / programme) | Target 6.1 of the 2030 Agenda's SDG6 is the reference for the development of this measure |
| Objective | To improve the availability of and access to drinking water supply services for the most populated villages in the OMVG area through the construction of new drinking water infrastructures and networks and the rehabilitation / strengthening of existing infrastructures and networks |
| Location | Most populated villages with 400 or more inhabitants (2020) in the OMVG area |
| Description of the action | - Construction / rehabilitation / strengthening and monitoring of localized works: water catchment, chlorination and iron removal plants and water towers, - Construction/rehabilitation/strengthening and monitoring of linear works: water supply and drinking water networks, including individual connections and standpipes |
| Ownership and implementation arrangements | Gambia: DWR; Guinea: SNAPE; Guinea Bissau: DGRH; Senegal: OFOR |
| Duration | 18 years (2023 to 2040) |
| Costs and funding | Total estimated cost of USD 799.2 million - Gambia: USD 139.9 million - Guinea: USD 253.8 million - Guinea Bissau: USD 92.8 million - Senegal: USD 312.7 million |
| Financing | To be identified |
| Risks envisaged | Adequate funding for the implementation of the measure |
| Expected results | Considerable improvement in the availability of and access to drinking water services for the entire population of the most populated villages in the OMVG areas compared to the current situation |

Measure 1.1.3 - Construction/rehabilitation and monitoring of BHPP implementation works for 30% of the village population

| Measure 1.1.3 | Construction/rehabilitation and monitoring of BHPP implementation works for 30% of the village population. Existing boreholes are rehabilitated and strengthen drinking water points or can provide an alternative water source for livestock and agriculture. |
| --- | --- |
| Origin (institution / project / programme) | Target 6.1 of the 2030 Agenda's SDG6 is the reference for the development of this measure |
| Objective | Improve and serve the currently unserved populations in the least populated villages of the OMVG area through the construction and rehabilitation of BHPPs |
| Location | Small villages with less than 400 inhabitants (2020) in the OMVG area |
| Description of the action | - Construction/rehabilitation and monitoring of BHPPs. Existing boreholes are rehabilitated and strengthen village drinking water points or can provide an alternative water source for livestock and agriculture |
| Ownership and implementation arrangements | Gambia: DWR; Guinea: SNAPE; Guinea Bissau: DGRH; Senegal: OFOR |
| Duration | 18 years (2023 to 2040) |
| Costs | Total estimated cost of USD 282.4 million - Gambia: USD 40.2 million - Guinea: USD 93.0 million - Guinea Bissau: USD 32.4 million - Senegal: USD 116.8 million |
| Financing | To be identified |
| Risks envisaged | Adequate funding for the implementation of the measure |
| Expected results | Considerable improvement of drinking water services in terms of access, availability and quality of water consumed compared to the current situation |

Measure 1.1.4 - Conduct studies, projects and tender documents for the planning, design and detailing of solutions for the implementation of drinking water supply infrastructures in urban centres

| Measure 1.1.4 | Conduct studies, projects and tender documents for the planning, design and detailing of solutions for the implementation of drinking water supply infrastructure in urban centres |
| --- | --- |
| Origin (institution / project / programme) | Target 6.1 of the 2030 Agenda's SDG6 is the reference for the development of this measure |
| Objective | Planning and detailing optimal solutions, and carrying out tender documents for the construction/rehabilitation/strengthening of drinking water infrastructure, including surveys and campaigns to collect relevant data and raise awareness of the population in urban centres for infrastructure construction |
| Location | In the urban centres of the OMVG area |
| Description of the action | - Baseline studies, including campaigns and surveys - Technical and economic feasibility studies and social and environmental impact assessments - Preliminary design study of the selected variants - Detailed design study - Tender documents - Land and property survey |
| Ownership and implementation arrangements | Gambia: NAWEC; Guinea: SEG; Guinea Bissau: DGRH; Senegal: SONES |
| Duration | 3 years (2023 to 2025) |
| Costs | Total estimated cost USD 17.1 million - Gambia: USD 3.4 million - Guinea: USD 1.9 million - Guinea Bissau: USD 2.6 million - Senegal: USD 9.2 million - Cities managed by SONES: USD 6.1 million - Other cities: USD 3.1 million |
| Financing | SONES and remaining funding to be identified |
| Risks envisaged | Adequate funding for the implementation of the measure |
| Expected results | Availability of all studies, projects and tender documents for the tendering and execution of drinking water infrastructure in urban centres |

Measure 1.1.5 - Conduct studies, projects and tender documents for the planning, design and detailing of solutions for the implementation of drinking water supply infrastructures in the villages

| Measure 1.1.5 | Conduct studies, projects and tender documents for the planning, design and detailing of solutions for the implementation of drinking water supply infrastructure in the villages |
| --- | --- |
| Origin (institution / project / programme) | Target 6.1 of the 2030 Agenda's SDG6 is the reference for the development of this measure |
| Objective | Plan and detail optimal solutions and carry out tender documents for the construction/rehabilitation/strengthening of drinking water infrastructure, including surveys and campaigns to collect relevant data and sensitise the village population for the construction of the infrastructure |
| Location | In the villages of the OMVG area |
| Description of the action | - Baseline studies, including campaigns and surveys - Technical and economic feasibility studies and social and environmental impact assessments - Preliminary design study of the selected variants - Detailed design study - Tender documents - Land and property survey |
| Ownership and implementation arrangements | Gambia: DWR; Guinea: SNAPE; Guinea Bissau: DGRH; Senegal: OFOR |
| Duration | 3 years (2023 to 2025) |
| Costs | Total estimated cost of USD 36.2 million - Gambia: USD 6.0 million - Guinea: USD 11.6 million - Guinea Bissau: USD 4.2 million - Senegal: USD 14.4 million |
| Financing | To be identified |
| Risks envisaged | Adequate funding for the implementation of the measure |
| Expected results | Availability of all studies, projects and tender documents for the tendering and implementation of rural water infrastructure |

### Provision 1.2 - Establishment of a geographic information system for drinking water supply infrastructures in the OMVG area

General principle

An accurate, comprehensive and spatial database for mapping drinking water supply infrastructure is essential for both institutional decision-makers at central and local levels, for infrastructure planning as well as for catchment managers. Information on water supply is collected by various institutions in the Member States. However, the data may not be readily available for use, and valuable priority data sets are also missing. This measure aims to fill these information gaps and create a relational database to record information on infrastructure, facilities and developments in the OMVG area.

Expected results

Improved storage, management and retrieval of information on drinking water infrastructure in urban centres and villages in the three OMVG basins.

Area of intervention

In the OMVG area.

Measure 1.2.1 - Development of a database of drinking water supply infrastructures in the three OMVG basins in liaison with the water resources agencies and the supervisory ministries of the four Member States

| Measure 1.2.1 | Development of a database of drinking water supply infrastructures in the three OMVG basins in liaison with the water resources agencies and the supervisory ministries of the four Member States |
| --- | --- |
| Origin (institution / project / programme) | OMVG |
| Objective | Improving the storage, management and retrieval of information on drinking water infrastructure in urban centres and villages in the three OMVG basins |
| Location | The whole of the OMVG area |
| Description of the action | - Collection and processing of information and insertion in the database and processing of geographical information |
| Ownership and implementation arrangements | OMVG |
| Duration | 2 years (2023 and 2024) |
| Costs | Total estimated cost of USD 2.5 million |
| Financing | To be identified |
| Risks envisaged | Adequate funding for the implementation of the measure |
| Expected results | Availability of a database of village and urban water infrastructures in each of the OMVG basins |

### Provision 1.3 - Sector governance in the context of existing and emerging challenges

General principle

The implementation of all the measures foreseen in this action plan over the next 18 years (2023-2040) in the OMVG area will require effective institutional, technical and financial coordination between OMVG, the ministries and institutions of the Member States and donors, as well as project management at regional level, in liaison with regional authorities and local communities in the three shared basins. It will be necessary to build the capacity of the institutions responsible for drinking water supply in each of the Member States, and to promote the training of their legal, technical and financial frameworks.

The OMVG and all institutions related to the drinking water sector should be empowered to intervene in the studies and projects foreseen in this strategic axis and ensure their effective coordination until 2040.

Expected results

Effective institutional, technical and financial coordination between all institutions and technical and financial partners, in order to have an increased capacity to implement the measures foreseen in the action plan of this very demanding strategic axis, especially for the period between 2022 and 2030.

Area of intervention

In the OMVG area.

Measure 1.3.1 - Capacity building of institutions responsible for the drinking water sector in each of the Member States and in the OMVG

| Measure 1.3.1 | Capacity building of the institutions responsible for the drinking water sector in each of the member states and in the OMVG |
| --- | --- |
| Origin (institution / project / programme) | Requested at the PDDI Phase 2 national workshops |
| Objective | Effective institutional, technical and financial coordination between all the institutions of the drinking water sub-sector and the technical and financial partners, to implement the measures foreseen in this action plan |
| Location | The OMVG area |
| Description of the action | - Capacity building of the institutions of the Member States and the OMVG in the legal, technical and financial aspects for the implementation of the measures of the action plan |
| Ownership and implementation arrangements | OMVG and the institutions responsible for the drinking water supply sector in the Member States |
| Duration | 18 years (2023 and 2040) |
| Costs and funding | Cost and funding to be identified |
| Risks envisaged | Adequate funding for the implementation of the measure |
| Expected results | Increased capacity of the institutions of the Member States and the OMVG to ensure the implementation of the measures foreseen in this action plan |

Measure 1.3.2 - Training of managers of institutions responsible for the drinking water sector in each of the Member States and in the OMVG

| Measure 1.3.2 | Training of managers of institutions responsible for the drinking water sector in each of the member states and in the OMVG |
| --- | --- |
| Origin (institution / project / programme) | Requested at the PDDI Phase 2 national workshops |
| Objective | To have the managers of the institutions trained to manage the legal, technical and financial aspects of implementing the measures in this action plan |
| Location | The whole of the OMVG area |
| Description of the action | - Training of institutional and OMVG managers on the legal, technical and financial aspects of implementing the measures |
| Ownership and implementation arrangements | OMVG and the institutions responsible for the water supply sector in the Member States |
| Duration | 5 years (2023 and 2027) |
| Costs and funding | Cost and funding to be identified |
| Risks envisaged | Adequate funding for the implementation of the measure |
| Expected results | Improving the training of managers of the institutions of the Member States and of the OMVG to ensure the implementation of the measures provided for in this action plan |

### Provision 1.4 - Access to a sustainable drinking water service of good quality

General principle

To ensure a sustainable, high quality drinking water service, management, operation and maintenance must be carried out by qualified professionals and the operator must have a system for monitoring and evaluating the technical and financial performance of management, operation and maintenance.

As is already the case in the countries of the OMVG basins, the management, operation and maintenance of the urban water utility is carried out by qualified operators. Extending this type of service provision to rural areas will improve the efficiency and performance of the drinking water service in rural areas, and reduce disparities in service quality between urban and rural areas.

In the absence of good management, operation and maintenance of drinking water infrastructure, as well as without evaluation of their performance by the competent entities in rural areas, equipment failures are not resolved and the population has to resort to unimproved water sources traditionally used in the villages.

In order to ensure the management, operation and sustainability of facilities, it is absolutely necessary that users pay for the water they consume. The principle of cost recovery aims to ensure that water users bear as much as possible of the costs of their use of water services. As a minimum, users should cover the recurrent costs of operation and maintenance.

Expected results

To significantly improve the sustainability and quality of drinking water services provided to the population in rural areas of the OMVG area by delegating the management of the public drinking water service to qualified contracted operators, and by ensuring the monitoring, control and evaluation of this management, operation and maintenance.

Area of intervention

In rural areas of the OMVG area.

Measure 1.4.1 - Training of the private sector in each country for the management, operation and maintenance of drinking water networks and village BHPP

| Measure 1.4.1 | Training of the private sector in each country for the management, maintenance and operation of village drinking water systems and BHPPs |
| --- | --- |
| Origin (institution / project / programme) | Target 6.1 of the 2030 Agenda's SDG6 is the reference for the development of this measure |
| Objective | Significantly improve the quality and sustainability of drinking water supply services in the OMVG area |
| Location | The whole OMVG area |
| Description of the action | - Training, capacity building of 500 operators for the management, operation and maintenance of drinking water services in rural areas, rehabilitation techniques and maintenance of water networks and boreholes, management and operation of treatment and pumping stations |
| Ownership and implementation arrangements | Gambia: DWR; Guinea: SNAPE; Guinea Bissau: DGRH; Senegal: OFOR NGOs |
| Duration | 2 years |
| Costs | Total estimated cost of USD 2 million |
| Financing | To be identified |
| Risks envisaged | Adequate funding for the implementation of the measure |
| Expected results | Professionals for the management, operation and maintenance of village water supply services |

Measure 1.4.2 - Establishment/strengthening of systems for monitoring, control and technical and financial evaluation of the management, operation and maintenance performances of drinking water networks and BHPP in rural areas

| Measure 1.4.2 | Establishment/strengthening of systems for monitoring, control and technical and financial evaluation of management performance, operation and maintenance of drinking water networks and BHPP in rural areas |
| --- | --- |
| Origin (institution / project / programme) | Target 6.1 of the 2030 Agenda's SDG6 is the reference for the development of this measure |
| Objective | Improving the quality and sustainability of drinking water supply services in rural areas of the OMVG area |
| Location | OMVG area |
| Description of the action | Establishment/strengthening of a system for monitoring, controlling and evaluating the performance of drinking water services in rural areas |
| Ownership and implementation arrangements | Gambia: DWR; Guinea: SNAPE; Guinea Bissau: DGRH; Senegal: OFOR |
| Duration | 3 years (2023 to 2025) |
| Costs | Total estimated cost of USD 3 million |
| Financing | To be identified |
| Risks envisaged | Adequate funding for the implementation of the measure |
| Expected results | Improvement of drinking water supply services, in terms of sustainability and quality of service provided to the population of the villages |

### Means for implementing the actions and measures for the strategic axis 1

In order to achieve the expected results of the different provisions and measures indicated for strategic axis 1, legal, financial and technical frameworks will have to be put in place in the OMVG over the next 18 years (2023-2040).

OMVG will require strong legal and financial project management capacity, in liaison with member state ministries and donors, as well as institutional and financial project management at the regional level, in liaison with regional authorities and local communities in the three shared basins.

Still within the OMVG, it is important to create a technical project management unit for the drinking water supply sub-sector (a secretariat + two public works engineers + a project management officer) to ensure the technical monitoring of projects and support to donors and institutions in the member states.

Given the high level of investment in the drinking water sub-sector, it will be necessary to identify and examine the different sources of finance that can be mobilised, such as:

- Revenue from water user charges;

- Member States' public funds from taxes;

- Transfers from donors and international solidarity organisations;

- Financing of investments through medium or long-term debt with credit institutions or on the capital market;

- Use of innovative financing strategies by creating the necessary environment for effective private sector participation. For example, public-private partnership (PPP).

## Strategic Axis 2 - Ensure equitable and sustainable access to adequate sanitation and hygiene services for all and end open defecation

### Provision 2.1 - Access to adequate sanitation and hygiene services for the urban and rural population in the OMVG area

For urban centres, in and around the city centre, with a higher population density and where water is available at home or will be in the near future, with the consequent increase in the volume of wastewater produced, the sanitation solution proposed until 2040 is the conventional solution, i.e. a reticulated/simplified network with special connections to houses or buildings. The construction/rehabilitation of flush toilets with washbasins is also proposed in the areas around the city centre. The wastewater generated in these areas of the urban centres is conveyed by interceptors/pump stations to the treatment plant.

This conventional solution is planned for the entire population of the cities managed by SONES, as it is expected that the entire population will be supplied with drinking water through private connections by 2040. For the other towns in the OMVG area, it has been assumed that only half of the population will have a domestic water supply, and for this population the conventional solution is considered.

The reuse of wastewater after treatment could be considered for various non-domestic uses, the most appropriate being the irrigation of agricultural land and green areas close to the respective urban centres and groundwater recharge.

On-site sanitation solutions that include small flush toilets with sinks near houses, at a rate of one toilet per 15 inhabitants, and sludge pits and greywater infiltration wells are suitable for peri-urban areas of cities with more anarchic construction and where drinking water is provided by standpipes. Sludge is emptied from the pits by operators using hand pumps or electromechanical pumps mounted on appropriate vehicles that transport it to transfer stations. The sludge from the transfer stations is transported by truck for treatment.

In rural areas where little water is used, the general solution envisaged to meet rural sanitation needs is the construction of small flush toilets with washbasins, at a rate of one toilet per 15 inhabitants, and double sludge pits and infiltration wells for the grey water from the washbasin.

After treatment, the sludge will be used for agronomic purposes as a fertiliser for agricultural land and green spaces. However, in order to protect against potential health risks from residual pathogens, the sludge should not be applied to soils where fruit and vegetable crops are growing, and livestock should not have access to pasture or forage land for less than three weeks after sludge application.

Drainage and treatment variants such as wastewater and sludge treatment schemes, the possible use of individual or collective septic tanks, or the consideration of different types of toilets, will be identified and dimensioned in the variant studies in a way that takes into account the specific aspects of each town or village (availability of drinking water at home, availability of electricity, groundwater level, soil type, topography, groundwater catchment,...)

No information has been received on the need to strengthen stormwater drainage, especially in cities. When carrying out the feasibility studies, it will be necessary to integrate the stormwater drainage component, mainly for urban centres.

Expected results

To considerably improve the sanitation and hygiene situation of the population of the OMVG area compared to the current situation by the installation of new infrastructure and the rehabilitation of existing infrastructure, as well as the drainage of rainwater, mainly in urban centres.

The results of the diagnostic for sanitation in the 3 OMVG basins showed that the percentage of the total population served by a basic/limited service is 32% in all 3 OMVG basins, i.e. 35% in the Gambia basin, 13% in the Kayanga-Geba basin and 37% in the Koliba-Corubal basin.

Area of intervention

Interventions are carried out in urban centres and villages, and on sites selected for the construction of interceptors/pump stations and wastewater and sludge treatment plants around urban centres.

Measure 2.1.1 - Construction/rehabilitation and monitoring of sanitation and hygiene infrastructure implementation works, off-site in and around the city centre, and on-site in the peri-urban areas of cities for the population of urban centres

| Measure 2.1.1 | Construction/rehabilitation and monitoring of sanitation and hygiene infrastructure implementation works, off-site in and around the city centre and on-site in the peri-urban areas of the cities for the population of the urban centres |
| --- | --- |
| Origin (institution / project / programme) | Target 6.2 of the 2030 Agenda's SDG6 is the reference for the development of this measure |
| Objective | Improving sanitation and hygiene services in urban centres in the OMVG area |
| Location | Urban centres in the OMVG area |
| Description of the action | - Construction/rehabilitation and monitoring in the city centre with a conventional reticulated/simplified network solution and individual connections to houses or buildings. The wastewater generated in this area is conveyed by interceptors/pump stations to the treatment plant to be built around the town centres; - Construction/rehabilitation and monitoring in peri-urban areas of small flush toilets with washbasins, one toilet per 15 inhabitants, sludge pits and infiltration wells, sludge treatment plant and a sludge management system for transporting sludge to the plant. |
| Ownership and implementation arrangements | Gambia: NAWEC; Guinea: MHA/DGA; Guinea Bissau: DGRH; Senegal: ONAS |
| Duration | 18 years (2023 to 2040) |
| Costs | Total estimated cost of USD 505.8 million - Gambia: USD 80.6 million - Guinea: USD 43.1 million - Guinea Bissau: USD 61.4 million - Senegal: USD 320.7 million - The 5 cities (SONES): 254.7 MUSD - Other cities: USD 65.9 million |
| Financing | To be identified |
| Risks envisaged | Adequate funding for the implementation of the measure |
| Expected results | Considerable improvement in sanitation and hygiene service compared to the current situation in urban centres |

Measure 2.1.2 - Construction/rehabilitation and monitoring of on-site sanitation and hygiene infrastructures for the population in rural areas

| Measure 2.1.2 | Construction/rehabilitation and monitoring of the implementation of on-site sanitation and hygiene infrastructures for the population in rural areas |
| --- | --- |
| Origin (institution / project / programme) | Target 6.2 of the 2030 Agenda's SDG6 is the reference for the development of this measure |
| Objective | Improving sanitation and hygiene services in rural areas in the OMVG area |
| Location | The villages of the OMVG area |
| Description of the action | - Construction/rehabilitation and monitoring in rural areas of small flush toilets with washbasins at the rate of one toilet per 15 inhabitants, double sludge pits and infiltration wells for washbasin water |
| Ownership and implementation arrangements | Gambia: DWR; Guinea: SNAPE; Guinea Bissau: DGRH; Senegal: ONAS |
| Duration | 18 years (2023 to 2040) |
| Costs and funding | Total estimated cost of USD 277.1 million - Gambia: USD 44.5 million - Guinea: USD 89.5 million - Guinea Bissau: USD 32.3 million - Senegal: USD 110.8 million |
| Financing | To be identified |
| Risks envisaged | Adequate funding for the implementation of the measure |
| Expected results | Considerable improvement in sanitation and hygiene service compared to the current situation in rural areas |

Measure 2.1.3 - Conduct studies, projects and tender documents for the planning, design and detailing of solutions for the implementation of sanitation and hygiene infrastructures in urban centres

| Measure 2.1.3 | Conduct studies, projects and tender documents for the planning, design and detailing of solutions for the implementation of sanitation and hygiene infrastructure in urban centres |
| --- | --- |
| Origin (institution / project / programme) | Target 6.2 of the 2030 Agenda's SDG6 is the reference for the development of this measure |
| Objective | Planning and detailing optimal solutions, and carrying out tender documents for the construction/rehabilitation of sanitation and hygiene infrastructure, including surveys and campaigns to collect relevant data and raise awareness of the population in urban centres for infrastructure construction |
| Location | Urban centres in the OMVG area |
| Description of the action | - Baseline studies, including campaigns and surveys - Technical and economic feasibility studies and social and environmental impact assessments - Preliminary design study of the selected variants - Detailed design study - Tender documents - Land and property survey |
| Ownership and implementation arrangements | Gambia: NAWEC; Guinea: MHA/DGA; Guinea Bissau: DGRH; Senegal: ONAS |
| Duration | 3 years (2023 to 2025) |
| Costs | Total estimated cost of USD 16.9 million - Gambia: USD 2.7 million - Guinea: USD 1.4 million - Guinea Bissau: USD 2.1 million - Senegal: USD 10.7 million |
| Financing | To be identified |
| Risks envisaged | Adequate funding for the implementation of the measure |
| Expected results | Availability of studies, projects and tender documents for the tendering and implementation of sanitation infrastructure in urban centres |

Measure 2.1.4 - Conduct studies, projects and tender documents for the planning, design and detailing of solutions for the implementation of sanitation and hygiene infrastructure in rural areas

| Measure 2.1.4 | Conduct studies, projects and tender documents for the planning, design and detailing of solutions for the implementation of sanitation and hygiene infrastructure in rural areas |
| --- | --- |
| Origin (institution / project / programme) | Target 6.2 of the 2030 Agenda's SDG6 is the reference for the development of this measure |
| Objective | Plan and detail optimal solutions and carry out tender documents for the construction/rehabilitation of sanitation and hygiene infrastructure, including surveys and campaigns to collect relevant data and raise awareness of the village population for infrastructure construction |
| Location | Rural areas in the OMVG area |
| Description of the action | - Baseline studies, including campaigns and surveys - Technical and economic feasibility studies and social and environmental impact assessments - Preliminary design study of the selected variants - Detailed design study - Tender documents - Land and property survey |
| Ownership and implementation arrangements | Gambia: DWR; Guinea: SNAPE; Guinea Bissau: DGRH; Senegal: ONAS |
| Duration | 3 years (2023 to 2025) |
| Costs | Total estimated cost USD 13.2 million - Gambia: USD 2.1 million - Guinea: USD 4.3 million - Guinea Bissau: USD 1.5 million - Senegal: USD 5.3 million |
| Financing | To be identified |
| Risks envisaged | Adequate funding for the implementation of the measure |
| Expected results | Availability of all studies, projects and tender documents for the tendering and implementation of rural sanitation infrastructure |

### Provision 2.2 - End OD and raise community awareness of good sanitation and hygiene practices

General principle

Prepare and conduct information and awareness campaigns for good sanitation and hygiene practices of OD communities, ensuring sustainability of the results achieved through community-led total sanitation (CLTS), WASH-based sanitation in schools and basic health centres, and menstrual hygiene management promotion.

Communities also need to be sensitised to the provision of new sanitation and hygiene facilities.

Expected results

Elimination of OD in the OMVG area, as well as achieving positive behavioural change through the acquisition of good hygiene practices by communities, while improving health and the environment.

The results of the sanitation diagnostic showed that the percentage of the population using OD is 17% in all 3 OMVG basins, i.e. 16% in the Gambia basin, 10% in the Kayanga-Geba basin and 25% in the Koliba-Corubal basin.

Area of intervention

Mainly in the rural areas of the OMVG area.

Measure 2.2.1- Mobilisation and awareness raising of the population to end OD

| Measure 2.2.1 | Mobilising and raising awareness of the population to end OD |
| --- | --- |
| Origin (institution / project / programme) | Target 6.2 of the 2030 Agenda's SDG6 is the reference for the development of this measure |
| Objective | Ending open defecation and positive behaviour change |
| Location | Mainly in rural areas of the OMVG area |
| Description of the action | - Implement, as part of the new Community Led Total Sanitation (CLTS) strategy, communication activities for positive and sustainable behaviour change to end OD by 2030 |
| Ownership and implementation arrangements | Gambia: DWR; Guinea: SNAPE; Guinea Bissau: DGRH; Senegal: ONAS; NGOs |
| Duration | 8 years (2023 to 2030) |
| Costs | Total estimated cost USD 5 million |
| Financing | To be identified |
| Risks envisaged | Adequate funding for the implementation of the measure |
| Expected results | Elimination of OD by 2030 in the OMVG area |

### Provision 2.3 - Sector governance in the context of existing and emerging challenges

General principle

The implementation of all the measures foreseen in this action plan over the next 18 years (2023-2040) in the OMVG area will require effective institutional, technical and financial coordination between OMVG, the ministries and institutions of the Member States and donors, as well as project management at regional level, in liaison with regional authorities and local communities in the three shared basins. It will be necessary to build the capacity of the institutions responsible for sanitation in each of the Member States and to promote the training of their legal, technical and financial frameworks.

The OMVG and all institutions related to the sanitation sector should be empowered to intervene in the studies and projects foreseen in this strategic axis and ensure their effective coordination until 2040.

Expected results

Effective institutional, technical and financial coordination between all institutions and technical and financial partners, in order to have an increased capacity to implement the measures foreseen in the action plan of this very demanding strategic axis, especially for the period between 2022 and 2030.

Area of intervention

In the OMVG area.

Measure 2.3.1 - Capacity building of institutions responsible for the sanitation and hygiene sub-sector in each of the Member States and in the OMVG

| Measure 2.3.1 | Capacity building of institutions responsible for the sanitation and hygiene sub-sector in each of the Member States and in the OMVG |
| --- | --- |
| Origin (institution / project / programme) | PDDI Phase 2 national workshops |
| Objective | Effective institutional, technical and financial coordination between all institutions in the sanitation and hygiene sub-sector and technical and financial partners to implement the measures in this action plan |
| Location | The whole of the OMVG area |
| Description of the action | Capacity building of the institutions of the Member States and the OMVG in the legal, technical and financial aspects for the implementation of the measures of the action plan |
| Ownership and implementation arrangements | OMVG and the institutions responsible for the sanitation and hygiene sector in the Member States |
| Duration | 5 years (2023 and 2030) |
| Costs and funding | Cost and funding to be identified |
| Risks envisaged | Adequate funding for the implementation of the measure |
| Expected results | Increased capacity of the institutions of the Member States and the OMVG to ensure the implementation of the measures foreseen in this action plan |

Measure 2.3.2 - Training of managers of institutions responsible for the sanitation and hygiene sub-sector in each of the Member States and in the OMVG

| Measure 2.3.2 | Training of managers of institutions responsible for the sanitation and hygiene sub-sector in each of the Member States and in the OMVG |
| --- | --- |
| Origin (institution / project / programme) | PDDI Phase 2 national workshops |
| Objective | To have the staff of institutions trained to manage the legal, technical and financial aspects of implementing the measures |
| Location | The whole of the OMVG area |
| Description of the action | - Training of the institutions' managers on the legal, technical and financial aspects of the implementation of the measures |
| Ownership and implementation arrangements | OMVG and the institutions responsible for the water supply sector in the Member States |
| Duration | 5 years (2023 and 2030) |
| Costs and funding | Cost and funding to be identified |
| Risks envisaged | Adequate funding for the implementation of the measure |
| Expected results | Improving the training of managers of the institutions of the Member States and of the OMVG to ensure the implementation of the measures provided for in this action plan |

### Provision 2.4 - Access to sustainable and good quality sanitation and hygiene services in the OMVG area

General principle

A good quality and sustainable sanitation and hygiene service in the urban centres of the OMVG area implies that the management, operation and maintenance are ensured, on the one hand, by qualified professionals and, on the other hand, that there is a system of technical and financial monitoring and evaluation of the performance of this management, operation and maintenance of sanitation services.

To ensure the management, operation and sustainability of the facilities, it is absolutely necessary that users pay for sanitation services.

Expected results

To significantly improve the quality and sustainability of sanitation services in the urban centres of the OMVG area, by delegating the management, operation and maintenance of the service to qualified operators under contract and by ensuring the monitoring, control and evaluation of this management, operation and maintenance.

Area of intervention

In the urban centres of the OMVG area.

Measure 2.4.1 - Training of the national private sector for the management, maintenance and operation of sanitation infrastructures in urban centres

| Measure 2.4.1 | Training of the national private sector for the management, maintenance and operation of sanitation infrastructure in urban centres |
| --- | --- |
| Origin (institution / project / programme) | Target 6.2 of the 2030 Agenda's SDG6 is the reference for the development of this measure |
| Objective | Significantly improve the sustainability and quality of sanitation and hygiene services provided to the population in urban centres in the OMVG area |
| Location | Urban centres in the OMVG area |
| Description of the action | - Training, capacity building of 400 people for the management, operation and maintenance of urban sanitation services, cleaning techniques and maintenance of sewerage networks, management and operation of pumping stations and wastewater and sludge treatment plants and pit sludge management systems |
| Ownership and implementation arrangements | Gambia: NAWEC; Guinea: MHA/DGA; Guinea Bissau: DGRH; Senegal: ONAS NGOs |
| Duration | 2 years, 2025 and 2028 |
| Costs | Total estimated cost of USD 2 million |
| Financing | To be identified |
| Risks envisaged | Adequate funding for the implementation of the measure |
| Expected results | Availability of professionals for the management, operation and maintenance of urban sanitation services |

Measure 2.4.2 - Establishment/strengthening of a system of monitoring, control and technical and financial evaluation of the management, operation and maintenance performance of the sanitation service in urban centres

| Measure 2.4.2 | Establishment/strengthening of a system for monitoring, control and technical and financial evaluation of the management, operation and maintenance performance of the sanitation service in urban centres |
| --- | --- |
| Origin (institution / project / programme) | Target 6.2 of the 2030 Agenda's SDG6 is the reference for the development of this measure |
| Objective | Improving the quality and sustainability of sanitation services in urban centres |
| Location | Urban centres in the OMVG area |
| Description of the action | Setting up a system for monitoring, controlling and evaluating the performance of urban sanitation services |
| Ownership and implementation arrangements | Gambia: NAWEC; Guinea: MHA/DGA; Guinea Bissau: DGRH; Senegal: ONAS |
| Duration | 3 years |
| Costs | Total estimated cost of USD 3 million (2023 to 2025) |
| Financing | To be identified |
| Risks envisaged | Adequate funding for the implementation of the measure |
| Expected results | Improving the quality and sustainability of urban sanitation services |

### Means for implementation of the actions and measures for the strategic axis 2

In order to achieve the expected results of the different provisions and measures indicated for strategic axis 2, legal, financial and technical frameworks will have to be put in place in the OMVG over the next 18 years (2023-2040).

OMVG will require strong legal and financial project management capacity, in liaison with member state ministries and donors, as well as institutional and financial project management at the regional level, in liaison with regional authorities and local communities in the three shared basins.

Also within the OMVG, it is important to create a technical project management unit for the sanitation and hygiene sub-sector (a secretariat + two public works engineers + a project management officer) to ensure the technical follow-up of projects and support to donors and institutions in the member states.

Given the high level of investment in the sanitation sub-sector, it will be necessary to identify and examine the different sources of finance that can be mobilised, such as:

- Revenue from sewerage user charges;

- Member States' public funds from taxes;

- Transfers from donors and international solidarity organisations;

- Financing of investments through medium or long-term debt with credit institutions or on the capital market;

- Use of innovative financing strategies by creating the necessary environment for effective private sector participation. For example, public-private partnership (PPP).

## Strategic Axis 3 - Ensure equitable access to quality health care and services for all and strengthen the prevention and management of communicable and non-communicable diseases

### Provision 3.1 - Ensure the availability of functional health structures with well-trained staff and sufficient quantity and quality of medicines for the effective treatment of all parts of the population

General principle

Quality health services and the availability of sufficient health personnel in terms of quality and quantity will allow for proper health care of the population. The availability of essential medicines at the last mile of the health pyramid will contribute to an improvement in health indicators at the level of the OMVG river basins and a reduction in morbidity and mortality from all causes.

Expected results

The construction of 20 health centres, 30 health posts and 3 referral hospitals is expected, as well as the recruitment of 400 qualified health personnel per year for a period of 17 years. The commissioning of these health structures will make it possible to reduce the gaps in the availability of services and improve the geographical accessibility of health structures. The average distance between a health post and a health centre will be less than 30 km in some localities, which will restore territorial equity in terms of health coverage. Better health personnel/population ratios are expected, as the current ratios do not exceed 6/10000 inhabitants for a standard set at 23/10000 inhabitants. A reduction in morbidity and mortality is expected, as well as a reduction in the time taken to treat patients.

Area of intervention

The regions of Kolda (Senegal), Boké (Guinea) and the Lower River (LLR, Gambia) must, as a matter of priority, set up reference hospitals to fill the gaps. The health development plans of the various countries have already identified certain shortages in terms of health personnel and infrastructure. In rural areas, it will be necessary to act on the distance between health posts and villages, and to bring health posts closer to the population.

The 30 health posts will be divided into 5 health posts in Senegal, 10 in Guinea and Guinea Bissau and 5 in Gambia. As for the health centres, there will be 2 in Senegal in Kolda and Kaffrine; 3 in Guinea in Boké and Labé; 3 in Guinea Bissau in Quinara, Bafatá and Tombali; and 2 in Gambia in the regions of Basse and Janjanbureh.

Throughout the OMVG area, the recruitment of the missing personnel should be a priority and not wait until the new health infrastructures are in service. It is indeed recommended that it should begin as early as 2024, and that the staff recruited should be assigned to the existing structures. The deployment of staff will then be gradual.

Measure 3.1.1 - Construction and equipment of 30 new health posts, 10 health centres and 3 reference hospitals

| Measure 3.1.1 | Construction and equipment of 30 new posts, 10 health centres and 3 referral hospitals |
| --- | --- |
| Origin (institution / project / programme) | The SDG3 target |
| Objective | Improving the geographical accessibility of health infrastructures in the OMVG area |
| Location | Urban and rural centres |
| Description of the action | - Construction/rehabilitation/ of health posts, health centres and referral hospitals - Equipping the built health structures and strengthening the existing ones |
| Ownership and implementation arrangements | Ministry of Health of the different countries, national agency in charge of the built heritage of the States |
| Duration | 5 years |
| Costs and funding | Total estimated cost USD 30 million Funding to be identified |
| Risks envisaged | Lack of funding |
| Expected results | All populations, regardless of where they live in the basin, have easy access to health facilities |

Measure 3.1.2 - Annual recruitment of adequate health personnel (doctors, midwives, nurses, laboratory assistants, pharmacists)

| Measure 3.1.2 | Annual recruitment of adequate health personnel (doctors, midwives, nurses, laboratory assistants, pharmacists) |
| --- | --- |
| Origin (institution / project / programme) | SDG3, National Development Plans |
| Objective | Improving health coverage and quality of care |
| Location | Departments and villages covered by the OMVG basin |
| Description of the action | - Recruitment of 80 doctors per year - Recruitment of 320 nurse-midwives and laboratory assistants per year |
| Ownership and implementation arrangements | Ministry of Health / Ministry of Public Service of the OMVG countries |
| Duration | 17 years (2024 to 2040) |
| Costs and funding | Total estimated cost USD 65 million Funding to be identified |
| Risks envisaged | Lack of funding |
| Expected results | Considerable improvement in patient care |

Measure 3.1.3 - Establish a system for the supply of quality medicines and avoiding shortages of essential medicines in all health structures

| Measure 3.1.3 | Establish a system for the supply of quality medicines and avoidance of shortages of essential medicines in all health facilities |
| --- | --- |
| Origin (institution / project / programme) | SDG3 |
| Objective | Improve the availability of essential medicines in health facilities in the OMVG basin regions |
| Location | All health structures, national supply pharmacies, regional supply pharmacies, drug control laboratories |
| Description of the action | - Work with national and regional pharmacies to ensure the availability of quality medicines in line with the epidemiological characteristics of each locality - Good estimation of the quantities of medicines - Contract with regional pharmacies and drug distributors in each region - Training pharmacy managers - Establish a good stock management system for medicines - Rehabilitation of drug depots - Quality control of medicines |
| Ownership and implementation arrangements | Ministry of Health, National Supply Pharmacy, Regional Supply Pharmacy, Drug Control Laboratory |
| Duration | 17 years (2024 to 2040) |
| Costs and funding | Total estimated cost USD 10M Funding to be identified |
| Risks envisaged | Lack of funding |
| Expected results | Improving the quality and availability of medicines |

Measure 3.1.4 - Strengthen community-based health initiatives

| Measure 3.1.4 | Strengthen community-based health initiatives |
| --- | --- |
| Origin (institution / project / programme) | SDG3 |
| Objective | - Improving community-based management of malaria patients at home - Strengthening networks of home care providers - Strengthening adherence to AIDS and TB treatment - Promoting health at the community level - Strengthening community surveillance and alerts for epidemics |
| Location | At the village level |
| Description of the action | - Recruitment of community volunteers. Lump sum motivation of CFAF 15,000 for 10,000 community workers per year - Training of volunteers and community relays - Formative supervision |
| Ownership and implementation arrangements | Ministries of health, regional chief doctors, district chief doctors, head nurses, midwives |
| Duration | 17 years (2024 to 2040) |
| Costs and funding | Total estimated cost USD 41M Funding to be identified |
| Risks envisaged | Missing funding |
| Expected results | Strengthening community surveillance, early detection of epidemics, better compliance with treatment |

### Provision 3.2 - Ensure adequate financing of the health sector by mobilising endogenous and external resources

General principle

The resolution of the 58th World Health Assembly, adopted unanimously, recommends that WHO member countries develop health financing systems to provide access to quality health services for all their populations. Endogenous financing of health to the level of the commitments made by the member states of the OMVG (15% of the national budget) will make it possible to increase investment in health and will facilitate the granting of foreign financing. States must become more concerned about health and redouble their efforts to mobilise domestic resources.

The participation of local and regional authorities, currently estimated at 1%, should be increased to reduce the cost of health care borne by households.

Support from development partners is also expected with continued or increased grants from the Global Fund, USAID for the purchase of drugs, UNICEF and its partners for vaccines, the President's Malaria Initiative (PMI) for mosquito nets and drugs for seasonal malaria chemoprevention, and the Japanese Cooperation for the payment of providers

Expected results

Health expenditure accounts for 15% of national budgets, and this expenditure is used to improve technical facilities, combat malnutrition and recruit health workers.

Area of intervention

OMVG area.

Measure 3.2.1 - Increase health expenditure to 15% of the national budget in accordance with the commitments made by the States

| Measure 3.2.1 | Increase health expenditure to 15% of the national budget in line with commitments made by states |
| --- | --- |
| Origin (institution / project / programme) | States, ministries of health |
| Objective | - Increase national health spending to at least 15% of countries' national budgets - Strengthening universal health coverage - Reducing the cost of health care to households |
| Location | Guinea, Guinea Bissau, Gambia, Senegal |
| Description of the action | - Advocate for an increase in the health budget at the level of national and local assemblies, particularly at meetings of heads of state - Hold 2 meetings with MPs per year and per country |
| Ownership and implementation arrangements | Civil society, opinion leaders, Heads of State Conference, national assemblies |
| Duration | 17 years (2024 to 2040) |
| Costs and funding | Total estimated cost USD 1M Funding to be identified |
| Risks envisaged | Insufficient funding |
| Expected results | Increasing the contribution of states to health expenditure and setting up funding to fight diseases |

Measure 3.2.2 - Stimulation of national initiatives for the mobilisation of endogenous resources (corporate social responsibility)

| Measure 3.2.2 | Stimulation of national initiatives for the mobilisation of endogenous resources (corporate social responsibility) |
| --- | --- |
| Origin (institution / project / programme) | Ministries of Health |
| Objective | Improving national contributions to health expenditure |
| Location | Urban and rural areas |
| Description of the action | - Advocacy with companies for a contribution in the field of health, contracting with consultants for the implementation of advocacy - Organising fundraising events - Financial contribution of companies that may have a negative impact on workers' health - Developing public-private partnerships to improve health indicators |
| Ownership and implementation arrangements | Communication unit of the Ministry of Health, civil society |
| Duration | 17 years (2024 to 2040) |
| Costs and funding | Total estimated cost USD 1M Funding to be identified |
| Risks envisaged | Missing funding |
| Expected results | Improving the participation of the domestic private sector in health financing |

Measure 3.2.3 - Implementation of advocacy for greater mobilisation of international financial resources

| Measure 3.2.3 | Implementation of advocacy for greater mobilisation of international financial resources |
| --- | --- |
| Origin (institution / project / programme) | Heads of State Organisation, Ministries of Cooperation and/or Foreign Affairs |
| Objective | - Strengthening health-oriented development assistance - Maintain international funding for health |
| Location | Embassies and diplomatic missions, WHO, Ministry of Health, Ministry of Cooperation |
| Description of the action | - Advocacy at embassy and chancery level - Participation in international meetings to raise international funds |
| Ownership and implementation arrangements | Civil society, Ministry of Health, NGOs working in health |
| Duration | 17 years (2024 to 2040) |
| Costs and funding | Total estimated cost USD 3 million Funding to be identified |
| Risks envisaged | Insufficient funding |
| Expected results | Increasing external funding for health |

### Provision 3.3 - Ensure the establishment of an efficient information system with a dynamic collection of reliable health information

General principle

A good health information system will allow dynamic collection of health data and relevant evaluation of the performance of the health system, without which an objective measurement of the results achieved could not be made. It will involve equipping health structures with computer equipment and training actors in the processing, analysis and management of health data. The health information systems in the OMVG regions have shown weaknesses linked to the non-availability of all the data, and poor data quality is often deplored.

Expected results

- Better quality health data for evidence-based decision-making.

- Early detection of outbreaks and a rapid and effective response to health threats.

- Better measurement of the performance achieved by the different strategies implemented.

Area of intervention

At the level of health centres, hospitals and health posts covered in the OMVG area.

Measure 3.3.1 - Strengthening the quality of health data with a monitoring system based on the DHIS2

| Measure 3.3.1 | Strengthening the quality of health data with a monitoring system based on DHIS2 |
| --- | --- |
| Origin (institution / project / programme) | SDG3 |
| Objective | Improving the quality of health data for evidence-based decision making |
| Location | Health centres, hospitals and health posts |
| Description of the action | - Audit of DHIS2 functionality - Implementation of DHIS2 in all health districts - Equipping health centres with computer equipment (purchase of 200 computers) - Training of 300 actors per year in good health data management practices |
| Ownership and implementation arrangements | National Health Information System (NHIS) of the different countries |
| Duration | 17 years (2024 to 2040) |
| Costs and funding | Total estimated cost 10M Funding to be identified |
| Risks envisaged | Missing funding |
| Expected results | Improving the completeness, timeliness and quality of health data |

Measure 3.3.2 - Development of health workers' skills through training in the collection, storage and updating of reliable and relevant health databases

| Measure 3.3.2 | Development of the skills of health workers through training in the collection, storage and maintenance of reliable and relevant health databases |
| --- | --- |
| Origin (institution / project / programme) | SDG3 |
| Objective | Strengthen the capacity of health workers in good health data management practices |
| Location | Health centres, hospitals and health posts |
| Description of the action | - Training in data entry and analysis - Organisation of data entry and processing workshops - Organisation of data quality monitoring visits - Organisation of strengthening sessions on personal data management |
| Ownership and implementation arrangements | National Health Information System (NHIS) of the different countries |
| Duration | 17 years (2024 to 2040) |
| Costs and funding | Total estimated cost 6M Funding to be identified |
| Risks envisaged | Missing funding |
| Expected results | 100% of health staff involved in data collection, processing, analysis and archiving, and trained in good health data management practices |

### Provision 3.4 - Ensure access to health information, disease prevention and effective care

General principle

Access for all to preventive means such as insecticide-treated mosquito nets, vaccines and preventive treatments will contribute to having health indicators in line with the SDGs. The reduction of morbidity and mortality, which is very high among children under five, requires the strengthening of immunisation programmes and the proper management of childhood illnesses through compliance with the guidelines and treatment programmes in force. Better management of pregnancies and mother-to-child transmission is also an essential element of this provision. One of the essential parameters for the reduction of maternal mortality is the respect of the directives relating to the management of pregnancies, but also the completeness of prenatal consultations.

Expected results

- All eligible persons are provided with effective means of disease prevention;

- More than 90% of children under 5 years of age, residing in eligible areas, receive the drugs for seasonal malaria prevention chemo;

- All eligible children are fully and correctly vaccinated;

- More than 95% of pregnant women have at least 4 prenatal visits;

- Universal coverage with insecticide-treated nets, with a renewal every three years;

- Disease management guidelines are followed by health care providers.

Area of intervention

OMVG area.

Measure 3.4.1 - Update and popularise guidelines for the management of diseases under surveillance

| Measure 3.4.1 | Update and popularise guidelines for the management of diseases under surveillance |
| --- | --- |
| Origin (institution / project / programme) | Ministry of Health |
| Objective | - Improving the management of diseases - Have management flowcharts in line with the current state of medical knowledge |
| Location | All health facilities |
| Description of the action | - Review and training workshop on care guidelines - Formative supervision at decentralised level |
| Ownership and implementation arrangements | Ministries of health, health research institutes, health programmes |
| Duration | 17 years (2024 to 2040) |
| Costs and funding | Total estimated cost USD 4M Funding to be identified |
| Risks envisaged | Missing funding |
| Expected results | Correct management of diseases in accordance with validated guidelines and flowcharts |

Measure 3.4.2 - Improve access to treatment for good patient care

| Measure 3.4.2 | Improve access to treatment for good patient care |
| --- | --- |
| Origin (institution / project / programme) | SDG3 |
| Objective | Improving access to essential medicines |
| Location | All health facilities |
| Description of the action | - Strengthening the distribution circuit of medicines to avoid shortages - Strengthening the management of drug stocks with the fitting out of pharmacies in health facilities - Improved storage conditions for medicines in temperature-controlled warehouses - Rehabilitation of pharmacy depots - Implementation of subsidies for identified drugs (antiretroviral, non-tuberculous mycobacteria, etc.) |
| Ownership and implementation arrangements | Ministry of Health, national supply pharmacies, regional supply pharmacies and pharmacy depots at health facilities |
| Duration | 17 years (2024 to 2040) |
| Costs and funding | Total estimated cost USD 10M Funding to be identified |
| Risks envisaged | Missing funding |
| Expected results | - Quality medicines available at all pharmacy depots in health facilities - No stock-outs for essential medicines |

Measure 3.4.3 - Improve access to means of prevention against communicable diseases

| Measure 3.4.3 | Improve access to means of prevention against communicable diseases (pandemics) |
| --- | --- |
| Origin (institution / project / programme) | SDG3 |
| Objective | - Improving access to means of prevention against communicable diseases - To make available the quantity and quality of preventive means necessary for the control of diseases - Reducing the incidence of preventable diseases through prevention |
| Location | OMVG area |
| Description of the action | - Correct estimation of prevention needs: nets, drugs, vaccines - Adequate storage of inputs for disease prevention - Optimal management of sanitary inputs - Purchase of insecticide-treated bednets - Purchase of drugs for malaria prevention - Purchase of sulfadoxine-pyrimethamine for pregnant women - Purchase of vaccines |
| Ownership and implementation arrangements | Country pharmacy directorates, medical regions, pharmacy managers |
| Duration | 17 years (2024 to 2040) |
| Costs and funding | Total estimated cost of USD 100 million Funding to be identified |
| Risks envisaged | Missing funding |
| Expected results | - Decline in the incidence of preventable diseases - Increased protection of populations from communicable diseases - Reduced mortality and morbidity - Elimination of malaria, AIDS and TB by 2040 |

Measure 3.4.4 - Promotion of mother and child health

| Measure 3.4.4 | Promotion of maternal and child health |
| --- | --- |
| Origin (institution / project / programme) | SDG3 |
| Objective | Improving maternal and child health |
| Location | Health structures |
| Description of the action | - Provision of care to prevent nosocomial infections in mothers and children - Provision of essential newborn care - Social mediation to strengthen community-based emergency obstetric and neonatal care - Awareness raising, e.g. through community radio stations - Promotion of family planning |
| Ownership and implementation arrangements | Ministries of health, health system actors, national health education and information services |
| Duration | 17 years |
| Costs and funding | Total estimated cost USD 10M Funding to be identified |
| Risks envisaged | Missing funding |
| Expected results | Improving maternal and child health |

### Provision 3.5 - Ensure an effective epidemiological surveillance system for early detection of epidemiological threats and a rapid and adequate response

General principle

Epidemiological surveillance makes it possible to monitor the evolution of diseases, identify risk factors and thus put in place prevention and control measures to reduce the incidence and prevalence of diseases. It is a weak link in the health system of the OMVG countries, particularly in rural areas, and must be strengthened for early detection of epidemic outbreaks in order to provide adequate responses before they spread.

Expected results

- Rapid and early detection of epidemics

- Rapid and adequate response to epidemics

- Improving the health status of populations

- An early break in the chain of transmission of communicable diseases

Area of intervention

The OMVG area.

Measure 3.5.1 - Update and implement disease surveillance guidelines

| Measure 3.5.1 | Update and implement disease surveillance guidelines |
| --- | --- |
| Origin (institution / project / programme) | Country Health Surveillance Guidelines |
| Objective | - To have health surveillance guidelines that are in line with the situation on the ground - Early detection of epidemics in the OMVG area - Limiting the spread of epidemics |
| Location | OMVG area |
| Description of the action | - Workshop to review disease surveillance guidelines - Training in the use of the guidelines - Supervision and evaluation of implementation |
| Ownership and implementation arrangements | Ministries of health, national health programmes |
| Duration | 17 years (2024 to 2040) |
| Costs and funding | Total estimated cost USD 8M Funding to be identified |
| Risks envisaged | Missing funding |
| Expected results | Improved detection of epidemics Decline in diseases with high epidemic potential |

Measure 3.5.2 - Strengthen sentinel sites for epidemiological surveillance in the OMVG area

| Measure 3.5.2 | Strengthen sentinel sites for epidemiological surveillance in the OMVG area |
| --- | --- |
| Origin (institution / project / programme) | SDG3 |
| Objective | - Strengthen epidemiological surveillance sites - Improving the network of sentinel sites for better geographical coverage |
| Location | Urban centres in the OMVG area |
| Description of the action | - Establishment of new health posts as sentinel sites for epidemiological surveillance - Training in epidemiological surveillance - Equipping sentinel sites with high-performance diagnostic tools for better disease detection - Extension of points of care with the use of molecular biology for routine diagnosis of diseases |
| Ownership and implementation arrangements | National disease control programmes, medical regions, health districts, regional and departmental laboratories |
| Duration | 17 years (2024 to 2040) |
| Costs and funding | Total estimated cost USD 10M Funding to be identified |
| Risks envisaged | Missing funding |
| Expected results | Have sentinel sites that are representative of the OMVG area and functional |

### Provision 3.6 - Ensure the establishment of equipped health structures responsible for emergency health operations at the decentralised level

General principle

The advent of Covid-19 should prompt a new organisation of health emergency operations in all OMVG countries. The negative impact of Covid-19 on health programmes must motivate a new organisation of care and the setting up of structures that can deal with these threats in complete safety for the staff and the populations that use the health structures. Faced with these emerging diseases that threaten the stability of countries and the world economy, states are obliged to set up structures capable of dealing with them in complete safety. The Gambia River Basin region lacks such facilities and should fill this gap to avoid the adverse health consequences that can result from fast-spreading diseases such as Covid-19.

Expected results

Emergency health operations are properly implemented without negative impacts on health programmes

Functional emergency operation centres are set up at the peripheral level

Cross-border surveillance of diseases with high epidemic potential is in place

Area of intervention

The OMVG area.

Measure 3.6.1- Establishment of health emergency operation centres in peripheral regions for better preparation against disasters and pandemics

| Measure 3.6.1 | Establishment of emergency health operations centres in peripheral regions for better preparedness against disasters and pandemics |
| --- | --- |
| Origin (institution / project / programme) | SDG3 |
| Objective | - Improving the conduct of health emergencies - Minimising the negative health impacts of pandemics - Decentralising the implementation of health emergency operations |
| Location | Regional capitals in the basins area |
| Description of the action | - Construction of emergency operation centres in regional capitals - Equipment of the centres - Training of centre staff - Preventive maintenance of equipment |
| Ownership and implementation arrangements | Ministry of Health |
| Duration | 17 years (2024 to 2040) |
| Costs and funding | Total estimated cost 20 M Funding to be identified |
| Risks envisaged | Missing funding |
| Expected results | Improved management of emergency operations |

Measure 3.6.2 - Establishment of cross-border surveillance of epidemics

| Measure 3.6.2 | Establishment of cross-border surveillance of epidemics |
| --- | --- |
| Origin (institution / project / programme) | SDG3 |
| Objective | - Contribute to the prevention of the introduction of health threats from neighbouring countries - Setting up mechanisms for cross-border epidemic control |
| Location | OMVG Space |
| Description of the action | - Establishment of a steering committee for cross-border control of diseases with high epidemic potential. - Organisation of international meetings and seminars - Development of cross-border disease control guidelines. |
| Ownership and implementation arrangements | Ministries of Health of the 4 OMVG countries |
| Duration | 17 years (2024 to 2040) |
| Costs and funding | Total estimated cost USD 10M Funding to be identified |
| Risks envisaged | Political problems between states |
| Expected results | - Effectiveness of cross-border disease control - Decline in the introduction of health threats from neighbouring countries |

# Programme of measures

## Summary of the sectoral plan and results framework

| Strategic axes/objectives | Overall results (provisions) | Specific results (measures) |
| --- | --- | --- |
| 1. Ensure equitable and sustainable access to affordable drinking water for all | 1.1 Access to adequate drinking water in urban areas, in quantity, at home or nearby, for the urban and rural population of the three OMVG basins has been assured | 1.1.1 Drinking water supply, treatment, storage and networks and connections in urban centres have been constructed/ rehabilitated/ strengthened and the implementation works have been monitored. |
|  |  | 1.1.2 Drinking water infrastructure (borehole, solar pump/electrical network, chlorination station, water tower, networks and standpipe connections) for 70% of the village population has been built/rehabilitated/ strengthened and the execution works have been monitored. |
|  |  | 1.1.3 BHPPs for 30% of the village population have been constructed/rehabilitated and the implementation works have been monitored. Existing boreholes have been rehabilitated and are either strengthening drinking water points or can provide an alternative water source for livestock and agriculture. |
|  |  | 1.1.4 Studies, projects and tender documents for the planning, design and detailing of solutions for the implementation of drinking water supply infrastructure in urban centres have been completed |
|  |  | 1.1.5 Studies, projects and tender documents for the planning, design and detailing of solutions for the implementation of drinking water supply infrastructure in the villages have been completed |
|  | 1.2 The implementation of a geographic information system for drinking water infrastructures in the OMVG area has been ensured | 1.2.1 A database of drinking water supply infrastructures in each of the OMVG river basins has been developed in liaison with the water resources agencies and the supervisory ministries of the four Member States |
|  | 1.3 Governance of the sector in the context of existing and emerging challenges has been ensured | 1.3.1 The capacities of the institutions responsible for the drinking water sub-sector in each of the Member States and in the OMVG have been strengthened |
|  |  | 1.3.2 The managers of the institutions responsible for the drinking water sub-sector in each of the member states and in the OMVG have been trained |
|  | 1.4 Access to a sustainable quality drinking water service is ensured | 1.4.1 The private sector in each country for the management, operation and maintenance of drinking water systems and WDFs has been trained |
|  |  | 1.4.2 The systems for monitoring, control and technical and financial evaluation of management performance, operation and maintenance of drinking water networks and BHPPs in rural areas have been set up/strengthened |
| 2. Ensure equitable and sustainable access to adequate sanitation and hygiene for all and end open defecation | 2.1 Access to adequate sanitation and hygiene services for the urban and rural population in the OMVG area has been ensured | 2.1.1 Sanitation and hygiene infrastructure, off-site in and around the city centre and on-site in the peri-urban areas of the cities for the population of the urban centres have been constructed/rehabilitated and the implementation works have been monitored |
|  |  | 2.1.2 On-site sanitation and hygiene infrastructure for the rural population constructed/rehabilitated and implementation monitored |
|  |  | 2.1.3 Studies, projects and tender documents for the planning, design and detailing of solutions for the implementation of sanitation and hygiene infrastructure in urban centres have been completed |
|  |  | 2.1.4 Studies, projects and tender documents for the planning, design and detailing of solutions for the implementation of sanitation and hygiene infrastructure in rural areas were completed |
|  | 2.2 OD elimination completed and communities sensitised on good sanitation and hygiene practices | 2.2.1 The population has been mobilised and sensitised to end OD |
|  | 2.3 Governance of the sector in the context of existing and emerging challenges has been ensured | 2.3.1 The capacities of the institutions responsible for the sanitation and hygiene sub-sector in each of the Member States and in the OMVG have been strengthened |
|  |  | 2.3.2 The managers of the institutions responsible for the sanitation and hygiene sub-sector in each of the Member States and in the OMVG have been trained |
|  | 2.4 Access to sustainable, quality sanitation and hygiene services in the OMVG area is ensured | 2.4.1 The private sector in each country for the management, maintenance and operation of sanitation infrastructure in urban centres has been formed |
|  |  | 2.4.2 Systems for monitoring, control and technical and financial evaluation of the performance of management, operation and maintenance of the sanitation service in urban centres have been established/strengthened |
| 3. Ensure territorial equity in the availability of quality health care and services and strengthen the management of communicable and non-communicable diseases | 3.1 Health facilities built, functional, with well-trained staff and sufficient quantity and quality of medicines | 3.1.1 30 new health posts, 10 health centres and 3 referral hospitals built and operational |
|  |  | 3.1.2 400 quality health personnel (doctors, midwives, nurses, laboratory assistants, pharmacists) recruited and put into service each year |
|  |  | 3.1.3 A system for the supply of medicines put in place and shortages of essential medicines avoided |
|  |  | 3.1.4 Community-based initiatives such as home-based malaria case management, networks of home-based care providers, community watch and alert cells established and strengthened |
|  | 3.2 Adequate financing of the health sector with effective mobilisation of endogenous and external resources is ensured | 3.2.1 Increasing health expenditure to 15% of the national budget in line with the commitments made by the States |
|  |  | 3.2.2 An increase in domestic (endogenous) resources mobilised for health financing (corporate social responsibility) |
|  |  | 3.2.3 Advocacy for greater mobilisation of international financial resources at chancery and embassy level |
|  | 3.3 The establishment of an efficient information system with dynamic collection of reliable health information is ensured | 3.3.1 Availability of reliable and quality health data with completeness and timeliness exceeding 95%. |
|  |  | 3.3.2 100% of health personnel involved in the collection, processing, analysis and archiving of health data well trained in good health data management practices |
|  | 3.4 Access to health information, disease prevention and proper care is provided | 3.4.1 Guidelines for the management of diseases under surveillance updated, disseminated and used in all OMVG health structures |
|  |  | 3.4.2 The entire population has access to essential medicines wherever they are for proper management in accordance with validated treatment regimens |
|  |  | 3.4.3 Means of prevention against communicable diseases are available in all urban and rural health structures with a coverage of more than 95% of the population |
|  |  | 3.4.4 Maternal and child health is promoted in all health facilities with the implementation of community-based emergency obstetric and neonatal care |
|  | 3.5 An effective epidemiological surveillance system for early detection of epidemiological threats and a rapid and adequate response is provided | 3.5.1 Updated disease surveillance guidelines are in place and their application documented |
|  |  | 3.5.2 Epidemiological surveillance sentinel sites in the OMVG basins are strengthened/created and functional |
|  | 3.6 Well-equipped structures for emergency health operations at the decentralised level are in place | 3.6.1 4 health emergency operation centres are set up and functional in one region within the OMVG area in each country. |
|  |  | 3.6.2 Cross-border disease surveillance is implemented in border districts of the OMVG area |

## Timeline of measurements

## Cost of the measures

The investments required to implement the water supply, sanitation and health sector plan are estimated at USD 2,818 million, including USD 2,479 million for water supply and sanitation and hygiene in the period 2023-2040, at current costs.

As part of the measures proposed in this sectoral plan with regard to the Sustainable Development Goals, which constitute the reference framework for development, the most important investments to be made are aimed at building, rehabilitating and strengthening drinking water supply, sanitation and hygiene infrastructures in the towns and villages of the OMVG zone.

A more detailed investment plan for the water and sanitation sector for the urban and rural population and by country is presented below.

These amounts are indicative and may vary depending on the feasibility studies and the design of the solutions to be validated by each Member State. Furthermore, there are no harmonised strategies for the development of the drinking water and sanitation sector in the Member States.

The framework for the development of scenarios and solutions is the 2030 Agenda of Sustainable Development Goals. For some Member States, the scenarios and solutions considered may be quite demanding, especially for sanitation and hygiene services, while for others, the projects implemented already incorporate the sanitation scale of SDG 6.2.

Investment plan for water supply in the OMVG area

Drinking water supply in urban centres: USD 513.6 million

- Period 2022-2025 - During this period, studies, projects and tender documents will be prepared for the planning, design and detailing of validated solutions for the implementation of drinking water supply infrastructure in urban centres. Contracts for the construction/rehabilitation of the infrastructure and monitoring of the works will be launched. Ongoing or already programmed and/or financed projects in the field of drinking water supply will continue to be implemented over the period 2022-2025. In the course of the studies, priority projects may be identified and developed, with implementation starting in 2024 (e.g. new boreholes, water towers). The construction and rehabilitation of priority drinking water infrastructure must not compromise future new construction. The planned investments for this period are USD 17 million for studies and tender documents and USD 65 million for interventions in drinking water infrastructure.

- Period 2025-2030 - During this period it is planned to build the central components of the drinking water supply systems of the urban centres, i.e.: surface and/or groundwater catchments, water treatment plants, water conveyors, pumping stations, reservoirs and water towers, as well as drinking water supply networks and individual connections and standpipes, which should be sized for the project horizon (2050 - horizon to be defined, consider beyond 2040). It is also planned to carry out strengthening work on existing systems, such as: strengthening water sources, building towers and reservoirs, strengthening and meshing water supply networks. The planned investments for new infrastructure have been estimated at USD 253 million (75% of the total investment in new infrastructure) and for rehabilitation and strengthening at USD 76 million (50%), i.e. a total of approximately USD 330 million.

- Period 2030-2040 - During this period, it is planned to carry out the extensions of the drinking water supply networks and the individual connections and standpipes to serve the population of the new urbanisations, as well as the consolidations and rehabilitations still required. The investments planned for the new infrastructures have been estimated at USD 76 million and for the rehabilitation and strengthening at USD 43 million, i.e. a total of USD 119 million.

- The total investment in drinking water infrastructure for urban centres in the OMVG area and per country is estimated at:

- OMVG area: 513.6 MUSD

- Gambia: USD 102.7 million

- Guinea: USD 56.1 million

- Guinea Bissau: USD 78.9 million

- Senegal: USD 275.9 million

    - Cities managed by SONES: USD 184.2 million

    - Other cities: USD 91.7 million

Water supply to the most populated villages (70% of the rural population): 799 MUSD

- Period 2022-2025 - During this period, studies, projects and tender documents will be prepared for the planning, design and detailing of validated solutions for the implementation of drinking water supply infrastructure in the most populated villages. Contracts for the construction/rehabilitation and strengthening of the infrastructure and monitoring of the works will be launched. Ongoing or already programmed and/or financed projects in the field of drinking water supply will continue to be implemented over the period 2022-2025 (in particular the PEAMIR, AADEPA/G2G and IDB- WAEMU projects in Senegal for drinking water and sanitation in rural areas in the OMVG area). In the course of the studies, priority projects may be identified and developed, which could be implemented from 2024 onwards (e.g. new boreholes, water towers, chlorination stations, etc.). The construction, rehabilitation and strengthening of priority drinking water infrastructures must not compromise future new constructions. The planned investment in drinking water infrastructure is USD 65 million. Other investments planned for this period are USD 30 million for studies and tender documents, USD 2.5 million for the development of a database and USD 5 million to ensure access to a sustainable quality drinking water service in rural areas.

- Period 2025-2030 - During this period, it is planned to build the core elements of the drinking water supply networks, i.e.: groundwater boreholes or other types of catchment, water treatment plants/chlorination stations, water conveyances, reservoirs and water towers, as well as supply networks and individual connections and standpipes, which must be sized for the project horizon (2050 - horizon to be defined, consider a horizon higher than 2040). Investments for the construction of new infrastructures in the OMVG area have been estimated at 490 MUSD (70% of the total investment in new infrastructures) and 50 MUSD (50%) for rehabilitation and strengthening, i.e. a total of 540 MUSD.

- Period 2030-2040 - During this period, it is planned to carry out extensions to drinking water supply networks and individual connections and standpipes to serve the population of the new urbanisations, as well as the consolidations and rehabilitations still needed, and the construction of complete new networks for Guinea-Bissau. Investments for new infrastructure were estimated at USD 176 million (25% of the total investment in new infrastructure) and for rehabilitation and strengthening works at USD 18 million, for a total of USD 194 million.

- The total investment in drinking water infrastructure for the most populated villages in the OMVG area and per country is estimated at:

- OMVG area: 799 MUSD ;

- Gambia: USD 139.9 million

- Guinea: USD 253.8 million

- Guinea Bissau: USD 92.8 million

- Senegal: USD 312.7 million

Provision of drinking water to the least populated villages (30% of the rural population): USD 282 million

- Period 2022-2025 - During this period, studies, designs and tender documents will be carried out for the planning, design and detailing for the implementation of the BHPP or other types of drinking water collection infrastructure for less populated villages. Contracts for the construction/rehabilitation of BHPPs and monitoring of the works will be launched. Ongoing or already programmed and/or financed projects for the supply of drinking water to villages will continue to be implemented over the period 2022-2025. It is planned to carry out the rehabilitation of existing BHPPs for drinking water in less populated villages and the construction of new BHPPs in villages where the population does not have access to improved water sources or where improved water sources are far from the houses. The investments planned for this period in the OMVG area have been estimated at USD 100 million, i.e. USD 75 million for the construction of new BHPPs and USD 25 million for rehabilitation. The planned investment for this period in studies and tender documents is USD 6 million.

- Period 2025-2030 - During this period, it is planned to continue the construction of new BHPPs and the rehabilitation of existing BHPPs. Infrastructure investments in the OMVG area have been estimated at USD 100 million, including USD 75 million for new BHPPs and USD 25 million for rehabilitation.

- Period 2030-2040 - During this period, it is planned to continue the construction of new BHPPs and the rehabilitation of existing BHPPs. Infrastructure investments in the OMVG area have been estimated at USD 82 million, of which USD 62 million for new infrastructure and USD 20 million for rehabilitation.

- The total investment in drinking water infrastructure for the least populated villages in the OMVG area and per country is estimated at:

- OMVG area: 282.4 MUSD

- Gambia: USD 40.2 million

- Guinea: USD 93.0 million

- Guinea Bissau: USD 32.4 million

- Senegal: USD 116.8 million

Investment plan for sanitation and hygiene in the OMVG area

Sanitation and hygiene in urban centres: USD 506 million

- Period 2022-2025 - During this period, studies, projects and tender documents will be prepared for the planning, design and detailing of validated solutions for the implementation of sanitation and hygiene infrastructure in urban centres. Contracts for the construction/rehabilitation and strengthening of the infrastructure and the monitoring of the works will be launched. Ongoing or already programmed and/or financed projects in the field of sanitation will continue over the period 2022-2025. In the course of the studies, priority projects may be identified and developed, with implementation starting in 2024 (e.g. toilets and wastewater networks). The construction, rehabilitation and strengthening of priority sanitation and hygiene infrastructure must not compromise future new construction. The planned investments for this period are USD 17 million for studies and tender documents, USD 60 million for sanitation and hygiene infrastructure interventions, and USD 4 million to ensure access to sustainable sanitation services in urban centres.

- Period 2025-2030 - During this period, it is planned to build/rehabilitate the sanitation and hygiene infrastructure in and around the city centre, with a conventional reticulated/simplified network solution and individual house connections. The urban sanitation network is the first intervention to be carried out and must go hand in hand with the drinking water supply network to the houses. Meanwhile, in parallel, the toilets, connections to the network and the treatment plant are also built, as well as the interceptors/pump stations to transport the wastewater to the treatment plant. In peri-urban areas where households only have access to public standpipes, the construction/rehabilitation of an on-site sanitation solution is planned (small flush toilets with washbasins at the rate of one toilet per 15 inhabitants, sludge pits and infiltration wells for washbasin water). In parallel, the sludge treatment plant will be built and a sludge management system will be set up to collect and transport the sludge from households to the plant. The planned investments for construction/rehabilitation have been estimated at USD 350 million (70% of the total investment in urban sanitation infrastructure) and 1 MUSD to train the national private sector for the management, operation and maintenance of urban sanitation services.

- Period 2030-2040 - During this period, it is planned to complete the interceptor systems/pump stations and wastewater and sludge treatment plants, and to carry out network extensions to serve the population of the new urbanisations. The investments planned for the construction/rehabilitation of the infrastructures have been estimated at 96 MUSD.

- The total investment in sanitation and hygiene infrastructure for cities in the OMVG area and per country is estimated at:

- OMVG area: 505.8 MUSD

- Gambia: USD 80.6 million

- Guinea: USD 43.1 million

- Guinea Bissau: USD 61.4 million

- Senegal: USD 320.7 million

- the 5 cities SONES: 254.7 MUSD

- Other cities: USD 65.9 million

Village sanitation and hygiene: USD277 million

- Period 2022-2025 - During this period, it is planned to carry out the rehabilitation of existing sanitation and hygiene infrastructure and to continue the construction of infrastructure with ongoing projects (notably the PEAMIR, AADEPA/G2G and IDB-WAEMU projects in Senegal for rural sanitation).  The construction, rehabilitation and strengthening of priority sanitation and hygiene infrastructures must not compromise future new constructions. The planned investment in sanitation infrastructure is USD 40 million. The other investments are USD 13.2 million for studies and tender documents, and USD 1 million for mobilising and sensitising the population to put an end to OD.

- Period 2025-2040 - During this period, sanitation and hygiene infrastructure is planned to be built/rehabilitated progressively and at a constant pace over the 15-year period from 2025 - 2040. The infrastructure envisaged in this sectoral plan is small flush toilets with washbasins at a rate of one toilet per 15 inhabitants, accompanied by double sludge pits and infiltration wells for washbasin water. The studies to be carried out will specify the solutions to be implemented in the villages. The investments planned for the period 2025 - 2030 are estimated at USD 100 million for sanitation infrastructure interventions and USD 4 million for mobilising and raising awareness among the population to put an end to OD. In the period 2030-2040, investments in infrastructure are estimated at USD 137 million.

- The total investment in village sanitation infrastructure in the OMVG area and per country is estimated at:

- OMVG area: 277.1 MUSD

- Gambia: USD 44.5 million

- Guinea: USD 89.5 million

- Guinea Bissau: USD 32.3 million

- Senegal: USD 110.8 million

Detailed investment plan

## Ownership of the measures

| Project owner |  | List of provisions / measures | Estimated cost MUSD | 2022-2025 | 2025-2030 | 2030-2040 | Planned / anticipated financing |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Strategic Axis 1 - Ensure equitable, sustainable and affordable access to safe drinking water for all |  |  |  |  |  |  |
| MoEn/ NAWEC; MHA/SEG; MERN/DGRH; MHA/SONES |  | 1.1.1 | 514 | 65 | 330 | 118 | - |
| MoFWR/ DWR; MHA/SNAPE; MERN/DGRH; MHA/OFOR |  | 1.1.2 | 799 | 65 | 540 | 194 | - |
| MoFWR/ DWR; MHA/SNAPE; MERN/DGRH; MHA/OFOR |  | 1.1.3 | 282 | 100 | 100 | 82 | - |
| MoEn/ NAWEC; MHA/SEG; MERN/DGRH; MHA/SONES |  | 1.1.4 | 17 | 17 | - | - | - |
| MoFWR/ DWR; MHA/SNAPE; MERN/DGRH; MHA/OFOR |  | 1.1.5 | 36 | 36 | - | - | - |
| OMVG |  | 1.2.1 | 2,5 | 2,5 | - | - | - |
| OMVG and MoEn/NAWEC; MoFWR/DWR; MHA/SEG / SNAPE; MERN/DGRH; MHA/SONES/OFOR |  | 1.3.1 | - | - | - | - | - |
| OMVG and MoEn/ NAWEC; MoFWR/ DWR; MHA/SEG / SNAPE; MERN/DGRH; MHA/SONES/OFOR |  | 1.3.2 | - | - | - | - | - |
| MoFWR/ DWR; MHA/SNAPE; MERN/DGRH; MHA/OFOR |  | 1.4.1 | 2 | 2 | - | - | - |
| MoFWR/ DWR; MHA/SNAPE; MERN/DGRH; MHA/OFOR |  | 1.4.2 | 3 | 3 | - | - | - |
| Strategic Axis 2 - Ensure equitable and sustainable access to adequate sanitation and hygiene services for all and end open defecation |  |  |  |  |  |  |  |
| MoEn/ NAWEC; MHA; MERN/DGRH; MHA/ONAS |  | 2.1.1 | 506 | 60 | 350 | 96 | - |
| MoFWR/ DWR; MHA/SNAPE; MERN/DGRH; MHA/OFOR |  | 2.1.2 | 277 | 40 | 100 | 137 | - |
| MoEn/ NAWEC; MHA; MERN/DGRH; MHA/ONAS |  | 2.1.3 | 17 | 17 | - | - | - |
| MoFWR/ DWR; MHA/SNAPE; MERN/DGRH; MHA/OFOR |  | 2.1.4 | 13 | 13 | - | - | - |
| MoFWR/ DWR; MHA/SNAPE; MERN/DGRH; MHA/OFOR |  | 2.2.1 | 5 | 5 | - | - | - |
| OMVG and MoEn/NAWEC; MoFWR/DWR; MHA/ SNAPE; MERN/DGRH; MHA//ONAS |  | 2.3.1 | - | - | - | - | - |
| OMVG and MoEn/NAWEC; MoFWR/DWR; MHA/ SNAPE; MERN/DGRH; MHA//ONAS |  | 2.3.2 | - | - | - | - | - |
| MoEn/ NAWEC; MHA; MERN/DGRH; MHA/ONAS |  | 2.4.1 | 2 | 1 | 1 | - | - |
| MoEn/ NAWEC; MHA; MERN/DGRH; MHA/ONAS |  | 2.4.2 | 3 | 3 | - | - | - |

| Strategic Axis 3 - Ensure equitable access to quality health care and services for all and strengthen the prevention and management of communicable and non-communicable diseases |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Ministry of Health (MoH) National Agencies | 3.1.1 | 30 | 30 | - | - | - |
| MoH, Ministry of Public Service | 3.1.2 | 65 | 15 | 25 | 25 | - |
| Health facilities (HF)/National Supply Pharmacies (NSP), Regional Pharmacies (RP), Drug Control Laboratory | 3.1.3 | 10 | 5 | 3 | 2 | - |
| MoH/ Regional Medical Officers (RMOs), District Medical Officers (DMOs), Chief Nursing Officers (CNOs), State Midwives (SMs) | 3.1.4 | 41 | 14 | 13 | 14 | - |
| Civil Society (CS), Opinion Leaders, Heads of State Conference | 3.2.1 | 1 | 0.3 | 0.4 | 0.3 | - |
| Communication Unit of the Ministries of Health, SC | 3.2.2 | 1 | 0.3 | 0.4 | 0.3 | - |
| CS /MoH/NGO | 3.2.3 | 3 | 1 | 1 | 1 | - |
| CS /Hospitals/PrS | 3.3.1 | 10 | 5 | 5 | - | - |
| MoH/National Health Information System/RMOs/DMOs | 3.3.2 | 6 | 2 | 2 | 2 |  |
| MoH /Research Institute/Health Programmes (PrS) | 3.4.1 | 4 | 2 | 2 | - | - |
| MoH / RP / NSP /Pharmacy Depots | 3.4.2 | 10 | 4 | 3 | 3 | - |
| Health structures/ MoH /Development partners | 3.4.3 | 100 | 35 | 35 | 30 | - |
| Health structures | 3.4.4 | 10 | 4 | 3 | 3 | - |
| MoH /PrS | 3.5.1 | 8 | 3 | 3 | 2 | - |
| PrS /Medical regions/Health districts/Regional laboratories/Health facilities laboratory | 3.5.2 | 10 | 5 | 3 | 2 | - |
| MoH | 3.6.1 | 20 | 15 | 5 | - | - |
| MoH | 3.6.2 | 10 | 5 | 3 | 2 | - |

## Implementation framework

|  | Description | IOV indicator (Baseline) | Budget (MUSD) | Actors | Period (years) | sources verification | Risks and assumptions |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Strategic areas | Strategic Axis 1 - Ensure equitable, sustainable and affordable access to safe drinking water for all |  |  |  |  |  |  |
|  | Strategic Axis 2 - Ensure equitable and sustainable access to adequate sanitation and hygiene services for all and end Lack of access to sanitation |  |  |  |  |  |  |
|  | Strategic Axis 3 - Ensure equitable access to quality health care and services for all and strengthen the prevention and management of communicable and non-communicable diseases |  |  |  |  |  |  |
| Action Plan 1 Drinking water supply | Project sheet 1.1 : measure 1.1.1 Construction / rehabilitation / strengthening and monitoring of the implementation works of water supply, treatment, storage and drinking water networks and connections in urban centres | Water infrastructure for the population of urban centres | 514 | MoEn/ NAWEC; MHA/SEG; MERN/DGRH; MHA/SONES | 2023- 2040 | Annual report of the OMVG institutions and Ministries by Member State | Member States and Donors funds have mobilised the funds |
|  | Project fiche 1.2 : measure 1.1.2 Construction / rehabilitation / strengthening and monitoring of the execution of drinking water infrastructure (borehole, solar pump / electrical network, chlorination station, water tower, networks and standpipe connections), for 70% of the village population | Water infrastructure for 70% of the village population | 799 | MoFWR/ DWR; MHA/SNAPE; MERN/DGRH; MHA/OFOR | 2023- 2040 | Annual report of the OMVG institutions and Ministries by Member State | Member States and Donors funds have mobilised the funds |
|  | Project fiche 1.3 : measure 1.1.3 Construction/rehabilitation and monitoring of BHPP implementation works for 30% of the village population. Existing boreholes are rehabilitated and reinforce drinking water points or can provide an alternative water source for livestock and agriculture | Water infrastructure for 30% of the village population | 282 | MoFWR/ DWR; MHA/SNAPE; MERN/DGRH; MHA/OFOR | 2023- 2040 | Annual report of the OMVG institutions and Ministries by Member State | Member States and Donors funds have mobilised the funds |
|  | Project fiche 1.4 : measure 1.1.4 Conducting studies, projects and tender documents for the planning, design and detailing of solutions for the implementation of drinking water supply infrastructure in urban centres | Studies/projects/ tender documents for urban centres | 17 | MoEn/ NAWEC; MHA/SEG; MERN/DGRH; MHA/SONES | 2023- 2025 | Annual report of the OMVG institutions and Ministries by Member State | Member States and Donors funds have mobilised the funds |
|  | Project fiche 1.5: Measure 1.1.5 Carrying out studies, projects and tender documents for the planning, design and detailing of solutions for the implementation of drinking water supply infrastructure in the villages | Studies/projects/ tender documents for villages | 36 | MoFWR/ DWR; MHA/SNAPE; MERN/DGRH; MHA/OFOR | 2023- 2025 | Annual report of the OMVG institutions and Ministries by Member State | Member States and Donors funds have mobilised the funds |
|  | Project fiche 1.6 : measure 1.2.1 Development of a database of drinking water supply infrastructures in each of the OMVG river basins in liaison with the water resources agencies and the supervisory ministries of the four Member States | Water supply database for each of the 3 OMVG basins | 2,5 | OMVG MoEn/NAWEC; MoFWR/ DWR; MHA/SEG/ SNAPE MERN/DGRH; MHA/SONES/ OFOR | 2023 and 2024 | Annual report of the OMVG institutions and Ministries by Member State | Member States and Donors funds have mobilised the funds |
|  | Project fiche 1.7 : measure 1.3.1 Capacity building of the institutions responsible for the drinking water sub-sector in each of the member states and in the OMVG | Capacity building of institutions responsible for the drinking water sector | - | OMVG and MoEn/NAWEC; MoFWR/DWR; MHA/SEG / SNAPE; MERN/DGRH; MHA/SONES/ OFOR | 2023- 2030 | Annual report of the OMVG institutions and Ministries by member State | Member States and Donors funds have mobilised the funds |
|  | Project fiche 1.8 : measure 1.3.2 Training of managers of institutions responsible for the drinking water sub-sector in each of the member states and in the OMVG | Training of managers in the institutions responsible for the drinking water sector | - | OMVG and MoEn/NAWEC; MoFWR/DWR; MHA/SEG / SNAPE; MERN/DGRH; MHA/SONES/ OFOR | 2023- 2030 | Annual report of the OMVG institutions and Ministries by Member State | Member States and Donors funds have mobilised the funds |
|  | Project fiche 1.9 : measure 1.2.1 Training of the private sector in each country for the management, operation and maintenance of drinking water networks and BHPP | Training of 500 people for the operation and maintenance of water supply in rural areas | 2 | MoFWR/ DWR; MHA/SNAPE; MERN/DGRH; MHA/OFOR NGOs | 2024 and 2025 | Annual report of the OMVG institutions and Ministries by Member State | Member States and Donors funds have mobilised the funds |
|  | Project sheet 1.10: measure 1.2.2 Establishment/strengthening of systems for monitoring, control and technical and financial evaluation of management performance, operation and maintenance of drinking water networks and BHPP in rural areas | Establishment/strengthening of a system for monitoring and controlling the performance of drinking water services in rural areas | 3 | MoFWR/ DWR; MHA/SNAPE; MERN/DGRH; MHA/OFOR | 2023- 2025 | Annual report of the OMVG institutions and Ministries by Member State | Member States Member States and Donors funds have mobilised the funds |
| Action Plan 2 Sanitation and hygiene | Project sheet 2.1: Measure 2.1.1 Construction/rehabilitation and monitoring of sanitation and hygiene infrastructure implementation works, off-site in and around the city centre and on-site in the peri-urban areas of the cities for the population of the urban centres | Sanitation and hygiene infrastructure for urban centres | 506 | MoEn/NAWEC; MHA/DGA MERN/DGRH; MHA/ONAS | 2023- 2040 | Annual report of the OMVG institutions and Ministries by Member State | Member States and Donors funds have mobilised the funds |
|  | Project sheet 2.2 : measure 2.1.2 Construction/rehabilitation and monitoring of the implementation of on-site sanitation and hygiene infrastructures for the population in rural areas | Sanitation and hygiene infrastructure for villages | 277 | MoFWR/ DWR; MHA/SNAPE; MERN/DGRH; MHA/ONAS | 2023- 2040 | Annual report of the OMVG institutions and Ministries by Member State | Member States and Donors funds have mobilised the funds |
|  | Project sheet 2.3 : measure 2.1.3 Conduct studies, projects and tender documents for the planning, design and detailing of solutions for the implementation of sanitation and hygiene infrastructure in urban centres | Studies/projects/ tender documents for urban centres | 17 | MoEn/NAWEC; MHA/DGA MERN/DGRH; MHA/ONAS | 2023- 2025 | Annual report of the OMVG institutions and Ministries by Member State | Member States and Donors funds have mobilised the funds |
|  | Project sheet 2.4 : measure 2.1.4 Conduct studies, projects and tender documents for the planning, design and detailing of solutions for the implementation of sanitation and hygiene infrastructure in rural areas | Studies/projects/ tender documents for villages | 13 | MoFWR/ DWR; MHA/SNAPE; MERN/DGRH; MHA/ONAS | 2023- 2025 | Annual report of the OMVG institutions and Ministries by Member State | Member States and Donors funds have mobilised the funds |
|  | Project sheet 2.5 : measure 2.2.1 Mobilise and raise awareness of the population for the elimination of OD | Mobilising and raising awareness of the population for the elimination of OD | 5 | MoFWR/ DWR; MHA/SNAPE; MERN/DGRH; MHA/ONAS NGOs | 2023- 2030 | Annual report of the OMVG institutions and Ministries by Member State | Member States and Donors funds have mobilised the funds |
|  | Project sheet 2.6: Measure 2.3.1 Capacity building of institutions responsible for the sanitation and hygiene sub-sector in each of the Member States and in the OMVG | Capacity building of institutions responsible for the sanitation and hygiene sector | - | OMVG and MoEn/NAWEC; MoFWR/DWR; MHA/SNAPE; MERN/DGRH; MHA/ONAS | 2023- 2030 | Annual report of the OMVG institutions and Ministries by Member State | Member States and Donors funds have mobilised the funds |
|  | Project sheet 2.7 : Measure 2.3.1 Training of managers of institutions responsible for the sanitation and hygiene sub-sector in each of the Member States and in the OMVG | Training of managers of institutions responsible for the sanitation and hygiene sector | - | OMVG and MoEn/NAWEC; MoFWR/DWR; MHA/SNAPE; MERN/DGRH; MHA/ONAS | 2023- 2030 | Annual report of the OMVG institutions and Ministries by Member State | Member States and Donors funds have mobilised the funds |
|  | Project sheet 2.8: Measure 2.4.1 Training of the private sector in each country for the management, maintenance and operation of sanitation infrastructures in urban centres | Training of the private sector for the operation and maintenance of sanitation and hygiene in urban centres | 2 | MoEn/NAWEC; MHA/DGA MERN/DGRH; MHA/ONAS | 2025 and 2028 | Annual report of the OMVG institutions and Ministries by Member State | Member States and Donors funds have mobilised the funds |
|  | Project sheet 2.9 : measure 2.4.2 Establishment/strengthening of a system for monitoring, control and technical and financial evaluation of the management, operation and maintenance performance of the sanitation service in urban centres | Establishment/strengthening of a monitoring and control system for sanitation services in urban centres | 3 | MoEn/NAWEC; MHA/DGA MERN/DGRH; MHA/ONAS | 2023- 2025 | Annual report of the OMVG institutions and Ministries by Member State | Member States and Donors funds have mobilised the funds |
| Action Plan 3 Health | Project sheet 3.1: Measure 3.1.1 Construction and equipment of 30 new health posts, 10 health centres and 3 referral hospitals | Number of functional health posts built in 2024 and 2040 Number of functional health centres built between 2024 and 2040 Number of functional reference hospitals built between 2024 and 2040 in the OMVG basin | 30 | Ministry of Health of the different countries, national agency in charge of the built heritage of the states | 2023-2025 | Tender documents Minutes of reception Invoices for equipment purchases | - |
|  | Project sheet 3.2: Measure 3.1.2 Annual recruitment of adequate health personnel (doctors, midwives, nurses, laboratory assistants, pharmacists) | Number of qualified health personnel per 10,000 inhabitants | 65 | Ministry of Health / Ministry of Public Service of the OMVG countries | 2023-2040 | Call for applications Job descriptions Employment contract List of health personnel in the OMVG medical regions | Member States and Donors funds have mobilised the funds |
|  | Project sheet 3.3 measure 3.1.3 Establishment of a system for the supply of quality medicines and avoidance of shortages of essential medicines in all health structures | % of shortage of essential medicines in all health facilities | 10 | All health facilities - National supply pharmacy - Regional supply pharmacy | 2023-2040 | Stock cards of the pharmacies of the health facilities Pharmacy Management Sheet | Member States and Donors funds have mobilised the funds |
|  | Project fiche 3.4 : Measure 3.1.4 Strengthen community-based health initiatives | Number of home-based care providers recruited Number of community watch and alert cells set up | 41 | Ministries of Health, Regional Chief Doctors, District Chief Doctors; Head Nurses, Midwives | 2023-2040 | List of community staff by health post | Member States and Donors funds have mobilised the funds |
|  | Project fiche 3.5 : Measure 3.2.1 Increase health expenditure to 15% of the national budget in accordance with the commitments made by the States | % of health expenditure in relation to the national budget of countries | 1 | Civil society, opinion leaders, heads of state conference, national assembly | 2023-2040 | Budget by ministry voted by the national assembly | - |
|  | Project sheet 3.6: Measure 3.2.2 Stimulate national initiatives for the mobilisation of endogenous resources (corporate social responsibility) | Number of advocacy actions carried out at the local business level Rate of increase of the national contribution to health expenditure | 1 | Communication unit of the Ministry of Health, civil society | 2023-2040 | Minutes of meetings Mission reports Attendance sheet for advocacy meeting | - |
|  | Project fiche 3.7: Measure 3.2.3 Implement advocacy for greater mobilisation of international financial resources | Rate of increase of international contribution on health expenditure | 3 | Civil society, Ministry of Health, NGOs working in health | 2023-2040 | Minutes of meetings Mission reports Attendance sheet for advocacy meeting | - |
|  | Project fiche 3.8: Measure 3.3.1 Strengthen the quality of health data with a monitoring system based on DHIS2 | % of timeliness and completeness of health data at the level of health facilities % of report entered in DHIS2 | 10 | National Health Information System (NHIS) of the different countries | 2023-2040 | Supervision report DHIS2 Audit Report | - |
|  | Project sheet 3.9: Measure 3.3.2 Development of health workers' skills through training in the collection, storage and maintenance of reliable and relevant health databases | Develop the skills of health workers through training in the collection, storage and maintenance of reliable and relevant health databases. | 6 | National Health Information System (NHIS) of the different countries | 2023-2040 | Supervision report |  |
|  | Project sheet 3.10 : measure 3.4.1 Update and disseminate guidelines for the management of diseases under surveillance | Number of health facilities where updated national guidelines are available | 4 | Ministry of Health - Institute for Health Research - Health Programmes | 2023-2040 | Report on supervision missions | - |
|  | Project sheet 3.11 : measure 3.4.2 Improve access to treatment for good patient care | Quantity of drugs (anti-malarials, anti-tuberculosis, HIV-AIDS ....) available compared to the estimated need | 10 | Ministry of Health, National Supply Pharmacies, Regional Supply Pharmacies and pharmacy stockists at health facilities. | 2023-2040 | Stock sheet Supervision mission report | - |
|  | Project sheet 3.12 : measure 3.4.3 Improve access to means of prevention against communicable diseases (pandemics) | Insecticide-treated net coverage rate. Coverage rate of seasonal malaria prevention chemo in children under 120 months (SPC) Coverage rate Neglected Tropical Disease Campaign Coverage rate of intermittent preventive treatment during pregnancy (IPTp) Vaccination coverage among children Vaccine coverage rate COVID Coverage rate for in-house spraying Hepatitis B vaccination coverage of children at birth. | 100 | All health facilities in the Gambia River Basin area - Ministry of Health - Development Partners | 2023-2040 | Mass distribution campaign report | Withdrawal of partner funding |
|  | Project fiche 3.13 : measure 3.4.4 Promotion of maternal and child health | Prenatal consultation coverage among pregnant women of births attended by trained personnel of home births Number of Social Mediations to strengthen community-based emergency obstetric and neonatal care carried out | 10 | Ministries of health - health system actors - national health education and information service | 2023-2040 | Health Structures Report DHS surveys MICS surveys | Member States and Donors funds have mobilised the funds |
|  | Project fiche 3.14 : measure 3.5.1 Update and implement disease surveillance guidelines | Number of updated monitoring guidelines of health workers using good surveillance guidelines | 8 | Ministries of Health - National Health Programmes | 2023-2040 | Workshop report Workshop attendance list | - |
|  | Project fiche 3.15 : measure 3.5.2 Strengthen sentinel sites for epidemiological surveillance in the OMVG area | Number of sentinel sites established in the OMVG region Number of sentinel sites with adequate equipment for epidemiological surveillance | 10 | National disease control programmes - Medical regions - Health districts | 2023-2030 | Health centre report Annual work plan of the Medical Regions Epidemiological bulletins | Member States and Donors funds have mobilised the funds |
|  | Project fiche 3.16 : measure 3.6.1 Establish health emergency operations centres in peripheral regions for better preparedness against disasters and pandemics | Number of health emergency operation centres (HEOCs) built in the OMVG basin area Number of functional HEOCs | 20 | Ministry of Health | 2023-2030 | Tender documents Acceptance report Equipment invoices | Member States and Donors funds have mobilised the funds |
|  | Project sheet 3.17 : measure 3.6.2 Establish cross-border surveillance of epidemics | Number of meetings of the Cross-Border Monitoring Steering Committee | 10 | Ministries of Health | 2023-2040 | Minutes of the meeting Decision to appoint the members of the steering committee | - |

# Assessment of the social and environmental impacts of the Sector Plan

This chapter does not replace the detailed impact assessments that will be carried out for the various measures, but it gives an overview of the possible impacts and the avoidance, mitigation or compensation measures.

Drinking water supply

The main environmental and social impacts of the implementation of the drinking water supply infrastructure are fundamentally positive due to the nature of the works envisaged, notably, access to a safely managed drinking water service for 4,696,000 people (80% of the population in 2040) through the production, treatment, transport and distribution of drinking water from an improved source located on or near the site and available when needed, free of faecal and priority chemical contamination and access to a safe drinking water supply for all, transport and distribution of drinking water from an improved source located on or near the site and available when needed, free from contamination by faecal matter and priority chemicals, and access to a basic service from improved sources near households for 1,169,000 people (20% of the population in 2040) who live in small villages of less than 400 inhabitants, so that the entire population of the OMVG basins is served by 2040. This translates into very significant positive socio-economic impacts of reducing water-borne diseases among the population, as well as creating jobs for women market gardeners and improving school enrolment rates for girls, and will contribute to poverty reduction and improved quality of life for people.

The expected negative impacts will occur mainly during the execution of the construction/rehabilitation and strengthening of the drinking water supply infrastructure. They include damage to roads, sedimentation of watercourses and storm water drainage systems, water pollution, air and noise pollution, destruction of flora and fauna and occupational health and safety risks.

Improvement and mitigation measures will have to be put in place in order to strengthen the positive effects and mitigate possible negative environmental and social impacts. As part of the studies and projects for the drinking water supply infrastructure, environmental and social management plans will be prepared to ensure the effective implementation of mitigation measures.

Projects must include a monitoring programme to assess the effectiveness of the mitigation and compensation measures implemented. Contractors are responsible for implementing these measures defined in the Environmental and Social Management Plan (ESMP) in order to limit negative social and environmental impacts and ensure the long-term social and environmental sustainability of the project. The project owner will be responsible for monitoring any observed impacts and ensuring the implementation of the proposed measures.

Sanitation and hygiene

The main environmental and social impacts of the provision of sanitation and hygiene infrastructure are also fundamentally positive. The projects will provide access to a sanitation and hygiene service through safely managed conventional network infrastructure for the population of urban centres (1,676,000 people in 2040) and for the 4,189,000 people in villages in 2040. This translates into positive and very significant socio-economic and environmental impacts in terms of improving the health conditions of the population and reducing the risk of faecal contamination, improving the productive capacity of women market gardeners and improving the quality of life of the population in general, as well as preserving the soil and water resources in the face of wastewater discharges.

As with drinking water supply, the expected negative impacts will occur mainly during the execution of the construction/rehabilitation and strengthening of sanitation and hygiene infrastructure. These include damage to roads, sedimentation of watercourses and storm water drainage systems, water pollution, air and noise pollution, destruction of flora and fauna, and occupational health and safety risks.

Improvement and mitigation measures will have to be put in place in order to enhance the positive effects and mitigate possible negative environmental and social impacts. Environmental and social management plans will be prepared as part of the studies and projects for water supply and sanitation infrastructure to ensure effective implementation of mitigation measures.

Projects must include a monitoring programme to evaluate the effectiveness of the mitigation measures implemented. Contractors are responsible for implementing the mitigation measures defined in the Environmental and Social Management Plan (ESMP) to ensure the long-term social and environmental sustainability of the project. The project owner will be responsible for monitoring any observed impacts and ensuring the implementation of the proposed mitigation measures.

Health

The expected impacts are positive overall and will result in a significant reduction in morbidity and mortality. The implementation of the sectoral plan will make it possible to restore territorial equity in terms of the availability of quality health care and services. The life expectancy of the population will increase, and the promotion of attitudes and practices allowing good health will be carried out by community networks of health actors.

Vaccination coverage will improve, which will have a positive impact on disease prevention. Functional sentinel sites and emergency operations management centres will be established in the OMVG regions, enabling countries to strengthen their capacity to respond to health threats. The availability of quality medicines will improve patient care and prevent drug resistance. The effective establishment of a steering committee for cross-border control will facilitate the implementation of a coherent strategy to avoid the reintroduction of certain diseases that are being eliminated in some countries.

# Conclusions and recommendations

The Drinking Water Supply, Sanitation and Health Sector Plan for the three OMVG basins aims to achieve the Sustainable Development Goals (SDGs) by 2030, and to continue until 2040. This plan builds on previous strategies and plans of member states, integrating the 2030 Agenda into the sub-sector.

As part of the 2030 Agenda for Sustainable Development, SDG6 calls for universal and equitable access to safe and affordable drinking water by 2030 through target 6.1, and for equitable access to adequate sanitation and hygiene and an end to open defecation for all through target 6.2, with particular attention to the needs of women and girls and people in vulnerable situations.

The Phase 1 diagnostic study framed the current situation of the drinking water supply and sanitation sub-sector in the regions of the Member States in the OMVG area. The diagnosis identified the main challenges to be addressed, particularly with regard to the access of the population in rural areas to adequate drinking water and sanitation and hygiene services.

In the OMVG basins, a quarter of the total population is urban and three quarters of the total population is rural. It is therefore essential to ensure that the entire rural population of the area has access to adequate services.

The diagnosis of the drinking water supply service in the 3 OMVG basins showed that the percentage of the total population served by a basic water service is 62% in the 3 basins, i.e. 68% in the Gambia river basin, 40% in the Kayanga-Geba river basin and 57% in the Koliba-Corubal river basin.

The diagnosis of the sanitation service in the 3 OMVG basins showed that the percentage of the total population served by a basic and limited sanitation service is 32% in the 3 basins, i.e. 35% in the Gambia River basin, 13% in the Kayanga-Geba River basin and 37% in the Koliba-Corubal River basin.

The percentages of households with handwashing facilities are high in The Gambia (although there is often no water or soap available). In contrast, in Guinea and Guinea-Bissau, in the regions of Labé, Tombali and Quinara, there are virtually no handwashing facilities installed; and in Boké, Gabú and Bafatá, around 40% of households have handwashing facilities, but the percentage with water and soap is around 20%.

Within the framework of this sector plan, and taking into account the fact that the national sector plans have not yet been updated, model solutions have been considered in order to make an approximate assessment of the investments in the drinking water supply and sanitation sector up to 2040. The actual solutions that will be implemented will be the result of the in-depth and detailed studies that will be carried out as a follow-up to this sector plan. The typical solutions envisaged for the supply of drinking water and sanitation and hygiene in urban centres and villages integrate targets 6.1 and 6.2 of the sustainable development goals.

For sustainable and adequate drinking water services in urban and rural areas in the OMVG area in sufficient quantity, at or near households, 10 priority lines of action were identified. The following solutions were then proposed:

- Construction of new drinking water infrastructure and rehabilitation and strengthening of existing infrastructure for production, treatment, transport, storage and supply by drinking water networks in urban centres and the most populated villages, for 4,696,000 people (80% of the population) in 2040;

- Construction of new human-powered boreholes (HWPBs) in less populated villages for the population not yet served by improved water sources or served by improved water sources far from households, and rehabilitation of existing drinking water boreholes, for 1,169,000 people (20% of the population) by 2040.

For sustainable and adequate sanitation and hygiene services and the elimination of OD, for the urban and rural population in the OMVG area, 9 priority lines of action were identified. The following solutions have therefore been proposed:

- For city centres and their peripheries, the construction/rehabilitation of a conventional solution with a reticulated/simplified network and connections to houses where water is currently available in the home or will be in the future due to the development of the water supply is planned. In peripheral areas of city centres, the construction/rehabilitation of flush toilets with washbasins is also proposed. The wastewater generated in the city centres and their peripheries will be conveyed by interceptors/pump stations to the treatment plants. The population served by this solution will be approximately 1,136,000 people in 2040;

- For peri-urban areas with more anarchic construction and where access to water is through public standpipes, the construction/rehabilitation of on-site sanitation and hygiene infrastructure is planned. This solution includes small flush toilets and washbasins at a rate of one toilet per 15 inhabitants, sludge pits and infiltration wells for washbasin water, sludge treatment plants, and a sludge management system to transport the sludge to the plant. The population served by this solution is 540,100 people in 2040;

- For rural areas where little water is used, it is planned to build/rehabilitate on-site sanitation and hygiene infrastructures consisting of small flush toilets with washbasins at the rate of one toilet per 15 inhabitants, twin sludge pits, and infiltration wells for washbasin water, for the entire population of the villages (4,189,000 people in 2040).

The amount of funding required for the programme would be in the order of US$2,479 million, including US$1,656 million for drinking water supply and US$823 million for sanitation and hygiene.

The amount of funding required for drinking water infrastructure in urban centres is USD 514 million and for sanitation and hygiene is USD 506 million, for a total of USD 1,019 million. The amount of funding required for village drinking water supply infrastructure is USD 1,082 million and for sanitation and hygiene is USD 277 million, for a total of USD 1,359 million.

The health component of the Sector Plan translates over a period of 17 years a vision that will restore territorial equity in terms of availability of quality services and care. It will enable the governments of the OMVG countries to improve their health indicators with a view to achieving SDG3. This plan will contribute to universal health coverage and will be based on two major axes: health supply and resilience to health threats.

16 priority lines of action have been identified in the field of health and their implementation requires the commitment of all actors (ministries of health, donors, and communities).

The infrastructures that will be built must be well maintained so that the expected results can be achieved. An important monitoring and evaluation component must be developed as well as good communication to facilitate its appropriation by the actors.

At a cost of US$339 million, this plan will relieve the populations living in the three OMVG basins and create the conditions for emergence by 2040.

In this sector plan, the following actions are recommended:

- Priority completion of studies, projects and tender documents for drinking water supply and sanitation and hygiene services for urban centres;

- Priority completion of studies, projects and tender documents for drinking water supply and sanitation and hygiene services for villages;

- Construction/rehabilitation/enhancement and monitoring of the implementation of drinking water supply, sanitation and hygiene infrastructure in urban centres, considering the possible simultaneous implementation of water and sanitation networks in and around the city centres;

- Construction / rehabilitation / strengthening and monitoring of the execution of infrastructure for drinking water supply networks, BHPP and sanitation and hygiene infrastructure in the villages;

- Encourage Community Led Total Sanitation (CLTS) to achieve the end of open defecation which is a reality in rural areas of Guinea, Guinea Bissau and Senegal;

- Implement hygiene education, as the construction of sanitation facilities is only a partial response to the problem of poor sanitation and hygiene. It is essential to promote good hygiene practices, including hand washing with soap;

- The management, operation and maintenance of infrastructure and the monitoring, control and evaluation of the performance of the drinking water supply and sanitation service;

- Implementation of the 16 priority action lines identified in the health field;

- Good maintenance of the health infrastructure that will be built so that the expected results can be achieved;

- An important monitoring and evaluation component on health must be developed as well as good communication to facilitate its appropriation by the actors.

Annexes

The Gambia - Data provided to the Consultant by NAWEC

| Sub-sector | Type of data required | Specific data / indicator NAWEC Response (water) | NAWEC Response (Water) | Answer Qualification |
| --- | --- | --- | --- | --- |
| General | Documen-tation | Any documentation of Strategies Policies and plans for water supply and sanitation | Water Supply and Sanitation Study of the Gambia | Document attached |
| Drinking Water |  | - Geo- referenced mapping and characteristics of existing drinking water system Water abstraction point: - Location, - Village(s) and population served, - Current and projected water demand (m³/hr or equiv.) Water supply system: - Pumping stations, - Tanks/storage - Domestic and standpipe connections. Number per settlement and LGA - Wells by District and District - Hand pumps by District LGA Type of water treatment facilities - Type of technology, - Energy used in the systems (from the electrical grid, solar, thermal etc); type - Operating condition/status - Operating capacity | - N/A - Various locations across the country - Refer to GBOS for current population figures - 38,400,057m³ (Data as at December 2020 -collected from sources where there are operable meters) - There are 6 pumping stations - 27,460m² - 225 people per standpipe (20% of the population served), versus a total population of 656,027 in 2003 - N/A - N/A - Aeration and Disinfection - Electrical grid - Ranges - 112,728m²/day | - In progress - Fajara, Serekunda, Sukuta, Brikama, Gunjur, Mandinary, Jambur, Yundum, Kerr Serign, Kanifing, Kembujeh, Brufut, Brusubi,Salagi, Bwiam, Abuko, Jambanjelly, Sanyang, Tanji, Tujereng, Latriya, Jabang, Banyaka, Mamuda, Kasakunda, Kanuma, Jufureh, Sabaa, Farafenni, Mansakonko, Janjanbureh, Bansang and Basse, etc (see attached file: borehole details for specific borehole locations) - Villages served include: Fajara, Serekunda, Sukuta, Brikama, Gunjur, Mandinary, Jambur, Yundum, Kerr Serign, Kanifing, Kembujeh, Brufut, Brusubi,Salagi, Bwiam, Abuko, Jambanjelly, Sanyang, Tanji, Tujereng, Latriya, Jabang, Banyaka, Mamuda, Kasakunda, Kanuma, Jufureh, Sabaa, Farafenni, Mansakonko, Janjanbureh, Bansang and Basse, etc - NAWEC is undergoing assessment to determine its true demand at that time we will be able to comment on current and projected water demand - Fajara, Serekunda, Sukuta, Brikama, Gunjur and Mile II Pumping Stations - This is the design capacity - Data from SNC Lavalin study (Water Supply and Sanitation Study of the Gambia - December 2005) - Not under NAWEC roles and responsibilities - Not under NAWEC roles and responsibilities - Chlorine used as disinfection - NAWEC uses electrical grid for its operation - Good, fair and some need rehabilitation This is the design capacity .NAWEC is currently undergoing assessment to determine its true demand at that time we will be able to comment on required capacity. |
|  | Ongoing and planned projects in each town or LGA | Characteristics of the drinking water supply systems as per the above - Identification of towns/villages that do not yet have drinking water supply systems; - Identification of problems in existing drinking water systems, including needs in capacity increase or extension to be taken into account in investments; - Monitoring of water quality | - Refer to Village(s) and population served - Various - Refer to PURA | - Apart from the mentioned towns/villages, NAWEC does not have in record towns/ villages that do not yet have drinking water supply system. Contact Water Resources - Iron and nitrate, salt water intrusion, aging infrastructure and network, construction problems for example - NAWEC rely on PURA's quarterly water quality monitoring |
|  | Towns/villages that do not have drinking water systems | - List of settlements and population | - Refer to (Identification of towns/villages that do not yet have drinking water supply system) |  |
|  | Issues, problems, challenges | Identification of problems in existing drinking water systems with respect to: - Existing capacity - Energy (cost/availability) - Operation and maintenance - Water quality (including monitoring) - Payment/cost/sustainability issues/challenges | - Demand Challenges - 13,900,929 kwh - Inadequate supply of materials - Salt water intrusion, iron and nitrate | - Currently, there is a demand gap of 40% deficit between supply and demand (Reference: SNC Lavalin Study - December 2005) - Energy consumption of water facilities excluding Fajara Office, Mandinary and Bwiam. Also excluded are Banjul and Kotu Sewerage stations. (Figure obtained from our monthly station reading as at Dec. 2020). With regards to availability, we rely on generator in the event of power outages. - Inadequate supply of required materials for operation and maintenance, Lack of competence in lower cadre of staff, aging network resulting in frequent failures, lot of firefighting approaches |
| Sanitation | For existing sanitation systems Banjul and any others/) | Characteristics of existing wastewater treatment infrastructure - Length, condition and other characteristics of collection network - Pumping stations - Treatment system (Type, capacity, operating status) - Stormwater drainage challenges - Disposal systems/infrastructure for faecal sludge (on site sanitation systems) | - At Kotu Sewerage, discharge is from pump to the treatment plant - Banjul Sewerage has 2 pumping stations and Kotu Sewerage 4 pumping stations and 4 lagoons. Treatment at Kotu Sewerage is aerobic using stabilization ponds - 4 ponds in series At Banjul there is no treatment. Disposal is direct pumping via a 600mm pipe outlet to approximately 1km in the sea - Unable to comment - Unable to comment | - Kotu Sewerage waste disposal is normally received from septic tank trucks and the hotels through a pipe network. The 4 wet stations are in a relay form, meaning pump station no.1 discharged to pump station 2, that way up to pump station 4 and finally to Kotu treatment plant Currently, the sewerage system in Banjul consist of 90km of pipes varying from 150 to 600mm size. - Banjul Sewerage network is in a bad condition and is currently contracted to the Banjul Rehabilitation Project Contractor. - Not under the roles and responsibilities of NAWEC - Not under the roles and responsibilities if NAWEC |
|  | Level of access in Banjul and other settlements | - Level of access to sanitation (by settlement and LGA) Open defecation rates (by LGA) | - N/A | - Not under the roles and responsibilities of NAWEC |
| Planning | Strategies | Any water supply and sanitation strategies at national or LGA level | Water Supply and Sanitation Study of the Gambia | Document Attached |
|  | Plans | Any water supply and sanitation plan at the national, LGA or settlement level | Water Supply and Sanitation Study of the Gambia | Document Attached |
| Projects |  | Details/documentation on ongoing water supply and sanitation projects at settlement and LGA level | - ICO - Asbestos Pipe Replacement Project - Water Supply in Greater Banjul Area (WASIB) - World Bank Additional Financing | Refer to attached file (Ongoing projects) for details These are projects where NAWEC is implementing |

Senegal - Data provided to PDDI by SONES

SONES

PLANNING AND STUDIES DIRECTORATE

PLANNING AND GENERAL STUDIES DEPARTMENT

ADDITIONAL DATA TO BE OBTAINED FOR THE PDDI

PHASE 1 - DIAGNOSTIC STUDY

Within the framework of the development of the Integrated Development Master Plan (PDDI) for the OMVG, the BRLi-IDEV-COBA consortium is currently preparing Phase 1 - Diagnostic Study on the natural resources and on the different sectors of water use of the Gambia River and Kayanga-Geba River basins, particularly in the drinking water supply and sanitation sector.

The PDDI is partially active in 5 regions of Senegal, namely: Tambacounda (Departments of Goudiry, Tambacounda, Koumpentoum), Kédougou (Salemata, Kédougou), Kaffrine (Koungheul south, a small part of Malème Hodar and Birkilane, and kaffrine south), Kaolack (Nioro du Rip and a small part of Kaolack), Kolda (Vélingara, Médina Yoro Foula, and a small part of Kolda).

The objectives of the PDDI for this sector are based on Senegal's national objectives, which aim to establish, rehabilitate or operate water supply systems offering a good quality service and to ensure a supply for all, with water of good chemical and bacteriological quality and in sufficient quantity. The programming of the investments of the works in the framework of the PDDI will be carried out until the year 2040.

Overview of the status and prospects of water supply from SONES in the regions concerned.

- Data on cities whose water supply systems are the responsibility of SONES (e.g. Excel files):

- Designation and location of cities :

SONES response: see Table 2. NB: SONES projections are to 2035.

- Current population and current population broken down by type of connection to the system (home, yard, neighbour, standpipe);

SONES response: See Table 1.

- Demographic projections to 2030 and 2040

SONES response: see Table 2. NB: SONES' financial model projections are for 2035.

- Consumption of the current population and an estimate of its evolution in 2030 and 2040

SONES response: See Table 3. NB: SONES' financial model projections are for 2035.

Table 1: Designation and location of cities, Population, Population projections

| Territorial Directorate | Region | Centres of the SONES leased perimeter | Population |  |  | Population growth rate |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 2021 | 2030 | 2035 | Average (2021-2035) |
| Kaolack | Kaffrine | Kaffrine | 56 800 | 80 625 | 97944 | 4% |
|  | Kaffrine | Koungheul | 28 026 | 38 897 | 46666 | 3.7% |
|  | Kaolack | Kaolack | 300 809 | 386 090 | 443 373 | 2.8% |
|  | Kaolack | Nioro du rip | 27 738 | 38 897 | 45964 | 3.7% |
| Tambacounda | Tambacounda | Tambacounda | 150 227 | 219 378 | 270 741 | 4.3% |
|  | Kédougou | Kédougou | 44 399 | 68 877 | 87 907 | 5.0% |
| Ziguinchor | Kolda | Kolda | 109 124 | 152 386 | 87 907 | 3.8% |
|  | Kolda | Vélingara | 44 457 | 63 488 | 183 449 | 4.0% |

Source: SONES financial model updated in September 2021

Table 2: Population by type of connection

| Territorial Directorate | Region | Centres of the SONES leased perimeter | Category | 2021 | 2030 | 2035 |
| --- | --- | --- | --- | --- | --- | --- |
| Kaolack | Kaffrine | Kaffrine | PC | 37 966 | 80 624 | 97 944 |
|  | Kaffrine | Koungheul | PC | 24 295 | 38 896 | 46 666 |
|  | Kaolack | Kaolack | PC | 300 809 | 386 009 | 443 372 |
|  | Kaolack | Nioro du Rip | PC | 24 460 | 38 378 | 45 964 |
| Tambacounda | Tambacounda | Tambacounda | PC | 122 409 | 219 378 | 270 740 |
|  | Kedougou | Kédougou | PC | 26 153 | 68 877 | 87 907 |
| Ziguinchor | Kolda | Kolda | PC | 60 021 | 152 386 | 183 448 |
|  | Kolda | Vélingara | PC | 29 175 | 63 488 | 77 386 |
| Kaolack | Kaffrine | Kaffrine | SP | 14 149 | 2 418 | 94 |
|  | Kaffrine | Koungheul | SP | 3 406 | 1 166 | 408 |
|  | Kaolack | Kaolack | SP | 45 506 | 7 720 | 547 |
|  | Kaolack | Nioro du Rip | SP | 3 385 | 1 014 | 488 |
| Tambacounda | Tambacounda | Tambacounda | SP | 9 262 | 2 583 | 1 281 |
|  | Kedougou | Kédougou | SP | 1 023 | 468 | 240 |
| Ziguinchor | Kolda | Kolda | SP | 701 | 300 | 145 |
|  | Kolda | Vélingara | SP | 456 | 240 | 117 |

Source: SONES financial model updated in September 2021 PC: Private connection; SP: standpipes

Table 3: Consumption [km3/year]

| Centres of the SONES leased perimeter | Consumption [km3 /year] |  |  |
| --- | --- | --- | --- |
|  | 2020 | 2030 | 2035 |
|  | Billing | Estimate |  |
| Kaffrine | 926 | 2899 | 3480 |
| Koungheul | 520 | 1340 | 1598 |
| Kaolack | 5677 | 11 343 | 13 028 |
| Nioro du rip | 501 | 1 217 | 1449 |
| Tambacounda | 2 240 | 5 934 | 7298 |
| Kédougou | 404 | 1 652 | 2090 |
| Kolda | 990 | 3 643 | 4441 |
| Vélingara | 335 | 1 118 | 1438 |

Source: SONES financial model updated in September 2021

- Characterisation of the Water Supply Systems already in place:

- Inventory and geo-referenced mapping of existing water systems;

SONES response: Collection of georeferenced AEP plans. They will be transmitted later.

- Characterisation of each of the systems: water resources (groundwater, surface water), maximum flows collected and treated, annual volumes of water collected, treated and consumed, components of each of the water systems and their condition (equipment, civil engineering), extension of the networks, type of connection;

SONES response: See Table 4. For the type of connection, refer to Table 2. Collection of inventory files including the characterisation of the works is in progress. They will be transmitted at a later date.

- Monitoring of the chemical and bacteriological quality of the water at source;

SONES response: See the appendix for SEN'EAU data on monitoring the physico-chemical quality of the water distributed in 2020 in the centres concerned by this study. For raw water, we have the SDE data up to 2019, as the 2020 data from SEN'EAU are not yet available.

- Operating constraints of SONES systems (water quality and quantity of water available for distribution, flow rates and pressure, network extension, frequent pipe breaks,)

SONES response: SONES is not in charge of operations. It will be necessary to contact the current operator, SEN'EAU, to obtain operating data (flow rates, pressure, pipe breaks, network extensions, etc.)

Table 4: Annual volumes of water abstracted and treated

| Centres of the SONES leased perimeter | List of boreholes | Volume produced [m3 /year]-2020 | Installed capacity [m3 /h] |
| --- | --- | --- | --- |
| Kaffrine | Kaffrine F2 | 955 570 | 119 |
|  | Kaffrine F3 | 1 935 230 | 241 |
| Koungheul | Koungheul F1 | 425 590 | 53 |
|  | Koungheul F2 | 240 535 | 659 |
| Kaolack | Kaolack F1 bis | 1 051 930 | 2131 |
|  | Kaolack F2 bis | 256 960 | 32 |
|  | Kaolack F3 bis | 1 373 130 | 171 |
|  | Kaolack F4 | 1 051 930 | 131 |
|  | Kaolack F5 | 1 405 250 | 175 |
|  | Kaolack F6 | 1 292 830 | 161 |
| Kahone | Kahone F1 | 1 100 110 | 137 |
| Nioro du Rip | Nioro du Rip F2 | 297 110 | 37 |
|  | Nioro du Rip F3 | 144 540 | 18 |
|  | Nioro du Rip F5 | 433 620 | 54 |
| Tambacounda | Tambacounda F1 bis | 990 610 | 2714 |
|  | Tambacounda F2 | 455 520 | 1248 |
|  | Tambacounda F4 | 673 425 | 123 |
|  | Tambacounda F5 | 941 700 | 117 |
| Kédougou | Kédougou F1 | 56 940 | 7 |
|  | Kédougou F2 | 105 120 | 13 |
|  | Kédougou F3 | 39 785 | 5 |
|  | Kédougou K1 | 59 130 | 7 |
|  | Kédougou F4 | 263 165 | 32 |
|  | Kédougou F8 | 34 310 | 4 |
|  | Kédougou F9 | 150 015 | 18 |
|  | Kédougou-Usine | 722 700 | 90 |
| Kolda | Kolda F1 bis | 534 360 | 66 |
|  | Kolda F1 | 0 |  |
|  | Kolda F2 | 788 035 | 98 |
| Vélingara | Vélingara F1 | 472 310 | 58 |
|  | Vélingara F4 | 585 460 | 73 |

Source: SONES financial model updated in September 2021

- Prospects for the evolution of water supply systems to cope with changing consumption patterns

- Cities with programming to increase the production capacity of the existing system and cities where the increase in capacity will be made from a new system. Planning to implement new systems for a new water source; characterisation of systems and planned investments?

SONES response: SONES has a provisional investment programme up to 2035. By 2025, it is planned to:

in Kolda, the construction of three new 150 m3/hour boreholes, the construction of a new 500 m3/hour deferrisation station, the laying of a DN 400 mm water transfer pipe over 13 km and the construction of two new water towers with a unit capacity of 1500 m3

in Kaolack, the construction of three new 200 m3/h wells, two chloride and fluoride treatment plants with a total capacity of 1800 m3/h, the construction of two water towers with a unit capacity of 3200m3

The study to update the urban water master plan planned for 2022 will make it possible to specify the overall investments to be planned in these centres and in all the centres within the leased area up to 2040.

- In the regions concerned, water resources generally come from underground water sources, but for example in Kédougou, and perhaps in Kolda, underground water sources are not very productive or of good quality. Are transfers from the Gambia River or other rivers already planned in the future to supply towns in the PDDI regions that do not have good quality and abundant groundwater resources?

SONES response: The city of Kédougou is already supplied by the Gambia River thanks to a water intake located at Itato. As far as Kolda is concerned, the underground resource is productive but the water is ferruginous. The possibility of transferring water from the Gambia River is actually being considered by SONES with the implementation of the Sambangalou dam. The OMVS/OMVG unit has even sent a letter to SONES listing the projected water needs in this regard.

- Does SONES have master plans defining water transfers to supply urban systems?

SONES response: A master plan drawn up in 2010 exists. An update is planned for 2022.

- Does SONES have studies on alternatives for the construction of surface water treatment plants: for example, is it defined whether it is a plant for each city or a large treatment plant upstream, next to the water intake, for several cities or an intermediate situation?

SONES response: This type of study is not yet available. However, SONES is considering this new approach of large-scale transfer of raw water and then treatment at delivery points or consumption areas. The update of the master plan planned for 2022 will allow this reflection to be refined.

- It is planned to supply water to small towns or even villages along the route of the treated water supply.

SONES response: This option is considered on a case-by-case basis, according to the guidelines of the 	line ministry.

d) Would it be 	possible for SONES to provide for the PDDI documents on the National Strategy for the Development of Public Water Services in Urban Centres, and the Master Plans for transfers and also elements of the Projects to implement, rehabilitate and increase the capacity of existing water supply systems in urban centres?

SONES response: SONES remains open to any exchange of documents, however, as indicated above, the drinking water master plans for the leased centres are being updated in 2022.

- Does SONES directly operate the systems it owns or does it establish concession agreements with private companies? What is the average cost per cubic metre of water paid by urban users? Can you tell me the average annual cost per cubic metre per system, including operation and maintenance?

SONES response: In Senegal, there are three entities involved in the management of urban drinking water supply: the State, SONES and the farmer

SONES is the concessionaire of the public drinking water supply service. As such, it is responsible for "the management of all the State's water assets in urban and semi-urban areas" (Law No. 95-10 of 7 April 1995 creating SONES), for controlling the quality of operations and for raising public awareness. It is bound to the State by a concession contract.

The operator is responsible for the technical and commercial operation of the facilities, maintenance of the infrastructure and operating equipment, renewal of the operating equipment and part of the drinking water distribution network. Its relationship with the State is governed by a leasing contract. The current contractor is called "SEN EAU", and its leasing contract came into force on 1 January 2020 for a period of 15 years.

In 2020, in the area managed by SONES, the average price of drinking water excluding sanitation charges is CFAF 446.93 per cubic metre

The operating price paid to the farmer, SEN 'EAU, is 298.5 FCFA excluding taxes per cubic metre in 2020. This price is indexed each year according to variations in operating parameters. For the average annual cost per cubic metre per system, including operation and maintenance, the consultant can contact SEN'EAU.

ANNEX

Excel file on water quality monitoring until 2020_Kaolack_Kaffrine_Koungheul_Nioro_ Tamba_Kédougou_Kolda and Ziguinchor

www.brl.fr/brli

Public limited company with a capital of 3 183 349 euros

SIRET : 391 484 862 000 19 - RCS : NÎMES B 391 484 862

Intracom VAT number: FR 35 391 484 862 000 19

1105, avenue Pierre Mendès-France 
BP 94001 - 30 001 Nîmes Cedex 5 FRANCE

Tel: +33 (0) 4 66 84 81 11

Fax: +33 (0) 4 66 87 51 09

e-mail: brli@brl.fr

The title of this plan, initially dedicated solely to institutional development, has been expanded to include the knowledge, management and development of water resources in the basins.

OFOR Bulletin N°03, page 37 | June 2017 | Website : http://www.forages-ruraux.sn